2018/7/24

1.W5500 比实际数据多8字节

thread pri status sp stack size max used left tick error ------- --- ------- ---------- ---------- ------ ---------- --- connect 15 ready 0x00000074 0x00000400 39% 0x00000005 000 distpro 5 suspend 0x00000084 0x00000400 22% 0x00000012 000 SIMSW 3 suspend 0x0000007c 0x00000400 25% 0x00000012 000 tshell 20 suspend 0x00000154 0x00000800 16% 0x00000008 000 udpser 5 suspend 0x00000090 0x00000800 69% 0x00000010 000 idle 28 ready 0x000000d4 0x00001000 25% 0x0000000b 000 iec104 23 ready 0x0000011c 0x00001000 06% 0x0000000c 000 iec101 24 ready 0x0000011c 0x00001000 06% 0x00000013 000 dp83848 21 ready 0x000002f8 0x00001000 23% 0x0000000e 000

增加stacksize

3.FRAM 地址

common_data.h

/* FRAM----------------------------------------------------------------------*/ #define ADDR_FRAM_MONITOR 0x00000 // FRAM自检 #define ADDR_FRAM_UPDATE 0x00001 // 在线更新 2字节 #define ADDR_FRAM_START_NUM 0x00003 // 开机次数一个字节 #define ADDR_FRAM_CURRENT_SN 0x00004 // 当前定值区号 1个字节 #define ADDR_FRAM_CALI_FACTOR 0x00050 // 校准系数存储起始地址 0x50 #define ADDR_FRAM_AREA0 0x00100 // FRAM参数存储起始地址 运行参数0区 0x600 #define ADDR_FRAM_AREA1 0x00700 // FRAM参数存储起始地址 定值区一 0x600 #define ADDR_FRAM_AREA2 0x00D00 // FRAM参数存储起始地址 定值区二 0x600 #define ADDR_FRAM_SOE 0x01300 // FRAM参数存储起始地址 SOE // 0x1400 #define ADDR_FRAM_SOE_NEW 0x02700 // FRAM参数存储起始地址 SOE // 0x1400 #define ADDR_FRAM_GRID 0x0A000 // 网架起始地址 0x2000

1）.先find 获取句柄device_fram 2）然后 rt_device_write(device_fram, ADDR_FRAM_MONITOR, &flag, 1);

2018/7/23

1.数据如何固化到FRAM中？

2.关于通信UDP设置问题。

- 定义常规：5555 / 维护端口4321

- 首次配置如何处理，配置关系

2018/7/21

1.COAP 运用的可行性！

2.//INIT_COMPONENT_EXPORT(rt_multi_common_data_init) 临时屏蔽

3.串口数据出现数据丢失的问题。——添加超时，接收关闭中断，DMA缓冲

2018/7/20

1.转供电超时

11:55:57 Send: 65 A6 06 00 A6 65 00 00 AA 00 30 01 0D 0A A8 C0 04 43 7A 1A 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 01 00 00 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:8, ValidData:01 0D 0A A8 C0 00 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 00 11:56:03 Send: 65 A6 06 00 A6 65 00 00 AA 00 30 01 0D 0A A8 C0 08 46 7A 1A 11:56:04 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 01 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 02 00 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 02 00 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:8, ValidData:01 0D 0A A8 C0 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 01 11:56:15 Recive: FROM：A0B, TO:A0C, FUNCODE:B, ValidData:0B 0A A8 C0 02 01 11:56:15 Recive: FROM：A0B, TO:A0D, FUNCODE:B, ValidData:0B 0A A8 C0 02 04 11:56:15 Recive: FROM：A0B, TO:A10, FUNCODE:B, ValidData:0B 0A A8 C0 02 03 11:56:15 Recive: FROM：A0B, TO:A11, FUNCODE:B, ValidData:0B 0A A8 C0 02 02 11:56:15 Recive: FROM：A0B, TO:A13, FUNCODE:B, ValidData:0B 0A A8 C0 02 01 11:56:15 Recive: FROM：A04, TO:A01, FUNCODE:B, ValidData:04 0A A8 C0 02 01 11:56:15 Recive: FROM：A04, TO:A0D, FUNCODE:B, ValidData:04 0A A8 C0 02 02 11:56:15 Recive: FROM：A04, TO:A0F, FUNCODE:B, ValidData:04 0A A8 C0 02 01

2018/7/19

1.AddStation 命令 有内存泄漏情况，在重复添加时——已改近

2017/7/17

嵌入式操作

1.乱码溢出

ID: C0A80A13, FAULT: 2锛?TICK:79967. STATION:C0A80A01, Code: 9. Tick: 80546 thread:router_self stack overflow

2.内存超了，超过110K

- 单片机内，轮询导致有些得不到执行，导致错误。

- 节点13,16，过流，但是16已结判断结束了，但是13还没处理到，导致错误。 - 解决这个问题：1.对于来回数据复制接口需要调整。避免低效率复制。2.调整优先级和频次 - 3.需要提供与上位机设置的优先级，避免设置被打断，从而引入错乱模式

- 突然进入 - Printf问题，以前发生过

- 5.无法响应

- 14:37:52 Recive: FROM：A09, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:54 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:56 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:58 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:00 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:02 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:04 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:06 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:08 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 6.收到数据

- 65 A6 06 00 A6 65 0E 0A 0B 0A 02 01 0B 0A A8 C0 01 A3 40 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 83 07 1A 65 0B 0A 13 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 65 A6 06 00 A6 65 0F 0A 0B 0A 02 01 0B 0A A8 C0 01 5F 44 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 4A 96 1A 65 0B 0A 02 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 19:33:01 Recive: FROM：A0A, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 19:33:01 Recive: FROM：A0A, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 65 A6 06 00 A6 65 09 0A 0B 0A 02 01 0B 0A A8 C0 01 D7 5A 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 7F F6 1A 65 0B 0A 11 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 65 46 1A 65 0B 0A 12 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A - 65 A6 06 00 A6 65 0A 0A 0B 0A 02 01 0B 0A A8 C0 01 93 55 1A

- head与end不一致

2018/7/16

C0A80A11: ID: C0A80A11, FAULT: 1， TICK:210040. 11, FAULT: C0A80A10: set fault. C0A80A0D: set fault. C0A80A11,Fault TransmitMessage, TICK:210041. C0A80A11 :FROM: 21 TO: 22. TICK: 210041. ID: C0A80A10, FAULT: 1， TICK:210045. ID: C0A80A0D, FAULT: 1， TICK:210046. C0A80A13,Trigger TransmitMessage, TICK:210052. C0A80A13 :FROM: 21 TO: 25. TICK: 210052. C0A80A12,Trigger TransmitMessage, TICK:210053. C0A80A12 :FROM: 21 TO: 25. TICK: 210054. C0A80A11 :FROM: 22 TO: 23. TICK: 210058. C0A80A11,treatment open, TICK:210058. C0A80A11 :FROM: 23 TO: 24. TICK: 210058. C0A80A10,Fault TransmitMessage, TICK:210058. C0A80A10 :FROM: 21 TO: 22. TICK: 210058. C0A80A10 :FROM: 22 TO: 23. TICK: 210059. C0A80A10,treatment open, TICK:210059. C0A80A10 :FROM: 23 TO: 24. TICK: 210059. C0A80A0D,Fault TransmitMessage, TICK:210059. C0A80A0D :FROM: 21 TO: 22. TICK: 210059. C0A80A0F,Trigger TransmitMessage, TICK:210074. C0A80A0F :FROM: 21 TO: 25. TICK: 210074. C0A80A0E,Trigger TransmitMessage, TICK:210074. C0A80A0E :FROM: 21 TO: 25. TICK: 210074. C0A80A0D :FROM: 22 TO: 23. TICK: 210084. C0A80A0D :FROM: 23 TO: 26. TICK: 210084. ID: C0A80A11, FAULT: 2， TICK:210096. ID: C0A80A11, SwitchState: 2. TICK:210096 ID: C0A80A10, FAULT: 2， TICK:210096. ID: C0A80A10, SwitchState: 2. TICK:210096 C0A80A11,Removal Sucess, TICK:210104. C0A80A11 :FROM: 24 TO: 91. TICK: 210104. C0A80A11 :FROM: 91 TO: FF. TICK: 210104. C0A80A10,Removal Sucess, TICK:210104. C0A80A10 :FROM: 24 TO: 91. TICK: 210104. C0A80A10 :FROM: 91 TO: FF. TICK: 210104. C0A80A0D :FROM: 26 TO: 91. TICK: 210114. C0A80A0D :FROM: 91 TO: FF. TICK: 210114. C0A80A13 :FROM: 25 TO: 51. TICK: 210215. C0A80A12 :FROM: 25 TO: 31. TICK: 210215. C0A80A12 :FROM: 31 TO: FF. TICK: 210216. C0A80A0F :FROM: 25 TO: 31. TICK: 210236. C0A80A0F :FROM: 31 TO: FF. TICK: 210236. C0A80A0E :FROM: 25 TO: 31. TICK: 210236. C0A80A0E :FROM: 31 TO: FF. TICK: 210236. ID: C0A80A13, SwitchState: 2. TICK:210266 C0A80A13,Insulate SUCCESS, TICK:210266. C0A80A13 :FROM: 51 TO: 71. TICK: 210266. C0A80A0B,Meet In TransferPower Mode, TICK:210276. C0A80A0B :FROM: 21 TO: 72. TICK: 210276. C0A80A13,Transfer Master Send Cmd., TICK:210286. C0A80A13 :FROM: 71 TO: 91. TICK: 210286. C0A80A13 :FROM: 91 TO: FF. TICK: 210290. C0A80A0B,Transfer Close Operate, TICK:210290. ID: C0A80A0B, SwitchState: 1. TICK:210346 C0A80A0B,Transfer Success, TICK:210350. C0A80A0B :FROM: 72 TO: 91. TICK: 210350. C0A80A0B :FROM: 91 TO: FF. TICK: 210350. 状态不一样。问题所在？

确实有溢出错误。

调大缓冲从1024到2048，首次正确。

复归后，不正确。16,17均动作

ID: C0A80A11, FAULT: 1， TICK:26390. ID: C0A80A10, FAULT: 1， TICK:26390. ID: C0A80A0D, FAULT: 1， TICK:26390. C0A80A11,Fault TransmitMessage, TICK: 26398. C0A80A11 :FROM: 21 TO: 22. TICK: 26398. C0A80A10,Fault TransmitMessage, TICK: 26398. C0A80A10 :FROM: 21 TO: 22. TICK: 26398. C0A80A0D,Fault TransmitMessage, TICK: 26398. C0A80A0D :FROM: 21 TO: 22. TICK: 26398. C0A80A13,Trigger TransmitMessage, TICK: 26408. C0A80A13 :FROM: 21 TO: 25. TICK: 26408. C0A80A12,Trigger TransmitMessage, TICK: 26408. C0A80A12 :FROM: 21 TO: 25. TICK: 26408. C0A80A11 :FROM: 22 TO: 23. TICK: 26408. C0A80A11,treatment open, TICK: 26408. C0A80A11 :FROM: 23 TO: 24. TICK: 26408. C0A80A10 :FROM: 22 TO: 23. TICK: 26408. C0A80A10,treatment open, TICK: 26408. C0A80A10 :FROM: 23 TO: 24. TICK: 26408. C0A80A0F,Trigger TransmitMessage, TICK: 26409. C0A80A0F :FROM: 21 TO: 25. TICK: 26409. C0A80A0E,Trigger TransmitMessage, TICK: 26409. C0A80A0E :FROM: 21 TO: 25. TICK: 26409. C0A80A0D :FROM: 22 TO: 23. TICK: 26409. C0A80A0D :FROM: 23 TO: 26. TICK: 26409. ID: C0A80A11, FAULT: 2， TICK:26445. ID: C0A80A11, SwitchState: 2. TICK:26445 ID: C0A80A10, FAULT: 2， TICK:26445. ID: C0A80A10, SwitchState: 2. TICK:26445 C0A80A11,Removal Sucess, TICK: 26449. C0A80A11 :FROM: 24 TO: 91. TICK: 26449. C0A80A11 :FROM: 91 TO: FF. TICK: 26449. C0A80A10,Removal Sucess, TICK: 26449. C0A80A10 :FROM: 24 TO: 91. TICK: 26449. C0A80A10 :FROM: 91 TO: FF. TICK: 26449. C0A80A0D :FROM: 26 TO: 91. TICK: 26459. C0A80A0D :FROM: 91 TO: FF. TICK: 26459. C0A80A13 :FROM: 25 TO: 51. TICK: 26569. C0A80A12 :FROM: 25 TO: 31. TICK: 26569. C0A80A12 :FROM: 31 TO: FF. TICK: 26569. C0A80A0F :FROM: 25 TO: 51. TICK: 26569. C0A80A0E :FROM: 25 TO: 31. TICK: 26569. C0A80A0E :FROM: 31 TO: FF. TICK: 26569. ID: C0A80A13, SwitchState: 2. TICK:26615 C0A80A13,Insulate SUCCESS, TICK: 26619. C0A80A13 :FROM: 51 TO: 71. TICK: 26619. C0A80A0B,Meet In TransferPower Mode, TICK: 26629.

以上情况，首次上电正确，重新复位后发生错乱，应该是状态位未能有效清空所致。

对于故障触发后，增加重新复位标识。 switchProperty->distributionArea->StartUpdate(switchProperty);// 重新复位

对于接收处理。 条件; 逻辑; 结果. 有配电区域; &&; &&; UpdatePowerArea（） ！isGatherCalculateCompleted --> GatherCompletedAndJudgeFaultArea（） IsAlreayExitedFault（）. 有故障信息; ¦¦. 处在故障处理状态IsRun.

统一复归（19个点，2018缓冲），会导致队列溢出，需要一部分一部分处理

3.缺失状态F2故障，切除拒动，不能进行隔离。

地方

C0A80A02: set fault. C0A80A01: set fault. ID: C0A80A02, FAULT: 1， TICK:27921. ID: C0A80A01, FAULT: 1， TICK:27921. C0A80A02,Fault TransmitMessage, TICK: 27929. C0A80A02 :FROM: 21 TO: 22. TICK: 27929. C0A80A01,Fault TransmitMessage, TICK: 27929. C0A80A01 :FROM: 21 TO: 22. TICK: 27929. C0A80A04,Trigger TransmitMessage, TICK: 27939. C0A80A04 :FROM: 21 TO: 25. TICK: 27939. C0A80A03,Trigger TransmitMessage, TICK: 27939. C0A80A03 :FROM: 21 TO: 25. TICK: 27939. C0A80A02 :FROM: 22 TO: 23. TICK: 27950. C0A80A02,treatment open, TICK: 27950. C0A80A02 :FROM: 23 TO: 24. TICK: 27950. C0A80A01 :FROM: 22 TO: 23. TICK: 27950. C0A80A01 :FROM: 23 TO: 26. TICK: 27951. C0A80A02,reject open, TICK: 28052. C0A80A01,backup open because of Reject, TICK: 28064. C0A80A01 :FROM: 26 TO: 27. TICK: 28064. ID: C0A80A01, FAULT: 2， TICK:28101. ID: C0A80A01, SwitchState: 2. TICK:28102 C0A80A04 :FROM: 25 TO: 31. TICK: 28104. C0A80A04 :FROM: 31 TO: FF. TICK: 28104. C0A80A03 :FROM: 25 TO: 31. TICK: 28104. C0A80A03 :FROM: 31 TO: FF. TICK: 28104. C0A80A01,Backup: Removal Sucess, TICK: 28105. C0A80A01 :FROM: 27 TO: 91. TICK: 28105. C0A80A01 :FROM: 91 TO: FF. TICK: 28105. C0A80A02,Removal Sucess: Backup , TICK: 28117. C0A80A02 :FROM: 24 TO: 92. TICK: 28118. C0A80A02 :FROM: 92 TO: FF. TICK: 28118.

4.故障状态出现一次未知？ ——单侧失压故障，未知

5.1，2置过流，2拒分

ID: C0A80A02, FAULT: 1， TICK:434856. ID: C0A80A01, FAULT: 1， TICK:434856. C0A80A02,Fault TransmitMessage, TICK:434862. C0A80A02 :FROM: 21 TO: 22. TICK: 434862. C0A80A01,Fault TransmitMessage, TICK:434862. C0A80A01 :FROM: 21 TO: 22. TICK: 434864. C0A80A04,Trigger TransmitMessage, TICK:434877. C0A80A04 :FROM: 21 TO: 25. TICK: 434877. C0A80A03,Trigger TransmitMessage, TICK:434877. C0A80A03 :FROM: 21 TO: 25. TICK: 434877. C0A80A02 :FROM: 22 TO: 23. TICK: 434887. C0A80A02,treatment open, TICK:434887. C0A80A02 :FROM: 23 TO: 24. TICK: 434887. C0A80A01 :FROM: 22 TO: 23. TICK: 434887. C0A80A01 :FROM: 23 TO: 26. TICK: 434887. ID: C0A80A02, FAULT: 2， TICK:434926. ID: C0A80A02, SwitchState: 2. TICK:434926 C0A80A02,Removal Sucess, TICK:434927. C0A80A02 :FROM: 24 TO: 91. TICK: 434927. C0A80A02 :FROM: 91 TO: FF. TICK: 434927. C0A80A01 :FROM: 26 TO: 91. TICK: 434937. C0A80A01 :FROM: 91 TO: FF. TICK: 434937. C0A80A04 :FROM: 25 TO: 31. TICK: 435037. C0A80A04 :FROM: 31 TO: FF. TICK: 435037. C0A80A03 :FROM: 25 TO: 51. TICK: 435037. C0A80A03,Insulate area backup, TICK:435047. ID: C0A80A03, SwitchState: 2. TICK:435086 C0A80A03,Insulate SUCCESS, TICK:435088. C0A80A03 :FROM: 51 TO: 71. TICK: 435088. C0A80A08,Meet In TransferPower Mode, TICK:435098. C0A80A08 :FROM: 21 TO: 72. TICK: 435098. C0A80A03,Transfer Master Send Cmd., TICK:435108. C0A80A03 :FROM: 71 TO: 91. TICK: 435108. C0A80A03 :FROM: 91 TO: FF. TICK: 435108.

13:11:44 Recive: FROM：A08, TO:A03, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 【容量信息】 13:11:44 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0 【启动转供电】 13:11:44 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:03 08 0A A8 C0 【不进行转供电】 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:7, ValidData:01 03 0A A8 C0 02 02 00 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:7, ValidData:01 03 0A A8 C0 02 02 00 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:8, ValidData:02 03 0A A8 C0 00 01 0A A8 C0 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:C, ValidData:01 03 0A A8 C0 01

6. 切除逻辑不正确

ID: C0A80A02, FAULT: 1， TICK:21922. ID: C0A80A01, FAULT: 1， TICK:21922. C0A80A02,Fault TransmitMessage, TICK: 21928. C0A80A02 :FROM: 21 TO: 22. TICK: 21928. C0A80A01,Fault TransmitMessage, TICK: 21928. C0A80A01 :FROM: 21 TO: 22. TICK: 21928. C0A80A04,Trigger TransmitMessage, TICK: 21938. C0A80A04 :FROM: 21 TO: 25. TICK: 21938. C0A80A03,Trigger TransmitMessage, TICK: 21938. C0A80A03 :FROM: 21 TO: 25. TICK: 21938. C0A80A02 :FROM: 22 TO: 23. TICK: 21948. C0A80A02,treatment open, TICK: 21948. C0A80A02 :FROM: 23 TO: 24. TICK: 21948. C0A80A01 :FROM: 22 TO: 23. TICK: 21948. C0A80A01 :FROM: 23 TO: 26. TICK: 21948. ID: C0A80A02, FAULT: 2， TICK:21987. ID: C0A80A02, SwitchState: 2. TICK:21987 C0A80A02,Removal Sucess, TICK: 21988. C0A80A02 :FROM: 24 TO: 91. TICK: 21988. C0A80A02 :FROM: 91 TO: FF. TICK: 21988. C0A80A01 :FROM: 26 TO: 91. TICK: 21998. C0A80A01 :FROM: 91 TO: FF. TICK: 21998. C0A80A04 :FROM: 25 TO: 31. TICK: 22098. C0A80A04 :FROM: 31 TO: FF. TICK: 22098. C0A80A03 :FROM: 25 TO: 51. TICK: 22098. C0A80A03,Insulate area backup, TICK: 22108.【此处不正确，无法区分拒分与正常情况】 ID: C0A80A03, SwitchState: 2. TICK:22147 C0A80A03,Insulate SUCCESS, TICK: 22148. C0A80A03 :FROM: 51 TO: 71. TICK: 22148. C0A80A08,Meet In TransferPower Mode, TICK: 22158. C0A80A08 :FROM: 21 TO: 72. TICK: 22158. C0A80A03,Transfer Master Send Cmd., TICK: 22168. C0A80A03 :FROM: 71 TO: 91. TICK: 22168. C0A80A03 :FROM: 91 TO: FF. TICK: 22168. C0A80A08,Transfer Close Operate, TICK: 22178. ID: C0A80A08, SwitchState: 1. TICK:22237 C0A80A08,Transfer Success, TICK: 22238.

13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:8, ValidData:02 02 0A A8 C0 01 01 0A A8 C0 01 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 02 00 00 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 02 00 00 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:8, ValidData:02 02 0A A8 C0 01 01 0A A8 C0 01 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:C, ValidData:01 02 0A A8 C0 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:7, ValidData:01 01 0A A8 C0 01 01 00 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:7, ValidData:01 01 0A A8 C0 01 01 00 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:8, ValidData:01 01 0A A8 C0 01 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:C, ValidData:01 01 0A A8 C0 00 13:49:20 Recive: FROM：A04, TO:FFFF, FUNCODE:7, ValidData:01 04 0A A8 C0 02 02 00 00 13:49:20 Recive: FROM：A03, TO:FFFF, FUNCODE:C, ValidData:01 03 0A A8 C0 01 13:49:20 Recive: FROM：A08, TO:A03, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 13:49:20 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0

7.多个链表错误再次引发异常

- 配电区域为故障路径 if (error == ERROR_OK_NULL) { if (i == 0)//只针对首个进行标注。其它只标记配电区域 { find->removalType = type; } //配电区域为链路 (find->distributionArea != NULL) ? (find->distributionArea->SignRemovalMessage(find)) : (find); - }

- 1,3,5分闸跳跃故障

- C0A80A05,Fault TransmitMessage, TICK: 30905. - C0A80A05 :FROM: 21 TO: 22. TICK: 30905. - C0A80A03,Fault TransmitMessage, TICK: 30905. - C0A80A03 :FROM: 21 TO: 22. TICK: 30905. - C0A80A01,Fault TransmitMessage, TICK: 30905. - C0A80A01 :FROM: 21 TO: 22. TICK: 30906. - C0A80A08,Trigger TransmitMessage, TICK: 30916. - C0A80A08 :FROM: 21 TO: 25. TICK: 30916. - C0A80A07,Trigger TransmitMessage, TICK: 30919. - C0A80A07 :FROM: 21 TO: 25. TICK: 30920. - C0A80A06,Trigger TransmitMessage, TICK: 30920. - C0A80A06 :FROM: 21 TO: 25. TICK: 30920. - C0A80A04,Trigger TransmitMessage, TICK: 30920. - C0A80A04 :FROM: 21 TO: 25. TICK: 30920. - C0A80A02,Trigger TransmitMessage, TICK: 30920. - C0A80A02 :FROM: 21 TO: 25. TICK: 30920. - C0A80A05 :FROM: 22 TO: 23. TICK: 30930. - C0A80A05,treatment open, TICK: 30932. - C0A80A05 :FROM: 23 TO: 24. TICK: 30932. - C0A80A03 :FROM: 22 TO: 23. TICK: 30932. - C0A80A03 :FROM: 23 TO: 26. TICK: 30932. - C0A80A01 :FROM: 22 TO: 23. TICK: 30932. - C0A80A01 :FROM: 23 TO: 26. TICK: 30932. - ID: C0A80A05, FAULT: 2， TICK:30970. - ID: C0A80A05, SwitchState: 2. TICK:30970 - C0A80A05,Removal Sucess, TICK: 30972. - C0A80A05 :FROM: 24 TO: 91. TICK: 30972. - C0A80A05 :FROM: 91 TO: FF. TICK: 30972. - C0A80A08 :FROM: 25 TO: 31. TICK: 31082. - C0A80A08 :FROM: 31 TO: FF. TICK: 31082. - C0A80A07 :FROM: 25 TO: 31. TICK: 31083. - C0A80A07 :FROM: 31 TO: FF. TICK: 31083. - C0A80A06 :FROM: 25 TO: 31. TICK: 31083. - C0A80A06 :FROM: 31 TO: FF. TICK: 31083. - C0A80A04 :FROM: 25 TO: 31. TICK: 31083. - C0A80A04 :FROM: 31 TO: FF. TICK: 31086. - C0A80A02 :FROM: 25 TO: 31. TICK: 31087. - C0A80A02 :FROM: 31 TO: FF. TICK: 31087. - C0A80A03,backup overtime open, TICK: 31337. - C0A80A03 :FROM: 26 TO: 27. TICK: 31337. - C0A80A01,backup overtime open, TICK: 31337. - C0A80A01 :FROM: 26 TO: 27. TICK: 31337. - ID: C0A80A03, FAULT: 2， TICK:31376. - ID: C0A80A03, SwitchState: 2. TICK:31376 - ID: C0A80A01, FAULT: 2， TICK:31376. - ID: C0A80A01, SwitchState: 2. TICK:31376 - C0A80A03,Backup: Removal Sucess, TICK: 31377. - C0A80A03 :FROM: 27 TO: 91. TICK: 31377. - C0A80A03 :FROM: 91 TO: FF. TICK: 31377. - C0A80A01,Backup: Removal Sucess, TICK: 31378. - C0A80A01 :FROM: 27 TO: 91. TICK: 31378. - C0A80A01 :FROM: 91 TO: FF. TICK: 31379.

- 10,。 F14故障分析Insulate area backup， - 添加到电源开关的距离。

- C0A80A0D: set fault. - C0A80A10: set fault. - ID: C0A80A10, FAULT: 1， TICK:29004. - ID: C0A80A0D, FAULT: 1， TICK:29004. - C0A80A10,Fault TransmitMessage, TICK: 29010. - C0A80A10 :FROM: 21 TO: 22. TICK: 29010. - C0A80A0D,Fault TransmitMessage, TICK: 29010. - C0A80A0D :FROM: 21 TO: 22. TICK: 29010. - C0A80A11,Trigger TransmitMessage, TICK: 29020. - C0A80A11 :FROM: 21 TO: 25. TICK: 29020. - C0A80A0E,Trigger TransmitMessage, TICK: 29020. - C0A80A0E :FROM: 21 TO: 25. TICK: 29020. - C0A80A0F,Trigger TransmitMessage, TICK: 29020. - C0A80A0F :FROM: 21 TO: 25. TICK: 29020. - C0A80A10 :FROM: 22 TO: 23. TICK: 29030. - C0A80A10,treatment open, TICK: 29030. - C0A80A10 :FROM: 23 TO: 24. TICK: 29030. - C0A80A0D :FROM: 22 TO: 23. TICK: 29030. - C0A80A0D :FROM: 23 TO: 26. TICK: 29030. - C0A80A10,reject open, TICK: 29130. - C0A80A0D,backup open because of Reject, TICK: 29140. - C0A80A0D :FROM: 26 TO: 27. TICK: 29140. - ID: C0A80A0D, FAULT: 2， TICK:29179. - ID: C0A80A0D, SwitchState: 2. TICK:29179 - C0A80A11 :FROM: 25 TO: 51. TICK: 29181. - C0A80A0E :FROM: 25 TO: 31. TICK: 29181. - C0A80A0E :FROM: 31 TO: FF. TICK: 29181. - C0A80A0D,Backup: Removal Sucess, TICK: 29181. - C0A80A0D :FROM: 27 TO: 91. TICK: 29181. - C0A80A0D :FROM: 91 TO: FF. TICK: 29181. - C0A80A0F :FROM: 25 TO: 51. TICK: 29182. - C0A80A10,Removal Sucess: Backup , TICK: 29192. - C0A80A10 :FROM: 24 TO: 92. TICK: 29192. - C0A80A10 :FROM: 92 TO: FF. TICK: 29192. - C0A80A0F,Insulate area backup, TICK: 29192. - ID: C0A80A0F, SwitchState: 2. TICK:29229 - C0A80A0F,Insulate SUCCESS, TICK: 29232. - C0A80A0F :FROM: 51 TO: 71. TICK: 29232. - ID: C0A80A11, SwitchState: 2. TICK:29239 - C0A80A0D,It's path connected., TICK: 29245. - C0A80A01,It's path connected., TICK: 29245. - C0A80A11,Insulate SUCCESS, TICK: 29246. - C0A80A11 :FROM: 51 TO: 71. TICK: 29246. - C0A80A0B,Meet In TransferPower Mode, TICK: 29258. - C0A80A0B :FROM: 21 TO: 72. TICK: 29258. - C0A80A11,Transfer Master Send Cmd., TICK: 29268. - C0A80A11 :FROM: 71 TO: 91. TICK: 29268. - C0A80A11 :FROM: 91 TO: FF. TICK: 29268. - C0A80A0B,Transfer Close Operate, TICK: 29279. - ID: C0A80A0B, SwitchState: 1. TICK:29339 - C0A80A0B,Transfer Success, TICK: 29339. - C0A80A0B :FROM: 72 TO: 91. TICK: 29339. - C0A80A0B :FROM: 91 TO: FF. TICK: 29339. - C0A80A0F,Transfer Master Failure: receive overTime, TICK: 29739. - C0A80A0F :FROM: 71 TO: 91. TICK: 29739. - C0A80A0F :FROM: 91 TO: FF. TICK: 29739.

- 11.三点联动出现反复问题

2018/7/14

C0A80A11,Fault TransmitMessage, TICK: 28466. C0A80A11 :FROM: 21 TO: 22. TICK: 28466. C0A80A10,Fault TransmitMessage, TICK: 28466. C0A80A10 :FROM: 21 TO: 22. TICK: 28466. C0A80A0D,Fault TransmitMessage, TICK: 28467. C0A80A0D :FROM: 21 TO: 22. TICK: 28467. C0A80A13,Trigger TransmitMessage, TICK: 28501. C0A80A13 :FROM: 21 TO: 25. TICK: 28501. C0A80A12,Trigger TransmitMessage, TICK: 28501. C0A80A12 :FROM: 21 TO: 25. TICK: 28502. C0A80A0F,Trigger TransmitMessage, TICK: 28503. C0A80A0F :FROM: 21 TO: 25. TICK: 28503. C0A80A0E,Trigger TransmitMessage, TICK: 28503. C0A80A0E :FROM: 21 TO: 25. TICK: 28503. C0A80A0D :FROM: 22 TO: 23. TICK: 28553. C0A80A0D :FROM: 23 TO: 26. TICK: 28553. C0A80A11 :FROM: 22 TO: 23. TICK: 28564. C0A80A11,treatment open, TICK: 28565. C0A80A11 :FROM: 23 TO: 24. TICK: 28565. C0A80A10 :FROM: 22 TO: 23. TICK: 28565. C0A80A10 :FROM: 23 TO: 26. TICK: 28565. ID: C0A80A11, FAULT: 2， TICK:28601. ID: C0A80A11, SwitchState: 2. TICK:28601 C0A80A11,Removal Sucess, TICK: 28606. C0A80A11 :FROM: 24 TO: 91. TICK: 28606. C0A80A11 :FROM: 91 TO: FF. TICK: 28606. C0A80A10 :FROM: 26 TO: 91. TICK: 28697. C0A80A10 :FROM: 91 TO: FF. TICK: 28697. C0A80A0D :FROM: 26 TO: 91. TICK: 28697. C0A80A0D :FROM: 91 TO: FF. TICK: 28698. C0A80A13 :FROM: 25 TO: 32. TICK: 28825. C0A80A13,OverTime TransmitMessage, TICK: 28829. C0A80A13 :FROM: 32 TO: 91. TICK: 28829. C0A80A13 :FROM: 91 TO: FF. TICK: 28829. C0A80A12 :FROM: 25 TO: 32. TICK: 28830. C0A80A12,OverTime TransmitMessage, TICK: 28830. C0A80A12 :FROM: 32 TO: 91. TICK: 28830. C0A80A12 :FROM: 91 TO: FF. TICK: 28830. C0A80A0F :FROM: 25 TO: 32. TICK: 28888. C0A80A0F,OverTime TransmitMessage, TICK: 28888. C0A80A0F :FROM: 32 TO: 91. TICK: 28888. C0A80A0F :FROM: 91 TO: FF. TICK: 28889. C0A80A0E :FROM: 25 TO: 32. TICK: 28889. C0A80A0E,OverTime TransmitMessage, TICK: 28890. C0A80A0E :FROM: 32 TO: 91. TICK: 28890. C0A80A0E :FROM: 91 TO: FF. TICK: 28890.

后先判断1,35，在判断16,17，变好了

2018/7/13

1.转供电错误

11:52:37 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 01 00 00 11:52:37 Recive: FROM：A05, TO:FFFF, FUNCODE:C, ValidData:01 05 0A A8 C0 01 11:52:37 Recive: FROM：A08, TO:A05, FUNCODE:D, ValidData:01 05 0A A8 C0 05 0A A8 C0 11:52:42 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 11:52:42 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00

2.关于全部复归问题

对于单机复归，比较方便。但是对于多机复归的本质是需要更新的状态量的同步。 - 1）列出需要同步的状态信息量。 - 2）同步的目的是维持信息的有效性。 - 3）需要对状态量进行“变化更新”，“周期更新”，并且需要避开特殊时期。

- error:_TransferPowerS - error:_StationExecuteFunctioncode, line: 264: - StationExecuteFunctioncode: error code: 360F614 - ncode: - error code: 360F6 Transfer_ControlSend Error: 326F6EC - error:_FaultDealStateCenter, line: 128: - 326F824 :FaultRemovalStateCenter ERROR : 326F6F8.

- 14:36:33 Recive: FROM：A05, TO:FFFF, FUNCODE:C, ValidData:01 05 0A A8 C0 01 - 14:36:33 Recive: FROM：A08, TO:A05, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 - 14:37:01 Recive: FROM：A05, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0 - 14:37:14 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 - 14:37:14 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 - 14:37:17 Recive: FROM：A08, TO:FFFF, FUNCODE:7, ValidData:01 08 0A A8 C0 02 02 00 00

- ID: C0A80A05, SwitchState: 2. TICK:26950 - C0A80A05,Insulate SUCCESS, TICK: 26950. - C0A80A05 :FROM: 51 TO: 71. TICK: 26950. - C0A80A08,Meet In TransferPower Mode, TICK: 26960. - C0A80A08 :FROM: 21 TO: 72. TICK: 26960. - C0A80A05,Transfer Master Send Cmd., TICK: 27163. - C0A80A05 :FROM: 71 TO: 91. TICK: 27163. - C0A80A05 :FROM: 91 TO: FF. TICK: 27163. - C0A80A08,Transfer Over Cancer, TICK: 27463. - C0A80A08 :FROM: 72 TO: 91. TICK: 27463. - C0A80A08 :FROM: 91 TO: FF. TICK: 27463.

2018/7/12

1.关于联络开关判断时机的问题？

1）检测到链路上有故障发生，---->此时闭锁--->故障消失（切除成功）

2.问题记录——路径错误+链表错误

int list_rem_next(List *list,ListElmt *element,void **data) { ListElmt *old_element; /*Do not allow removal from an empty list. */ if(list_size(list) == 0) return -1; /*Remove the element from the list. */ if(element == NULL) { /*Handle removal from the head of the list. */ *data = list->head->data; old_element = list->head; list->head = list->head->next; //previous if (list->head != NULL) { list->head->prev = old_element->prev; } if(list_size(list) == 1) list->tail = NULL; } else { /*Handle removal from somewhere other than the head. */ if(element->next == NULL) return -1; *data = element->next->data; old_element = element->next; element->next = element->next->next; if (element->next == NULL) { list->tail = element; } else { //previous element->next->prev = old_element->prev; } } /*FREE the storage allocated by the abstract datatype.*/ FREE(old_element); /*Adjust the size of the list account for the removed element. */ list->size--; return 0; }

3.出现组合错误，合环问题导致大量判别数据

C0A80A0D,It's path connected., TICK: 40301. C0A80A04,It's path connected., TICK: 40301. C0A80A04,It's path connected., TICK: 40301. C0A80A01,It's path connected., TICK: 40301. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A0F,It's path connected., TICK: 40302. C0A80A0F,It's path connected., TICK: 40302. C0A80A0D,It's path connected., TICK: 40305. C0A80A0D,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40306. C0A80A04,It's path connected., TICK: 40306. C0A80A04,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A01,It's path connected., TICK: 40306. C0A80A01,It's path connected., TICK: 40306. C0A80A0F,It's path connected., TICK: 40306. C0A80A0F,It's path connected., TICK: 40307. C0A80A04,It's path connected., TICK: 40310. C0A80A04,It's path connected., TICK: 40310. C0A80A03,It's path connected., TICK: 40310. C0A80A03,It's path connected., TICK: 40310. 没有更新开关状态导致状态是遗留状态。底层上需要实现维护数据的有效性，定时更新。

5.需要整理所有通讯数据类型定义与形式

6.转供电冲突，电源开关进线失压。

2018/7/10

- 要仔细分清各个变量传递关系。调度关系，变量传递关系 - 最近这两天在上面吃不少亏！ - 如果在数据接收部分判断，对于故障发起点没有问题，但是对于其他店，收不到自己的故障信息，无法进行判断。 - 如果在分布式判断，对于三点以上的由于优先级问题可能导致冲突。正在计算是，被打断重新计算。 - 考虑不能状态位之间的配合。 - 如果在解析中处理。

- 监控状态 - ID; - 类型; - 合分位; - 邻居; - 容量; - 故障; - 操作; - 超时; - 配电区域. - 合闸超时时间; - 分闸超时时间; - 后备保护启动时间.

- 3.对于末梢开关，直接分闸不再扩散，就没有隔离过程。

4. 1-3-5-7 5，7拒分

Virtual Node:0, ExecuteFunctioncode, Functioncode: 30. ID: C0A80A07, FAULT: 1， TICK:56850. ID: C0A80A05, FAULT: 1， TICK:56850. ID: C0A80A03, FAULT: 1， TICK:56850. ID: C0A80A01, FAULT: 1， TICK:56850. C0A80A07,Fault TransmitMessage, TICK: 56859. C0A80A07 :FROM: 21 TO: 22. TICK: 56859. C0A80A05,Fault TransmitMessage, TICK: 56859. C0A80A05 :FROM: 21 TO: 22. TICK: 56859. C0A80A03,Fault TransmitMessage, TICK: 56874. C0A80A03 :FROM: 21 TO: 22. TICK: 56874. C0A80A03 :FROM: 22 TO: 23. TICK: 56874. C0A80A03 :FROM: 23 TO: 26. TICK: 56874. C0A80A01,Fault TransmitMessage, TICK: 56875. C0A80A01 :FROM: 21 TO: 22. TICK: 56875. C0A80A08,Trigger TransmitMessage, TICK: 56888. C0A80A08 :FROM: 21 TO: 25. TICK: 56888. C0A80A06,Trigger TransmitMessage, TICK: 56889. C0A80A06 :FROM: 21 TO: 25. TICK: 56889. C0A80A04,Trigger TransmitMessage, TICK: 56889. C0A80A04 :FROM: 21 TO: 25. TICK: 56889. C0A80A02,Trigger TransmitMessage, TICK: 56889. C0A80A02 :FROM: 21 TO: 25. TICK: 56890. C0A80A07 :FROM: 22 TO: 23. TICK: 56914. C0A80A07,treatment open, TICK: 56914. C0A80A07 :FROM: 23 TO: 24. TICK: 56914. C0A80A05 :FROM: 22 TO: 23. TICK: 56915. C0A80A05 :FROM: 23 TO: 26. TICK: 56915. C0A80A01 :FROM: 22 TO: 23. TICK: 56916. C0A80A01 :FROM: 23 TO: 26. TICK: 56916. ID: C0A80A07, FAULT: 2， TICK:56951. ID: C0A80A07, SwitchState: 2. TICK:56951 C0A80A07,Removal Sucess, TICK: 56957. C0A80A07 :FROM: 24 TO: 91. TICK: 56957. C0A80A07 :FROM: 91 TO: FF. TICK: 56957. C0A80A05 :FROM: 26 TO: 91. TICK: 56967. C0A80A05 :FROM: 91 TO: FF. TICK: 56967. C0A80A08 :FROM: 25 TO: 31. TICK: 57057. C0A80A08 :FROM: 31 TO: FF. TICK: 57058. C0A80A06 :FROM: 25 TO: 31. TICK: 57058. C0A80A06 :FROM: 31 TO: FF. TICK: 57058. C0A80A04 :FROM: 25 TO: 31. TICK: 57058. C0A80A04 :FROM: 31 TO: FF. TICK: 57058. C0A80A02 :FROM: 25 TO: 31. TICK: 57058. C0A80A02 :FROM: 31 TO: FF. TICK: 57059. C0A80A03,backup overtime open, TICK: 57282. C0A80A03 :FROM: 26 TO: 27. TICK: 57282. ID: C0A80A03, FAULT: 2， TICK:57321. ID: C0A80A03, SwitchState: 2. TICK:57322 C0A80A03,Backup: Removal Sucess, TICK: 57322. C0A80A03 :FROM: 27 TO: 91. TICK: 57322. C0A80A03 :FROM: 91 TO: FF. TICK: 57322. C0A80A01,backup overtime open, TICK: 57323. C0A80A01 :FROM: 26 TO: 27. TICK: 57323. ID: C0A80A01, FAULT: 2， TICK:57362. ID: C0A80A01, SwitchState: 2. TICK:57362 C0A80A01,Backup: Removal Sucess, TICK: 57363. C0A80A01 :FROM: 27 TO: 91. TICK: 57363. C0A80A01 :FROM: 91 TO: FF. TICK: 57363. C0A80A0C,It's path connected., TICK: 57421.

5. switchProperty 是 0xC0A80A03。

2018/7/9

1、distributionArea->isGatherCompleted 值为0x28？？？

2、需要附加信息，传递所有变量，以备监控使用

3、通讯优先级，处理优先级关系！

4、 Virtual Node:0, ExecuteFunctioncode, Functioncode: 30 ID: C0A80A03, FAULT: 1， TICK:12509. ID: C0A80A01, FAULT: 1， TICK:12509. C0A80A03,Fault TransmitMessage, TICK: 12513. C0A80A03 :FROM: 21 TO: 22. TICK: 12513. C0A80A01,Fault TransmitMessage, TICK: 12513. C0A80A01 :FROM: 21 TO: 22. TICK: 12513. C0A80A05,Trigger TransmitMessage, TICK: 12524. C0A80A05 :FROM: 21 TO: 25. TICK: 12524. C0A80A04,Trigger TransmitMessage, TICK: 12524. C0A80A04 :FROM: 21 TO: 25. TICK: 12524. C0A80A02,Trigger TransmitMessage, TICK: 12525. C0A80A02 :FROM: 21 TO: 25. TICK: 12525. C0A80A03 :FROM: 22 TO: 23. TICK: 12535. C0A80A03 :FROM: 23 TO: 26. TICK: 12535. C0A80A01 :FROM: 22 TO: 23. TICK: 12535. C0A80A01 :FROM: 23 TO: 26. TICK: 12535. C0A80A04 :FROM: 25 TO: 31. TICK: 12685. C0A80A04 :FROM: 31 TO: FF. TICK: 12687. C0A80A03 :FROM: 26 TO: 27. TICK: 12687. C0A80A02 :FROM: 25 TO: 31. TICK: 12687. C0A80A02 :FROM: 31 TO: FF. TICK: 12687. C0A80A01 :FROM: 26 TO: 27. TICK: 12687. ID: C0A80A03, FAULT: 2， TICK:12725. ID: C0A80A03, SwitchState: 2. TICK:12727 ID: C0A80A01, FAULT: 2， TICK:12727. ID: C0A80A01, SwitchState: 2. TICK:12727 C0A80A03,Backup: Removal Sucess, TICK: 12728. C0A80A03 :FROM: 27 TO: 91. TICK: 12728. C0A80A03 :FROM: 91 TO: FF. TICK: 12728. C0A80A01,Backup: Removal Sucess, TICK: 12728. C0A80A01 :FROM: 27 TO: 91. TICK: 12728. C0A80A01 :FROM: 91 TO: FF. TICK: 12728. C0A80A05 :FROM: 25 TO: 31. TICK: 12738. C0A80A05 :FROM: 31 TO: FF. TICK: 12738. C0A80A0F,It's not path connected., TICK: 13165.

2018/7/8

1.首次隔离成功记录

total memory: 8388580 used memory : 97344 maximum allocated memory: 97344 msh />Virtual Node:0, ExecuteFunctioncode, Functioncode: 3 ID: C0A80A03, FAULT: 1. ID: C0A80A01, FAULT: 1. C0A80A03,Fault TransmitMessage, TICK: 13683. C0A80A03 :FROM: 21 TO: 22. TICK: 13683. C0A80A01,Fault TransmitMessage, TICK: 13683. C0A80A01 :FROM: 21 TO: 22. TICK: 13683. C0A80A05,Trigger TransmitMessage, TICK: 13693. C0A80A05 :FROM: 21 TO: 23. TICK: 13693. C0A80A04,Trigger TransmitMessage, TICK: 13693. C0A80A04 :FROM: 21 TO: 23. TICK: 13693. C0A80A02,Trigger TransmitMessage, TICK: 13693. C0A80A02 :FROM: 21 TO: 23. TICK: 13693. C0A80A03 :FROM: 22 TO: 24. TICK: 13703. C0A80A03 :FROM: 24 TO: 25. TICK: 13703. C0A80A03 :FROM: 25 TO: 27. TICK: 13703. C0A80A01 :FROM: 22 TO: 24. TICK: 13703. C0A80A01 :FROM: 24 TO: 25. TICK: 13703. C0A80A01 :FROM: 25 TO: 27. TICK: 13703. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03,Backup Removal Sucess, TICK: 13753. C0A80A03 :FROM: 27 TO: 91. TICK: 13753. C0A80A03 :FROM: 91 TO: FF. TICK: 13753. C0A80A01,Backup Removal Sucess, TICK: 13753. C0A80A01 :FROM: 27 TO: 91. TICK: 13753. C0A80A01 :FROM: 91 TO: FF. TICK: 13753. C0A80A05 :FROM: 23 TO: 51. TICK: 13853. C0A80A04 :FROM: 23 TO: 31. TICK: 13853. C0A80A04 :FROM: 31 TO: FF. TICK: 13853. C0A80A02 :FROM: 23 TO: 31. TICK: 13853. C0A80A02 :FROM: 31 TO: FF. TICK: 13853. C0A80A05,Insulate SUCCESS, TICK: 13929. C0A80A05 :FROM: 51 TO: 91. TICK: 13929. C0A80A05 :FROM: 91 TO: FF. TICK: 13929. ID: C0A80A05, SwitchState: 2.

2.内存使用情况分析

memory total: 8388580, used:99552, maxused: 99552 memory total: 8388580, used:100368, maxused: 100368 （+816） memory total: 8388580, used:100276, maxused: 100732 （-92） memory total: 8388580, used:100008, maxused: 100732 （-268） +456 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100008, maxused: 100732 memory total: 8388580, used:100464, maxused: 100732 （+456） memory total: 8388580, used:100468, maxused: 101120 （+4） memory total: 8388580, used:100104, maxused: 101120 （-364） +96 ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100104, maxused: 101120 memory total: 8388580, used:100560, maxused: 101120 （+456） memory total: 8388580, used:100580, maxused: 101232 （+20） memory total: 8388580, used:100200, maxused: 101232 （-380） （+96） ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100200, maxused: 101232 memory total: 8388580, used:100656, maxused: 101232 （+456） memory total: 8388580, used:100580, maxused: 101232 （-76） memory total: 8388580, used:100296, maxused: 101232 （-284） （+96） ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100296, maxused: 101232 memory total: 8388580, used:100752, maxused: 101232 （+456） memory total: 8388580, used:100780, maxused: 101432 （+28） memory total: 8388580, used:100392, maxused: 101432 （-380） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100392, maxused: 101432 memory total: 8388580, used:100848, maxused: 101432 （+456） memory total: 8388580, used:100892, maxused: 101544 （+44） memory total: 8388580, used:100488, maxused: 101544 （-404） （+96） ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100488, maxused: 101544 memory total: 8388580, used:100944, maxused: 101544 （+456） memory total: 8388580, used:100892, maxused: 101544 （-52） memory total: 8388580, used:100584, maxused: 101544 （-308） （+96） ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100584, maxused: 101544 memory total: 8388580, used:101040, maxused: 101544 （+456） memory total: 8388580, used:101092, maxused: 101744 （+52） memory total: 8388580, used:100708, maxused: 101744 （-384） （+124） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100708, maxused: 101744 memory total: 8388580, used:101164, maxused: 101744 （+456） memory total: 8388580, used:101204, maxused: 101856 （+40） memory total: 8388580, used:100804, maxused: 101856 （-400） （+96） ID:C0A80A04, isn't connect swtich.

更详细判断

msh /> memory total: 8388580, used:99760, maxused: 99796 memory total: 8388580, used:99760, maxused: 99796 memory total: 8388580, used:100216, maxused: 100216 （+456） memory total: 8388580, used:100676, maxused: 100872 （+460） memory total: 8388580, used:100220, maxused: 100872 （-456） memory total: 8388580, used:100220, maxused: 100872 （0） memory total: 8388580, used:99856, maxused: 100872 （-364） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:99856, maxused: 100872 memory total: 8388580, used:99856, maxused: 100872 memory total: 8388580, used:100312, maxused: 100872 memory total: 8388580, used:100788, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:99952, maxused: 100984 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:99952, maxused: 100984 memory total: 8388580, used:99952, maxused: 100984 memory total: 8388580, used:100408, maxused: 100984 memory total: 8388580, used:100788, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100048, maxused: 100984 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100048, maxused: 100984 memory total: 8388580, used:100048, maxused: 100984 memory total: 8388580, used:100504, maxused: 100984 （+456） memory total: 8388580, used:100988, maxused: 101184 （+484） memory total: 8388580, used:100532, maxused: 101184 （-456） memory total: 8388580, used:100532, maxused: 101184 0 memory total: 8388580, used:100144, maxused: 101184 （-388） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100144, maxused: 101184 memory total: 8388580, used:100144, maxused: 101184 memory total: 8388580, used:100600, maxused: 101184 memory total: 8388580, used:101100, maxused: 101296 memory total: 8388580, used:100644, maxused: 101296 memory total: 8388580, used:100644, maxused: 101296 memory total: 8388580, used:100240, maxused: 101296 ID:C0A80A04, isn't connect swtich. 添加比较

memory total: 8388580, used:99840, maxused: 99840 memory total: 8388580, used:99840, maxused: 99840 memory total: 8388580, used:100296, maxused: 100296 memory total: 8388580, used:100328, maxused: 100328 （+32） FreeBFSHelper: start:memory total: 8388580, used:100524, maxused: 100524 （+196） FreeBFSHelper: memory total: 8388580, used:100328, maxused: 100524 （-196） memory total: 8388580, used:100360, maxused: 100524 （+32） FreeBFSHelper: start:memory total: 8388580, used:100700, maxused: 100700 （+340） memory total: 8388580, used:100756, maxused: 100756 【释放不是问题】 （+56）[32+24] FreeBFSHelper: start:memory total: 8388580, used:100952, maxused: 100952 FreeBFSHelper: memory total: 8388580, used:100756, maxused: 100952 memory total: 8388580, used:100756, maxused: 100952 memory total: 8388580, used:100300, maxused: 100952 (-456) memory total: 8388580, used:100300, maxused: 100952 memory total: 8388580, used:99936, maxused: 100952 (-364) (+96) = 32*3 这是原因！ ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:99936, maxused: 100952 memory total: 8388580, used:99936, maxused: 100952 memory total: 8388580, used:100392, maxused: 100952 memory total: 8388580, used:100424, maxused: 100952 FreeBFSHelper: start:memory total: 8388580, used:100780, maxused: 100952 memory total: 8388580, used:100836, maxused: 100952 FreeBFSHelper: start:memory total: 8388580, used:101032, maxused: 101032 FreeBFSHelper: memory total: 8388580, used:100836, maxused: 101032 memory total: 8388580, used:100868, maxused: 101032 FreeBFSHelper: start:memory total: 8388580, used:101064, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100032, maxused: 101064 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100032, maxused: 101064 memory total: 8388580, used:100032, maxused: 101064 memory total: 8388580, used:100488, maxused: 101064 memory total: 8388580, used:100520, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100716, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100520, maxused: 101064 memory total: 8388580, used:100552, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100748, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100552, maxused: 101064 memory total: 8388580, used:100584, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100844, maxused: 101064 memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100128, maxused: 101064 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100128, maxused: 101064 memory total: 8388580, used:100128, maxused: 101064 memory total: 8388580, used:100584, maxused: 101064 memory total: 8388580, used:100616, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100820, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100616, maxused: 101064 memory total: 8388580, used:100648, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:101012, maxused: 101064 memory total: 8388580, used:101068, maxused: 101068 FreeBFSHelper: start:memory total: 8388580, used:101264, maxused: 101264 FreeBFSHelper: memory total: 8388580, used:101068, maxused: 101264 memory total: 8388580, used:101068, maxused: 101264 memory total: 8388580, used:100612, maxused: 101264 memory total: 8388580, used:100612, maxused: 101264 memory total: 8388580, used:100224, maxused: 101264 ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100224, maxused: 101264 memory total: 8388580, used:100224, maxused: 101264 memory total: 8388580, used:100680, maxused: 101264 memory total: 8388580, used:100712, maxused: 101264 FreeBFSHelper: start:memory total: 8388580, used:101092, maxused: 101264 memory total: 8388580, used:101148, maxused: 101264 FreeBFSHelper: start:memory total: 8388580, used:101344, maxused: 101344 FreeBFSHelper: memory total: 8388580, used:101148, maxused: 101344 memory total: 8388580, used:101180, maxused: 101344 FreeBFSHelper: start:memory total: 8388580, used:101376, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100320, maxused: 101376 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100320, maxused: 101376 memory total: 8388580, used:100320, maxused: 101376 memory total: 8388580, used:100776, maxused: 101376 memory total: 8388580, used:100808, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101024, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:100808, maxused: 101376 memory total: 8388580, used:100840, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101072, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:100840, maxused: 101376 memory total: 8388580, used:100872, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101156, maxused: 101376 memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100416, maxused: 101376 ID:C0A80A01, isn't connect swtich.

后经查已经分配重复分配导致！ *helper = (BFSHelper*)MALLOC(sizeof(BFSHelper)); if (*helper == NULL) { return ERROR_MALLOC; }

- Dsds - ID: C0A80A10, FAULT: 1. - ID: C0A80A0D, FAULT: 1. - C0A80A10,Fault TransmitMessage, TICK: 77807. - C0A80A10 :FROM: 21 TO: 22. TICK: 77807. - C0A80A0D,Fault TransmitMessage, TICK: 77807. - C0A80A0D :FROM: 21 TO: 22. TICK: 77807. - C0A80A11,Trigger TransmitMessage, TICK: 77817. - C0A80A11 :FROM: 21 TO: 23. TICK: 77817. - C0A80A0F,Trigger TransmitMessage, TICK: 77817. - C0A80A0F :FROM: 21 TO: 23. TICK: 77817. - C0A80A0E,Trigger TransmitMessage, TICK: 77817. - C0A80A0E :FROM: 21 TO: 23. TICK: 77817. - C0A80A10 :FROM: 22 TO: 24. TICK: 77827. - C0A80A10 :FROM: 24 TO: 25. TICK: 77827. - C0A80A10 :FROM: 25 TO: 27. TICK: 77827. - C0A80A0D :FROM: 22 TO: 24. TICK: 77827. - C0A80A0D :FROM: 24 TO: 25. TICK: 77827. - C0A80A0D :FROM: 25 TO: 27. TICK: 77827. - ID: C0A80A10, FAULT: 2. - ID: C0A80A10, SwitchState: 2. - ID: C0A80A0D, FAULT: 2. - ID: C0A80A0D, SwitchState: 2. - C0A80A10,Backup Removal Sucess, TICK: 77877. - C0A80A10 :FROM: 27 TO: 91. TICK: 77877. - C0A80A10 :FROM: 91 TO: FF. TICK: 77877. - C0A80A0D,Backup Removal Sucess, TICK: 77877. - C0A80A0D :FROM: 27 TO: 91. TICK: 77877. - C0A80A0D :FROM: 91 TO: FF. TICK: 77877. - ID:C0A80A11, isn't connect swtich. - ID:C0A80A10, isn't connect swtich. - ID:C0A80A0D, isn't connect swtich. - ID:C0A80A0B, isn't connect swtich. - ID:C0A80A08, isn't connect swtich. - ID:C0A80A04, isn't connect swtich. - ID:C0A80A01, isn't connect swtich. - C0A80A11 :FROM: 23 TO: 31. TICK: 77977. - C0A80A11 :FROM: 31 TO: FF. TICK: 77977. - C0A80A0F :FROM: 23 TO: 31. TICK: 77977. - C0A80A0F :FROM: 31 TO: FF. TICK: 77977. - C0A80A0E :FROM: 23 TO: 31. TICK: 77977. - C0A80A0E :FROM: 31 TO: FF. TICK: 77977. - ID:C0A80A11, isn't connect swtich.

- 4.理清判断故障与收集，以及后备保护的需要之间的关系

2018/7/7

1. switch 0 id:0xc0a80a0d ip: 192:168:10:13 neighrbour num 3 neighrbour 0 id:0xc0a80a0e, ip: 192:168:10:14 neighrbour 1 id:0xc0a80a0f, ip: 192:168:10:15 neighrbour 2 id:0xc0a80a10, ip: 192:168:10:16 memory total: 8388580, used:70148, maxused: 70180 STATION:C0A80A0E, Code: 1. Tick: 23865 reserialize error, error code:{ 23 } toplogy id: 0xc0a80a0e, ip: 192:168:10:14 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a0e ip: 192:168:10:14 neighrbour num 3 neighrbour 0 id:0xc0a80a0d, ip: 192:168:10:13 neighrbour 1 id:0xc0a80a0f, ip: 192:168:10:15 neighrbour 2 id:0xc0a80a10, ip: 192:168:10:16 memory total: 8388580, used:70148, maxused: 70180 STATION:C0A80A0F, Code: 1. Tick: 23875

15:09:42 Recive: FROM：A08, TO:A0E, FUNCODE:1, ValidData:01 0E 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A0F, FUNCODE:1, ValidData:01 0F 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A10, FUNCODE:1, ValidData:01 10 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A11, FUNCODE:1, ValidData:01 11 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A12, FUNCODE:1, ValidData:01 12 0A A8 C0 01 15:09:43 Recive: FROM：A08, TO:A13, FUNCODE:1, ValidData:01 13 0A A8 C0 01 数据错误 return MakeSimpleMessage(GET_MESSAGE, id, (uint8_t)cmd, packet); 修改错误

3. 需要多次获取，才能得到错误信息GET_MESSAGE

4. m_foreach 是 nullptr。

ErrorCode SetConnectPath(uint32_t id, PathConnected isSet, StationTopology* toplogy) { CHECK_POINT_RETURN_LOG(toplogy, NULL, ERROR_NULL_PTR, 0); List* list = &(toplogy->connectPath); FOR_EARCH_LIST_START(list); uint32_t getID = *(uint32_t*)list_data(m_foreach); if (getID == id) { if (isSet == CANCER_PATH_CONNECT) { uint32_t* pid; list_rem_next(list, m_foreach->prev, &pid); SafeFree(pid); return ERROR_NULL; } } FOR_EARCH_LIST_END();

跳闸顺序 C0A80A13: CONTROL_REMOVAL_RESET. ID: C0A80A03, FAULT: 1. ID: C0A80A01, FAULT: 1. C0A80A03,Fault TransmitMessage, TICK: 24221. C0A80A03 :FROM: 21 TO: 22. TICK: 24222. C0A80A01,Fault TransmitMessage, TICK: 24222. C0A80A01 :FROM: 21 TO: 22. TICK: 24222. C0A80A05,Trigger TransmitMessage, TICK: 24245. C0A80A05 :FROM: 21 TO: 23. TICK: 24245. C0A80A04,Trigger TransmitMessage, TICK: 24245. C0A80A04 :FROM: 21 TO: 23. TICK: 24245. C0A80A02,Trigger TransmitMessage, TICK: 24247. C0A80A02 :FROM: 21 TO: 23. TICK: 24247. C0A80A03 :FROM: 22 TO: 24. TICK: 24257. C0A80A03 :FROM: 24 TO: 26. TICK: 24257. C0A80A01 :FROM: 22 TO: 24. TICK: 24257. C0A80A01 :FROM: 24 TO: 25. TICK: 24257. C0A80A01 :FROM: 25 TO: 27. TICK: 24257. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 26 TO: 92. TICK: 24308. C0A80A03 :FROM: 92 TO: FF. TICK: 24309. C0A80A01 :FROM: 27 TO: 91. TICK: 24309. C0A80A01 :FROM: 91 TO: FF. TICK: 24309. C0A80A05 :FROM: 23 TO: 31. TICK: 24409. C0A80A05 :FROM: 31 TO: FF. TICK: 24409. C0A80A04 :FROM: 23 TO: 31. TICK: 24409. C0A80A04 :FROM: 31 TO: FF. TICK: 24409. C0A80A02 :FROM: 23 TO: 31. TICK: 24409. C0A80A02 :FROM: 31 TO: FF. TICK: 24409. memory total: 8388580, used:98052, maxused: 98840 memory total: 8388580, used:C0A80A0F,It's not path connected., TICK: 25050. C0A80A0D,It's not path connected., TICK: 25051. C0A80A01,It's not path connected., TICK: 25051. 98148, maxused: 98840

5.异常

0x013789C9 处有未经处理的异常(在 vs.exe 中): 0xC0000005: 读取位置 0x00000001 时发生访问冲突。 如有适用于此异常的处理程序，该程序便可安全地继续运行。

ErrorCode FindSwitchNodeByID(const List* listNeighboorSwitch, uint32_t id, SwitchProperty** find) { CHECK_POINT_RETURN_LOG(listNeighboorSwitch, NULL, ERROR_NULL_PTR, 0); FOR_EARCH_LIST_START(listNeighboorSwitch); if (GET_SWITCH_ELEMENT(m_foreach)->id == id) { *find = GET_SWITCH_ELEMENT(m_foreach); return ERROR_NULL; } FOR_EARCH_LIST_END(); return ERROR_UNFIND; }

修改后再次出现问题！

6.添加已经覆盖

C0A80A01 :FROM: 25 TO: 27. TICK: 13048. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 27 TO: 91. TICK: 13099. C0A80A03 :FROM: 91 TO: FF. TICK: 13099. C0A80A01 :FROM: 27 TO: 91. TICK: 13099. C0A80A01 :FROM: 91 TO: FF. TICK: 13105. C0A80A0F,It's not path connected., TICK: 13132. C0A80A0D,It's path connected., TICK: 13133. C0A80A0C,It's path connected., TICK: 13133. C0A80A09,It's not path connected., TICK: 13133. C0A80A05,It's not path connected., TICK: 13134. C0A80A03,It's not path connected., TICK: 13134. C0A80A01,It's path connected., TICK: 13138. C0A80A01,It's not path connected., TICK: 13140. toplogy id: 0xc0a80a06, ip: 192:168:10:6 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a06 ip: 192:168:10:6 neighrbour num 3 neighrbour 0 id:0xc0a80a05, ip: 192:168:10:5 neighrbour 1 id:0xc0a80a07, ip: 192:168:10:7 neighrbour 2 id:0xc0a80a08, ip: 192:168:10:8 memory total: 8388580, used:97152, maxused: 97404 toplogy id: 0xc0a80a07, ip: 192:168:10:7 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a07 ip: 192:168:10:7 neighrbour num 3 neighrbour 0 id:0xc0a80a05, ip: 192:168:10:5 neighrbour 1 id:0xc0a80a06, ip: 192:168:10:6 neighrbour 2 id:0xc0a80a08, ip: 192:168:10:8 memory total: 8388580, used:97328, maxused: 97404 C0A80A05 :FROM: 23 TO: 31. TICK: 13186. C0A80A05 :FROM: 31 TO: FF. TICK: 13186. C0A80A04 :FROM: 23 TO: 31. TICK: 13186. C0A80A04 :FROM: 31 TO: FF. TICK: 13186. C0A80A02 :FROM: 23 TO: 31. TICK: 13186. C0A80A02 :FROM: 31 TO: FF. TICK: 13186. toplogy id: 0xc0a80a08, ip: 192:168:10:8

C0A80A01 :FROM: 24 TO: 25. TICK: 19470. C0A80A01 :FROM: 25 TO: 27. TICK: 19470. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 27 TO: 91. TICK: 19521. C0A80A03 :FROM: 91 TO: FF. TICK: 19521. C0A80A01 :FROM: 27 TO: 91. TICK: 19521. C0A80A01 :FROM: 91 TO: FF. TICK: 19522. memory total: 8388580, used:103760, maxused: 104576 memory total: 8388580, used:103872, maxused: 104576 ID:C0A80A03, isn't connect swtich. memory total: 8388580, used:103872, maxused: 104576 memory total: 8388580, used:103968, maxused: 104672 ID:C0A80A01, isn't connect swtich. C0A80A0F,It's not path connected., TICK: 19589. C0A80A0D,It's path connected., TICK: 19589. C0A80A0C,It's path connected., TICK: 19589. C0A80A09,It's not path connected., TICK: 19590. C0A80A05,It's not path connected., TICK: 19590. C0A80A03,It's not path connected., TICK: 19590. C0A80A01,It's path connected., TICK: 19592. C0A80A01,It's not path connected., TICK: 19592. C0A80A05 :FROM: 23 TO: 31. TICK: 19612. C0A80A05 :FROM: 31 TO: FF. TICK: 19612. C0A80A04 :FROM: 23 TO: 31. TICK: 19612. C0A80A04 :FROM: 31 TO: FF. TICK: 19613. C0A80A02 :FROM: 23 TO: 31. TICK: 19613. C0A80A02 :FROM: 31 TO: FF. TICK: 19615. memory total: 8388580, used:103584, maxused: 104672

新问题：在运行保护时，不能更新连接路径，否则会导致判别错误。

2018/7/6

1.错误提示

Local Node Message: toplogy id: 0xc0a80a12, ip: 192:168:10:18 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a12 ip: 192:168:10:18 neighrbour num 2 neighrbour 0 id:0xc0a80a11, ip: 192:168:10:17 neighrbour 1 id:0xc0a80a13, ip: 192:168:10:19 memory total: 8388580, used:89240, maxused: 89240 Neighbour Node Message: switch id:0xc0a80a13 ip: 192:168:10:19 neighrbour count: 3 neighrbour 0 id:0xc0a80a11, ip: 192:168:10:17 neighrbour 1 id:0xc0a80a12, ip: 192:168:10:18 neighrbour 2 id:0xc0a80a0b, ip: 192:168:10:11 switch id:0xc0a80a11 ip: 192:168:10:17 neighrbour count: 3 neighrbour 0 id:0xc0a80a10, ip: 192:168:10:16 neighrbour 1 id:0xc0a80a12, ip: 192:168:10:18 neighrbour 2 id:0xc0a80a13, ip: 192:168:10:19 to free a bad data block: mem: 0x007f5d20, used flag: 0, magic code: 0x1ea0 (mem->used) assertion failed at function:rt_free, line number:589

if (areaNum == 1) { SwitchProperty* deleteElement; ListElmt* element = list_head(listArea); ListElmt* lastElement = element; uint8_t size = list_size(listArea); for(; size-- ;) { if (element != NULL) { if (GET_SWITCH_ELEMENT(element)->state == SWITCH_OPEN) { if (list_is_head(listArea, lastElement)) { list_rem_next(listArea, NULL, (void**)&deleteElement); } else { list_rem_next(listArea, lastElement, (void**)&deleteElement); } } lastElement = element; element = element->next; } }

0x002B698F 处有未经处理的异常(在 vs.exe 中): 0xC0000005: 读取位置 0x00000008 时发生访问冲突。 如有适用于此异常的处理程序，该程序便可安全地继续运行。

2018/7/5

1.数组超标

Run-Time Check Failure #2 - Stack around the variable 'queueBuffer' was corrupted. 数组溢出，由 10到32正常

- 内存泄漏 - 多了120字节

2018/7/4

1.

helper size : 17. C0A80A14,C0A80A13,C0A80A12,C0A80A10,C0A80A0F,C0A80A0E,C0A80A0D,C0A80A0C,C0A80A0A,C0A80A09,C0A80A06,C0A80A05,C0A80A03,C0A80A02,C0A80A01,C0A80A07,C0A80A08, helper edgeTo: 0,0,0,0,0,0,0,9,9,16,16,16,11,12,12,16,0, helper path: 16,11,12,14, memory total: 8388580, used:16900, maxused: 16900 【C0A80A08，C0A80A05，C0A80A03, C0A80A01】 helper size : 17. C0A80A0C,C0A80A14,C0A80A13,C0A80A12,C0A80A10,C0A80A0F,C0A80A0E,C0A80A0D,C0A80A0A ,C0A80A09,C0A80A06,C0A80A05,C0A80A03,C0A80A02,C0A80A01,C0A80A07,C0A80A08, helper edgeTo: 9,0,0,0,0,0,0,0,9,16,16,16,11,12,12,16,0, helper path: 16,9,0, 【C0A80A08，C0A80A09,C0A80A12】

2018/7/3

1. 关于W5500 UDP接收调试纪要

1) 6/28 晚上开始进行调试（19:00--22:00） 当时与向然进行联调，主要是熟悉程序逻辑，加入测试函数，后台打印输出，测试任务占比。 对于单独的终端接收，没有ms事件的情况，能够正常接收，且不丢包（60000个/ms）.但是只要加入1 ms事件就丢包，而且是大面积丢失，即使拉大ms间隔，如5ms。接收打印对其有影响需要改到后台中。 从占空比上看，正常工作下。占比为16%。 一旦有接收任务 16% + 43%（增加）总共占比59%

有接收，有ms事件的情况。说明进入即退出即重新进入。

- 后测试中断数与接收数不一致，按照推理，应该后者大于前者。实际要小很多。 - 到22:00 今天到此为止。 - 今天考虑几个问题：（1）加入ms事件对于CPU负载的影响。（2）执行当前任务时执行调度，会不会调度任务。——不会，调度时只向优先级高的任务调度。相等等级不调度。 - （3）需要重点处理中断数与接收数不一致的情况。

- 3）2018/7/2 9:00--21:00 - 理清思路，发现 - ）把清除标志位放置于中断中发现老是进入无休止发送等待，试了几下遂放弃。 - ）后关中断，发现直接死机，原因不明。 - ）后加入do {}while（）增加响应速度，有起色，甚至出现连续多次测试不掉包的现象。但后来测试有出现丢包。丢包数量有所下降。 - ）测试重新上电，首次一般能通过后来不正常，怀疑驱动。 - ）16:00 感觉驱动有问题，对照半天，确实有漏洞，后修改。感觉不放心，又想把自己的驱动移植过来，移植一部分，发现大量名称重复函数，遂放弃。 - ）包括之前发现死机发生在发送标志位时候，怀疑重复调用，加检测不起效果。 - ）添加关闭接收中断 - ）偶然发现通讯关闭Close。发现少breakler - ）在中断里清除标志位，一切正常，后发现不在中断清除有问题。

2018/6/30

1.建立跟踪日志体系，先修路！

2.异常信息获取以后，再添加一个通用提示（字符串信息），基本上皆可以囊括大部分情况。

2018/6/27

1.昨天问题整理描述：在VC++仿真正常，但是在嵌入式式除了语法更为严格以外的其它错误，以输出打印异常，定时器异常居多，应该是底层配置冲突导致。有些问题以前就有如heap over stack。

void rt_malloc_sethook(void (*hook)(void *ptr, rt_uint32_t size));

void rt_malloc_sethook(void (*hook)(void *ptr, rt_size_t size)) 修改了头文件定义。 其它通过，distribution 没有通过

问题依旧。。。

就是在这翻车。。

取消进入临界区设置，能够正常打印输出。重复了之前的问题

Local Node Message: toplogy id: 0xc0psr: 0x00000000 pc: 0xfffffffe lr: 0x20002956 r12: 0x20001b20 r03: 0xffffffff r02: 0x00000002 r01: 0x200028ff r00: 0x0000000a hard fault on thread: switch

//rt_enter_critical(); // while(*str!='\0') // { // if(*str=='\n') // { // USART6->DR = (u8) '\r'; // while((USART6->SR&0X40)==0); // } // USART6->DR =*str++; // while((USART6->SR&0X40)==0); // } // rt_exit_critical();

以上注销，会导致 #ifdef RT_USING_OVERFLOW_CHECK static void _rt_scheduler_stack_check(struct rt_thread *thread) { RT_ASSERT(thread != RT_NULL); if (*((rt_uint8_t *)thread->stack_addr) != '#' ¦¦ (rt_uint32_t)thread->sp <= (rt_uint32_t)thread->stack_addr ¦¦ (rt_uint32_t)thread->sp > (rt_uint32_t)thread->stack_addr + (rt_uint32_t)thread->stack_size) { rt_uint32_t level; rt_kprintf("thread:%s stack overflow\n", thread->name); #ifdef RT_USING_FINSH { extern long list_thread(void); list_thread(); } #endif level = rt_hw_interrupt_disable(); while (level); } else if ((rt_uint32_t)thread->sp <= ((rt_uint32_t)thread->stack_addr + 32)) { rt_kprintf("warning: %s stack is close to end of stack address.\n", thread->name); } } #endif 停留在黄色位置

#define RT_USING_HOOK 加上 调大堆栈256-1024 能正常使用了。。。

教训：1.简单升级不能彻底解决问题2.11-3.03，需要注意配置情况 - 配置情况具有关联性！ - 分析好情况，这次证明了基本语法和方式是没有问题的！

- 测试需要 - 1）计算时间，整理后备保护正确与否

- 3.出现一个多次下载bug，重复问题

无锁环形队列是什么

- 建立综合测试监控通道 - 1）使用nanopb，具体作为数据载体。 - 2）适适用于分布式多点通信，能够灵活适应485,232，以太网组网 - 3）对需要信息进行代号化，减少资源占用。

- 代号化信息 - 1）拓扑信息 - 2）状态信息 - 3）中间过程记录，日志系统！ - 日志系统内容： - rt_kprintf("DATA:%s,file: %s, %s, %d\n",__DATE__, __FILE__, __FUNCTION__, __LINE__); - 错误记录： - 函数（字符串），行数（整形），自定义错误代码（整形），tick（可选）

2018/6/26

1.有效数据

通讯更改处理机制以后，速度提高很多，之前轮询延时太大。还以为是系统问题。

2.通信的优先级问题，需要处理不同通信优先级问题，以在处理重要任务时，屏蔽其他任务。

- 全局邻居列表数量不对？对于状态信息更新，应该从全局里面找还是邻居里面找？ - 对于普通状态信息，应该从全局以便掌握全体状态。二队故障判别？

- 4.需要添加一个检验区

- 5.const 需要从底层开始

- 6.嵌入式异常

- thread router start. - thread comself start. - thread communication start. - psr: 0x61000000 - pc: 0xdeadbeee - lr: 0x0800623d - r12: 0x00000000 - r03: 0x00000005 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000

- 两断电之间进入中断。取消LL_mDelay(10)正常

- 打印输出异常。

- psr: 0x00000040 - pc: 0x20002672 - lr: 0x20003430 - r12: 0x00000000 - r03: 0x00000001 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000 - hard fault on thread: comself - 加大串口缓冲加大到1024问题依旧 - 加大Comself缓冲问题依旧 - 开启堆检测 - psr: 0x00000040 - pc: 0x200025f2 - lr: 0x20003430 - r12: 0x00000000 - r03: 0x00000001 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000 - hard fault on thread: comself - \0 - \ ¦ / - thread:heap stack overflow - \0

- 改成100K - thread:heap stack overflow - \0sr: 0x00000000 - thread: stack overflow - \0sr: 0x00000000 - thread: stack overflow - 关了stack over check 可以正常打印了！！！

- toplogy id: 0xc0a80a01, ip: 192:168:10:1 - psr: 0x41000000 - pc: 0x20002754 - lr: 0x08006349 - r12: 0xfffffffe - r03: 0x000000c8 - r02: 0x00000000 - r01: 0x00004000 - r00: 0x00000000 - hard fault on thread: switch - 又是打印前后异常！

2018/6/25

1.先修路，把状态量回显弄好。

2.为了能够提供复用率，需要减去不要的函数。

3.bool 需要改名，可能与C++实际冲突，可以考虑使用stdbool

5. Dll 需要使用realeas 64bit版本

3.中哪一个的参数 实现多种传输！

[StructLayout(LayoutKind.Sequential)] public struct ComselfMessage { public UInt16 sourceAddress; //地址 public UInt16 destAdrress; //目的地址 public byte funcode; //功能代码 public UInt16 datalen; //数据长度 //[MarshalAs(UnmanagedType.ByValArray, SizeConst = 200)] //public byte[] validData;//有效数据最长为200 #define FRAME_MESSAGE_MAX 200 public IntPtr validDataPtr; public byte completeFlag; //0-未完成 }

2018/6/23

1.2-2-2 阵型通讯记录

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 和昨天一样，现在是两遍？为什么？ 超时发送

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 02 53 A5 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 02 53 A5 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 02 0C 27 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 02 01 E6 1A

需要上位机实时呈现下面状态。。。

正确的故障处理方式： 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A

2018/6/22

1. 1,2分析

65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 17 00 A6 65 02 0A 01 0A 03 01 01 15 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 01 01 0A A8 C0 B6 04 3F 9B 1A 65 A6 17 00 A6 65 01 0A 02 0A 03 01 01 15 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 01 02 0A A8 C0 B4 04 9B C2 1A

2. 2-2-2，相互通信正常

65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 1B 00 A6 65 01 0A 03 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 0D 72 1A 65 A6 1B 00 A6 65 03 0A 02 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 00 B4 1A 65 A6 1B 00 A6 65 02 0A 03 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 C0 2A 1A 65 A6 1B 00 A6 65 02 0A 01 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 60 28 1A 65 A6 1B 00 A6 65 01 0A 02 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 5D 73 1A 65 A6 1B 00 A6 65 03 0A 01 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 F0 B7 1A

3.在之上添加一个

65 A6 06 00 A6 65 04 0A 01 0A 02 01 01 0A A8 C0 01 DA 87 1A 65 A6 06 00 A6 65 04 0A 02 0A 02 01 02 0A A8 C0 01 2A D7 1A 65 A6 06 00 A6 65 04 0A 03 0A 02 01 03 0A A8 C0 01 7A E7 1A 65 A6 1B 00 A6 65 01 0A 04 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 FD 76 1A 65 A6 1B 00 A6 65 02 0A 04 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 30 2E 1A 65 A6 1B 00 A6 65 03 0A 04 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 A0 B1 1A

4. 3-3-3-3队列

65 A6 06 00 A6 65 04 0A 01 0A 02 01 01 0A A8 C0 01 DA 87 1A 65 A6 06 00 A6 65 04 0A 02 0A 02 01 02 0A A8 C0 01 2A D7 1A 65 A6 06 00 A6 65 04 0A 03 0A 02 01 03 0A A8 C0 01 7A E7 1A 65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FE 6E 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 02 0A 04 0A 02 01 04 0A A8 C0 01 02 6A 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 01 0A 04 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 60 F3 1A 65 A6 1F 00 A6 65 02 0A 04 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 21 73 1A 65 A6 1F 00 A6 65 04 0A 03 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 75 7D 1A 65 A6 1F 00 A6 65 03 0A 04 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 5A 5F 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 63 F2 1A 65 A6 1F 00 A6 65 03 0A 02 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 B4 5F 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 22 72 1A 65 A6 1F 00 A6 65 04 0A 02 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 98 7C 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 01 0A 02 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 8E F3 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A 65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FE 6E 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 02 0A 04 0A 02 01 04 0A A8 C0 01 02 6A 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 63 F2 1A 65 A6 1F 00 A6 65 03 0A 02 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 B4 5F 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 22 72 1A 65 A6 1F 00 A6 65 04 0A 03 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 75 7D 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 01 0A 02 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 8E F3 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 02 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 98 7C 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A

以上出现重复情况，正常情况下，不应该重复，后拉长TIck从1000改成3000后正常

6.更新节点时候，需要退出分布式

7.状态信息获取 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A

8.关于任务，一定确保不能让其长时间占用，不然会让其它程序一直挂起，饿死。

9.关于缓冲信息流，可以考虑采用事件通知的经典模式，既减少轮询消耗，又能提高效率。实现稍复杂。

10.故障判断启动后的通信分析

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 只有1,4右发送

11.注意保护启动的时机

12.置过流结果

ID: C0A80A01, FAULT: 1. C0A80A01 :CURRENT: A1 TO: A2. C0A80A01 :CURRENT: A2 TO: A8. C0A80A01 :CURRENT: A2 TO: C3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A04, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. C0A80A04 :CURRENT: A1 TO: A3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A04, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. C0A80A04 :CURRENT: A3 TO: A8. C0A80A04 :CURRENT: A3 TO: C3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. STATION:C0A80A01, ExecuteFunctioncode : 7. STATION:C0A80A01, ExecuteFunctioncode : 7.

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A

13. 数据

65 A6 09 00 A6 65 06 0A FF FF 07 01 06 0A A8 C0 01 01 00 00 B3 63 1A 65 A6 09 00 A6 65 06 0A FF FF 07 01 06 0A A8 C0 01 01 00 00 B3 63 1A

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A

2018/6/21

1.数据分析

65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A

65 A6 12 00 A6 65 01 0A 02 01 01 0A A8 C0 01 01 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 0F 0A 02 01 0F 0A A8 C0 01 0F 0A 1A 65 A

花了很长时间才发现，长度赋值错误。

2. 帧中需要包含发送地址，以便处理。

65 A6 1D 00 A6 65 FF FF 03 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 A7 26 1A 65 A6 1D 00 A6 65 FF FF 03 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 C0 E6 1A

3. \ ¦ / - RT - Thread Operating System / ¦ \ 3.1.0 build Jun 21 2018 2006 - 2018 Copyright by rt-thread team Hello RT-Thread! File System on root initialized! File System on sd initialization failed! thread distribution_thread_entry start. thread simulation start. thread router start. thread comself start. thread communication start. init usart4. thread gain_thread_entry start. msh />Virtual Node:0, ExecuteFunctioncode, Functioncode: 40. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:11904, maxused: 11904 ID: C0A80A01, FAULT: 2. Virtual Node:0, ExecuteFunctioncode, Functioncode: 40. toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:14876, maxused: 14876 ID: C0A80A02, FAULT: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 3. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:15912, maxused: 15912 STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 3. toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:16072, maxused: 16072 STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 3. FreeTopologyMemory before memory total: 8388580, used:16376, maxused: 16400 FreeTopologyMemory after memory total: 8388580, used:16240, maxused: 16400 toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:16264, maxused: 16400 STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 3. FreeTopologyMemory before memory total: 8388580, used:16376, maxused: 16400 FreeTopologyMemory after memory total: 8388580, used:16240, maxused: 16400 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2

4. 发送

65 A6 1D 00 A6 65 00 00 AA 00 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 BF 10 1A

65 A6 08 00 A6 65 2C F5 03 0A 02 01 01 0A A8 C0 01 ED A4 1A 65 A6 08 00 A6 65 2C F5 03 0A 02 01 02 0A A8 C0 01 ED E0 1A 65 A6 08 00 A6 65 2C F5 03 0A 02 01 04 0A A8 C0 01 ED 68 1A

65 A6 08 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AA 13 1A 65 A6 08 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5A 43 1A 65 A6 08 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FA E0 1A

A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 00 00 8C F7 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 00 00 40 A6 1A 65 A6 23 00 A6 65 03 0A 01 0A 03 01 01 03 0A A8 C0 01 01 03 0A A8 C0 43 01 04 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 05 0A A8 C0 29 09 00 00 CD 2D 1A 65 A6 23 00 A6 65 04 0A 01 0A 03 01 01 04 0A A8 C0 01 01 04 0A A8 C0 45 01 04 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 05 0A A8 C0 2C 09 00 00 1C CC 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 00 00 16 F6 1A

5. 挂起的程序

RT_ETIMEOUT 2 属于超时

2018/6/20

1.除了最高优先级，其他全部挂起不能执行。

2.router之上正常之下全部挂起

修改互斥为rt-thread 依旧不正确。

Residen正好为临界值，就出现死区

- 输入list_thread - 0x0F421328 (ucrtbased.dll)处(位于 vs.exe 中)引发的异常。 - 0xC0000005: 读取位置 0x7268745F 时发生访问冲突。

- 4关于配置信息，要求分开存放逐个获取，要么是统一固化存放。

- runState 与nextState的区别。

2018/6/19

1. VC++ 引发了未经处理的异常:读取访问权限冲突。 thread 是 0xFFFFFFEC。 引发了异常: 读取访问权限冲突。 thread 是 0xFFFFFFEC。

\ ¦ / - RT - Thread Operating System / ¦ \ 3.1.0 build Jun 14 2018 2006 - 2018 Copyright by rt-thread team Hello RT-Thread! File System on root initialized! File System on sd initialization failed! thread distribution_thread_entry start. thread simulation start. thread router start. thread comself start. thread communication start. init usart4. (rx_fifo != RT_NULL) assertion failed at function:rt_hw_serial_isr, l

3. 下发当前配置项时候，与此同时增加站点.并将本站点作为本地站点，可以节省大量判断。

- void PrintTopologyMessage(const TopologyMessage* topologyMessage) - 值改变？ void PrintTopologyMessage(const TopologyMessage* topologyMessage) { uint32_t id = topologyMessage->id; rt_kprintf("toplogy id: 0x%x, ip: %d:%d:%d:%d\n", id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id, 1), GET_N_BYTE(id, 0)); rt_kprintf("toplogy type: 0x%x\n", topologyMessage->type); rt_kprintf("toplogy switch num: 0x%x\n", topologyMessage->switchNum); for(uint8_t i = 0; i < topologyMessage->switchNum; i++) { id = (topologyMessage->switchCollect[i]).id; rt_kprintf("switch %d id:0x%x ip: %d:%d:%d:%d\n",i, id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id,1), GET_N_BYTE(id, 0)); rt_kprintf("neighrbour num %d \n", (topologyMessage->switchCollect[i]).neighbourNum); for (uint8_t k = 0; k < (topologyMessage->switchCollect[i]).neighbourNum; k++) { id = (topologyMessage->switchCollect[i]).neighbourCollect[k]; rt_kprintf("neighrbour %d id:0x%x, ip: %d:%d:%d:%d\n",k, id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id, 1), GET_N_BYTE(id, 0)); } } uint32_t total; uint32_t used; uint32_t maxused; rt_memory_info(&total, &used, &maxused); rt_kprintf("memory total: %d, used:%d, maxused: %d\n", total, used, maxused); - }

- 5. 试了若干方法不行，然后改mdk开发，mdk 编译器错误比vc设置的严格。

- 6.全部转码为UTF-8 目前为止一切正常。

2018/6/16

1. 应对extern 执行更为严格的参数检查，static是以前为保证。

2.需要在初始化时，增加站点就立即设置本站点信息，方便其它引用。需要提供本拓扑节点所有信息，主要包括邻居信息。

switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:7312, maxused: 7312 FreeTopologyMemory before memory total: 32744, used:7288, maxused: 7312 FreeTopologyMemory after memory total: 32744, used:7188, maxused: 7312 toplogy id: 0xc0a80a01, ip: 192:168:10:1 FaultRemovalStateCenter ERROR : 0toplogy type: 0x1 FaultRemovalStateCenter ERROR : 0toplogy switch num: 0x1 FaultRemovalStateCenter ERROR : 0switch 0 id:0x23232323 ip: 35:35:35:35 FaultRemovalStateCenter ERROR : 0neighrbour num 35 FaultRemovalStateCenter ERROR : 0psr: 0x21000000 pc: 0x08002498 lr: 0x08004bab r12: 0xfffffffd r03: 0x00000001 r02: 0x20000054 r01: 0x00000023 r00: 0x23232323 hard fault on thread: comself 首次即错误

toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0x23232323 ip: 35:35:35:35 neighrbour num 35 psr: 0x21000000 pc: 0x08002498 lr: 0x08004ba7 r12: 0xfffffffd r03: 0x00000001 r02: 0x20000054 r01: 0x00000023 r00: 0x23232323 hard fault on thread: comself

应该说，MDK和VC++ 是同样的问题

2018/6/12

- 上位机问题 - 下发相应设置时出现。 - 经排查发现 - 此处为null.

2.通讯下发死机问题

thread communication start. thread blink start. psr: 0x01000000 pc: 0x2b3cf4dc lr: 0x08002261 r12: 0x00c00000 r03: 0x20002720 r02: 0x2b3cf4dd r01: 0x000000aa r00: 0x20003538 hard fault on thread: communic€ 初始化不正常。

2.MEMSET 问题malloc后需要清零，防止意外

- 按照自定义协议，一旦出错，后面将全部出错，地址容易混用。 - 在使用101和自定义之间暂时使用自定义

2018/6/11

1.psr: 0x41000000 pc: 0x0800315c lr: 0x08003157 r12: 0x20003dd0 r03: 0x00000bc8 r02: 0x00000003 r01: 0x4d9f7a89 r00: 0x20003ee8 hard fault on thread: main /RemovalHandleInit(handle, station->topology.localTopology->switchCollect); 此部分未初始化，不正确

thread communication start. psr: 0x01000000 pc: 0x08003384 lr: 0x08002a6d r12: 0x00000000 r03: 0x00000001 r02: 0x20000058 r01: 0x10000000 r00: 0x09478048 hard fault on thread: switch ListElmt* element = list_head(list); uint8_t size = list_size(list); 【此处应该重新幅值】 //循环更新模拟开关状态 do { for (uint8_t i = 0; i < size; i++) { SimulationSation* station = (SimulationSation*)(element->data); if (station != NULL) { SwitchRunStateSimulation(station); } else { rt_kprintf("imulationSation* station = NULL.\n"); break; } element = element->next; } rt_thread_delay(1); }while(1);

thread communication start. manger->router.FindMemberById ERROR : 11g_VirtualNode is NULL, ERROR : 11thread communication start. init usart4. thread simulation start. thread router start. thread communication start. psr: 0x20000000 pc: 0xbeef0000 lr: 0x08000c35 r12: 0x00000000 r03: 0x00000001 r02: 0xbeef0000 r01: 0x200022f0 r00: 0x34761ec6 hard fault on thread: comself 未有效初始化

2018/6/2

1.指针幅值不正确

if (areaNum++ < POWER_AREA_NUM) { listArea += areaNum; } else { return ERROR_OVER_LIMIT; } } } while((element = element->next) != NULL); DistributionAreaDeal_SpecialDeal(local->switchCollect, listArea, areaNum); 上述两处冲突

2018/6/1

- 内存释放过程中的不一致现象， - 内存大小应该相等，但是经过一番释放后增加了4个字节。

\0 \ ¦ / - RT - Thread Operating System / ¦ \ 3.0.3 build May 31 2018 2006 - 2018 Copyright by rt-thread team thread communication start. init usart4. thread blink start. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:92, maxused: 400 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:208, maxused: 400 toplogy id: 0xc0a80a03, ip: 192:168:10:3 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a03 ip: 192:168:10:3 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 neighrbour 3 id:0xc0a80a05, ip: 192:168:10:5 memory total: 32744, used:328, maxused: 400 toplogy id: 0xc0a80a04, ip: 192:168:10:4 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a04 ip: 192:168:10:4 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 3 id:0xc0a80a0f, ip: 192:168:10:15 memory total: 32744, used:448, maxused: 448【后面重复删除应该一样】 toplogy id: 0xc0a80a04, ip: 192:168:10:4 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a04 ip: 192:168:10:4 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 3 id:0xc0a80a0f, ip: 192:168:10:15 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:448, maxused: 568 toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:452, maxused: 568 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:452, maxused: 568 toplogy id: 0xc0a80a03, ip: 192:168:10:3 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a03 ip: 192:168:10:3 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 neighrbour 3 id:0xc0a80a05, ip: 192:168:10:5 memory total: 32744, used:572, maxused: 572 FreeTopologyMemory before memory total: 32744, used:548, maxused: 572 FreeTopologyMemory after memory total: 32744, used:452, maxused: 572

2018/5/31

1.注意配置项的最大长度

2.添加邻居信息写了两遍。。。。！！！

3.需要注意处理，功能码有了，配套数据为空的情况！

2018/5/30

1.error begin address 0x20002490, and end address 0x20002000

#define SRAM_END (HEAP_BEGIN + SRAM_SIZE * 1024)//(0x20000000 + SRAM_SIZE * 1024)

2 mem: 0x2000248c, used flag: 2048, magic code: 0x2df7 ighrboor 2 id:-1062729212, ip: 192:168:10:4 to free a bad data block: mem: 0x2000248c, used flag: 2048, magic code: 0x2df7 psr: 0x81000200 pc: 0x08001ab6 lr: 0x08001d35 r12: 0x00000032 r03: 0x200024a0 r02: 0x20002498 r01: 0x2800528e r00: 0x2000248c hard fault on thread: communic€

FREE((*topology)->switchCollect->neighbourCollect); (*topology)->switchCollect->neighbourCollect = 0; FREE((*topology)->switchCollect); (*topology)->switchCollect = 0; FREE(*topology); *topology = 0;

3. toplogy id: 4660, ip: 0:0:18:52 ID赋值始终不正确

上电复位

- 下载一次定值

- 应该相等实际没有相等 - re_topology = (TopologyMessage* )MALLOC(sizeof(TopologyMessage)); - *topology = re_topology ; - if( *topology == NULL) //简单的指针检测 - { - return ERROR_MALLOC; - } - MEMSET(*topology, 0, sizeof(TopologyMessage));

- 解决方法 - TopologyMessage* topologyMessage; - TopologyMessage* tempTopology; - 不应该为 - TopologyMessage** topologyMessage; - TopologyMessage** tempTopology; - 二重指针改变指向，在函数内部需要3重指针！

- 这也把赋值不正确的问题予以解决。看似是不相关的两个问题，实际上是一个。

- typedef unsigned int uint32_t; stdint.h - typedef unsigned long rt_uint32_t; /**< 32bit unsigned integer type */ - 以上两种定义不一致。 - 经实测 - sizeof(uint32_t): 4, sizeof(rt_uint32_t):4

- 赋值不正确 - list_ins_next(&NeighborTopologyMessageList, NULL, &topologyMessage); - PrintTopologyMessage((TopologyMessage*)(list_head(&NeighborTopologyMessageList)->data)); - 输出为乱码。 - 后仔细观察 - list_rem_next(&NeighborTopologyMessageList, element, (void**)&tempTopology);//移除 - FreeTopologyMemory(&tempTopology);//释放 - list_ins_next(&NeighborTopologyMessageList, element, topologyMessage); - int list_rem_next(List *list,ListElmt *element,void **data) - int list_ins_next(List *list, ListElmt *element, const void *data) - “一味地”未仔细注意其中的区别，直接强制转换使用。

- 5.内存分配跟踪

- \ ¦ / - - RT - Thread Operating System - / ¦ \ 3.0.3 build May 30 2018 - 2006 - 2018 Copyright by rt-thread team - thread communication start. - init usart4. - thread blink start. - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:92, maxused: 400【首次下发】 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【2次 重复下发】 - FreeTopologyMemory before memory total: 32744, used:184, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:92, maxused: 400【恢复92】 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【3次 重复下发】 - FreeTopologyMemory before memory total: 32744, used:184, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:92, maxused: 400【恢复92】

- toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【第2组 第1次下发】 - toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - FreeTopologyMemory before memory total: 32744, used:300, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:208, maxused: 400【第2组 第2次下发】 - toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - FreeTopologyMemory before memory total: 32744, used:300, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:208, maxused: 400【第2组 第3次下发】

- toplogy id: 0xc0a80a01, ip: 192:168:10:1【第3组重新下载第1组】 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:440, maxused: 440 - FreeTopologyMemory before memory total: 32744, used:416, maxused: 440 - FreeTopologyMemory after memory total: 32744, used:324, maxused: 440 - 【理论上讲，重新下载第1组，内存占用总量应该不变】 - 后整理与查找程序，有12字节摆动，其他一切正常。

2018/5/28

1.串口对应 面对板子正面，5.08端子朝上，从左到右

- U4- PC10/PC11 ---U14(芯片) - U5- PC12/PD2-----U21（芯片） - U6-PC6(T)/PC7(R) ---U27(芯片)（新）

以前

2018/4/15

- 上午把程序移植后始终不正确，直到晚上8点调通。

- 排查配置项，经过对比DMA1，DMA1_Stream寄存器发现不一样的地方修正为一样。 - 后又对比发现波形不正确，后发现IO配置有问题：（1）速度选的太高（2）应该下拉

3）以上解决发现能够正常收一个字节

4）有经过排查，发现源程序还有问题。

5）后示波器捕捉发现读取始终没有后面数据

6）经过一段时间思索。突然发现读写应该如何区分？

- 后比对程序，发现读写不正确。 - #else - uint8 spi_data[3]; - spi_data[0] = (addrbsb & 0x00FF0000) >> 16; - spi_data[1] = (addrbsb & 0x0000FF00) >> 8; - spi_data[2] = (addrbsb & 0x000000F8) + 4; - spi_dma_write(spi_data, buf, len); - #endif - IINCHIP_ISR_ENABLE(); // Interrupt Service Routine Enable

- uint8 spi_data[3]; - spi_data[0] = (addrbsb & 0x00FF0000) >> 16; - spi_data[1] = (addrbsb & 0x0000FF00) >> 8; - spi_data[2] = (addrbsb & 0x000000F8); - spi_dma_read(spi_data, &data, 1);

- 8）系两种程序，机械复制导致错误！

2018/4/14

- 抓包工具——高性能hub，交换机 - 2.底层组网公祖

3.目前工业用型号

4.

2018/4/13

1.轮询可以，设置中断不正常。

2.优化对比

OP2

- OP0

两块板子均是这样

可以进图中断的板子

修改后

3.测试记录

交换机：UDP 100ms 一次 测试方式：内部定时器us， 使用示波器校准

100; 658. 200; 1048. 300; 1430. 400; 1820. 500; 2200. 600; 2587. 700; 2974. 800; 3364. 更改测试位置. 800; 1847. 1; 179.

100字节 首次为 702us

200字节

300字节 ，首次为1480us

400字节 首次1871

500bytes

rt_thread_delay(100); len = send_len; StartTimer(); INDICATE_LED_OFF(); sendto(0, dest_buff, len, dest_ip, remote_port); result = rt_sem_take(&w5500_int_sem, RT_WAITING_FOREVER); if(getSn_IR(0) & Sn_IR_RECV) { setSn_IR(0, Sn_IR_RECV); // Sn_IRµÄRECVÎ»ÖÃ1 } // Êý¾Ý»Ø»·²âÊÔ³ÌÐò£ºÊý¾Ý´ÓÔ¶³ÌÉÏÎ»»ú·¢¸øW5500£¬W5500½ÓÊÕµ½Êý¾ÝºóÔÙ»Ø¸øÔ¶³ÌÉÏÎ»»ú if((len=getSn_RX_RSR(0))>0) { memset(recv_buff, 0, len+1); recvfrom(0,recv_buff, len, remote_ip,&remote_port); // W5500½ÓÊÕÀ´×ÔÔ¶³ÌÉÏÎ»»úµÄÊý¾Ý£¬²¢Í¨¹ýSPI·¢ËÍ¸øMCU StopTimer(); INDICATE_LED_ON(); result = data_check(len); if (!result) { rt_kprintf("T1, %d\r\n", TimeCn); } else { rt_kprintf("ERROR, %d\r\n", result); } }

2018/4/12

1.花费大量时间

花费大量时间1个多小时，问题在于更新库版本不彻底！

- ..\HALLIB\STM32F4xx_HAL_Driver\Inc\stm32f4xx_ll_exti.h(287): error: #134: expected a field name - 由于重名所致，更改引用顺序即可

3.采用LL驱动正常

2018/4/11

1.开始形成本文档

1.调试口对应 面对端子从左到右. - 调试口 U5- PC12/PD2 - U4- PC10 tx/PC11 rx - U3- PB10 tx/PB11 rx - U1-PA9 tx/PA10 rx 5) HMI U6-PC7 rx/PC6 tx. - 3. #if defined的使用 - #if后面接的是一个宏。 - #if defined (x) - ...code... - #endif - 这个#if defined它不管里面的“x”的逻辑是“真”还是“假”它只管这个程序的前面的宏定义里面有没有定义“x”这个宏，如果定义了x这个宏，那么，编译器会编译中间的…code…否则不直接忽视中间的…code…代码。 - 另外 #if defined(x)也可以取反，也就用 #if !defined(x).

RTT 启动过程分析

1.startup_stm32f429xx.s

IMPORT SystemInit IMPORT __main LDR R0, =SystemInit BLX R0 LDR R0, =__main BX R0 ENDP

- int $Sub$$main(void)

- 为了在进入主应用程序之前，完成系统初始化，可以使用$sub和$super函数标识符在进入主程序之前插入一个例程。这一机制可以在不改变源代码的情况下扩展函数的功能。

- int $Sub$$main(void) - { - rt_hw_interrupt_disable(); - rtthread_startup(); - return 0; - }

- 3. rtthread_startup();s

- int rtthread_startup(void) - { - rt_hw_interrupt_disable(); - /* board level initalization - * NOTE: please initialize heap inside board initialization. - */ - rt_hw_board_init(); - /* show RT-Thread version */ - rt_show_version(); - /* timer system initialization */ - rt_system_timer_init(); - /* scheduler system initialization */ - rt_system_scheduler_init(); - /* create init_thread */ - rt_application_init(); - /* timer thread initialization */ - rt_system_timer_thread_init(); - /* idle thread initialization */ - rt_thread_idle_init(); - /* start scheduler */ - rt_system_scheduler_start(); - /* never reach here */ - return 0; - }

- void rt_hw_board_init() - { - HAL_Init(); //³õÊ¼»¯HAL¿â - Stm32_Clock_Init(360,25,2,8); //ÉèÖÃÊ±ÖÓ,180Mhz - // rtthread tick configuration - // 2. Configure rtos tick and interrupt - SysTick_Config(SystemCoreClock / RT_TICK_PER_SECOND); - //´®¿Ú³õÊ¼»¯ - uart_init(115200); - delay_init(180); - //³õÊ¼»¯LED - LED_Init(); - OSRunning=1; - /* Call components board initial (use INIT_BOARD_EXPORT()) */ - #ifdef RT_USING_COMPONENTS_INIT - rt_components_board_init(); - #endif - #if defined(RT_USING_CONSOLE) && defined(RT_USING_DEVICE) - rt_console_set_device(RT_CONSOLE_DEVICE_NAME); - #endif - #if defined(RT_USING_USER_MAIN) && defined(RT_USING_HEAP) - rt_system_heap_init((void*)HEAP_BEGIN, (void*)SRAM_END); - #endif - }

- void rt_show_version(void) - { - rt_kprintf("\n \\ ¦ /\n"); - rt_kprintf("- RT - Thread Operating System\n"); - rt_kprintf(" / ¦ \\ %d.%d.%d build %s\n", - RT_VERSION, RT_SUBVERSION, RT_REVISION, __DATE__); - rt_kprintf(" 2006 - 2017 Copyright by rt-thread team\n"); - }

- void rt_application_init(void) - { - rt_thread_t tid; - #ifdef RT_USING_HEAP - tid = rt_thread_create("main", main_thread_entry, RT_NULL, - RT_MAIN_THREAD_STACK_SIZE, RT_THREAD_PRIORITY_MAX / 3, 20); - RT_ASSERT(tid != RT_NULL); - #else - rt_err_t result; - tid = &main_thread; - result = rt_thread_init(tid, "main", main_thread_entry, RT_NULL, - main_stack, sizeof(main_stack), RT_THREAD_PRIORITY_MAX / 3, 20); - RT_ASSERT(result == RT_EOK); - #endif - rt_thread_startup(tid); - }

- void rt_system_timer_thread_init(void) - { - #ifdef RT_USING_TIMER_SOFT - int i; - for (i = 0; - i < sizeof(rt_soft_timer_list)/sizeof(rt_soft_timer_list[0]); - i++) - { - rt_list_init(rt_soft_timer_list+i); - } - /* start software timer thread */ - rt_thread_init(&timer_thread, - "timer", - rt_thread_timer_entry, - RT_NULL, - &timer_thread_stack[0], - sizeof(timer_thread_stack), - RT_TIMER_THREAD_PRIO, - 10); - /* startup */ - rt_thread_startup(&timer_thread); - #endif - }

- void rt_thread_idle_init(void) - { - /* initialize thread */ - rt_thread_init(&idle, - "tidle", - rt_thread_idle_entry, - RT_NULL, - &rt_thread_stack[0], - sizeof(rt_thread_stack), - RT_THREAD_PRIORITY_MAX - 1, - 32); - /* startup */ - rt_thread_startup(&idle); - } - static void rt_thread_idle_entry(void *parameter) - { - while (1) - { - #ifdef RT_USING_IDLE_HOOK - if (rt_thread_idle_hook != RT_NULL) - { - rt_thread_idle_hook(); - } - #endif - rt_thread_idle_excute(); - } - }

- main.c

- int main(void) - { - // ´´½¨¾²Ì¬Ïß³Ì - rt_thread_init(&led0_thread, //Ïß³Ì¿ØÖÆ¿é - "led0", //Ïß³ÌÃû×Ö£¬ÔÚshellÀïÃæ¿ÉÒÔ¿´µ½ - led0_thread_entry, //Ïß³ÌÈë¿Úº¯Êý - RT_NULL, //Ïß³ÌÈë¿Úº¯Êý²ÎÊý - &rt_led0_thread_stack[0], //Ïß³ÌÕ»ÆðÊ¼µØÖ· - sizeof(rt_led0_thread_stack), //Ïß³ÌÕ»´óÐ¡ - 3, //Ïß³ÌµÄÓÅÏÈ¼¶ - 20); //Ïß³ÌÊ±¼äÆ¬ - rt_thread_startup(&led0_thread); //Æô¶¯Ïß³Ìled0_thread£¬¿ªÆôµ÷¶È - // ´´½¨¾²Ì¬Ïß³Ì - rt_thread_init(&led1_thread, //Ïß³Ì¿ØÖÆ¿é - "led1", //Ïß³ÌÃû×Ö£¬ÔÚshellÀïÃæ¿ÉÒÔ¿´µ½ - led1_thread_entry, //Ïß³ÌÈë¿Úº¯Êý - RT_NULL, //Ïß³ÌÈë¿Úº¯Êý²ÎÊý - &rt_led1_thread_stack[0], //Ïß³ÌÕ»ÆðÊ¼µØÖ· - sizeof(rt_led1_thread_stack), //Ïß³ÌÕ»´óÐ¡ - 3, //Ïß³ÌµÄÓÅÏÈ¼¶ - 20); - rt_thread_startup(&led1_thread); //Æô¶¯Ïß³Ìled1_thread£¬¿ªÆôµ÷¶È - }

RT_DEBUG 分析

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\src\kservice.c(1285) : #ifdef RT_DEBUG #ifdef RT_DEBUG /* RT_ASSERT(EX)'s hook */ void (*rt_assert_hook)(const char* ex, const char* func, rt_size_t line); /** * This function will set a hook function to RT_ASSERT(EX). It will run when the expression is false. * * @param hook the hook function */ void rt_assert_set_hook(void (*hook)(const char* ex, const char* func, rt_size_t line)) { rt_assert_hook = hook; } /** * The RT_ASSERT function. * * @param ex the assertion condition string * @param func the function name when assertion. * @param line the file line number when assertion. */ void rt_assert_handler(const char* ex_string, const char* func, rt_size_t line) { volatile char dummy = 0; if (rt_assert_hook == RT_NULL) { #ifdef RT_USING_MODULE if (rt_module_self() != RT_NULL) { /* unload assertion module */ rt_module_unload(rt_module_self()); /* re-schedule */ rt_schedule(); } else #endif { rt_kprintf("(%s) assertion failed at function:%s, line number:%d \n", ex_string, func, line); while (dummy == 0); } } else { rt_assert_hook(ex_string, func, line); } } RTM_EXPORT(rt_assert_handler); #endif /* RT_DEBUG */

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\include\rtthread.h(533) : #ifdef RT_DEBUG #ifdef RT_DEBUG extern void (*rt_assert_hook)(const char* ex, const char* func, rt_size_t line); void rt_assert_set_hook(void (*hook)(const char* ex, const char* func, rt_size_t line)); void rt_assert_handler(const char* ex, const char* func, rt_size_t line); #endif /* RT_DEBUG */

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\include\rtdebug.h(27) : #ifdef RT_DEBUG #ifndef __RTDEBUG_H__ #define __RTDEBUG_H__ #include <rtconfig.h> /* Using this macro to control all kernel debug features. */ #ifdef RT_DEBUG /* Turn on some of these (set to non-zero) to debug kernel */ #ifndef RT_DEBUG_MEM #define RT_DEBUG_MEM 0 #endif #ifndef RT_DEBUG_MEMHEAP #define RT_DEBUG_MEMHEAP 0 #endif #ifndef RT_DEBUG_MODULE #define RT_DEBUG_MODULE 0 #endif #ifndef RT_DEBUG_SCHEDULER #define RT_DEBUG_SCHEDULER 0 #endif #ifndef RT_DEBUG_SLAB #define RT_DEBUG_SLAB 0 #endif #ifndef RT_DEBUG_THREAD #define RT_DEBUG_THREAD 0 #endif #ifndef RT_DEBUG_TIMER #define RT_DEBUG_TIMER 0 #endif #ifndef RT_DEBUG_IRQ #define RT_DEBUG_IRQ 0 #endif #ifndef RT_DEBUG_IPC #define RT_DEBUG_IPC 0 #endif #ifndef RT_DEBUG_INIT #define RT_DEBUG_INIT 0 #endif /* Turn on this to enable context check */ #ifndef RT_DEBUG_CONTEXT_CHECK #define RT_DEBUG_CONTEXT_CHECK 1 #endif #define RT_DEBUG_LOG(type, message) \ do \ { \ if (type) \ rt_kprintf message; \ } \ while (0) #define RT_ASSERT(EX) \ if (!(EX)) \ { \ rt_assert_handler(#EX, __FUNCTION__, __LINE__); \ } /* Macro to check current context */ #if RT_DEBUG_CONTEXT_CHECK #define RT_DEBUG_NOT_IN_INTERRUPT \ do \ { \ rt_base_t level; \ level = rt_hw_interrupt_disable(); \ if (rt_interrupt_get_nest() != 0) \ { \ rt_kprintf("Function[%s] shall not used in ISR\n", __FUNCTION__); \ RT_ASSERT(0) \ } \ rt_hw_interrupt_enable(level); \ } \ while (0) /* "In thread context" means: * 1) the scheduler has been started * 2) not in interrupt context. */ #define RT_DEBUG_IN_THREAD_CONTEXT \ do \ { \ rt_base_t level; \ level = rt_hw_interrupt_disable(); \ if (rt_thread_self() == RT_NULL) \ { \ rt_kprintf("Function[%s] shall not be used before scheduler start\n", \ __FUNCTION__); \ RT_ASSERT(0) \ } \ RT_DEBUG_NOT_IN_INTERRUPT; \ rt_hw_interrupt_enable(level); \ } \ while (0) #else #define RT_DEBUG_NOT_IN_INTERRUPT #define RT_DEBUG_IN_THREAD_CONTEXT #endif #else /* RT_DEBUG */ #define RT_ASSERT(EX) #define RT_DEBUG_LOG(type, message) #define RT_DEBUG_NOT_IN_INTERRUPT #define RT_DEBUG_IN_THREAD_CONTEXT #endif /* RT_DEBUG */ #endif /* __RTDEBUG_H__ */

以 RT_DEBUG_MEM 为例

void rt_system_heap_init(void *begin_addr, void *end_addr) { struct heap_mem *mem; rt_uint32_t begin_align = RT_ALIGN((rt_uint32_t)begin_addr, RT_ALIGN_SIZE); rt_uint32_t end_align = RT_ALIGN_DOWN((rt_uint32_t)end_addr, RT_ALIGN_SIZE); RT_DEBUG_NOT_IN_INTERRUPT; /* alignment addr */ if ((end_align > (2 * SIZEOF_STRUCT_MEM)) && ((end_align - 2 * SIZEOF_STRUCT_MEM) >= begin_align)) { /* calculate the aligned memory size */ mem_size_aligned = end_align - begin_align - 2 * SIZEOF_STRUCT_MEM; } else { rt_kprintf("mem init, error begin address 0x%x, and end address 0x%x\n", (rt_uint32_t)begin_addr, (rt_uint32_t)end_addr); return; } /* point to begin address of heap */ heap_ptr = (rt_uint8_t *)begin_align; RT_DEBUG_LOG(RT_DEBUG_MEM, ("mem init, heap begin address 0x%x, size %d\n", (rt_uint32_t)heap_ptr, mem_size_aligned)); /* initialize the start of the heap */ mem = (struct heap_mem *)heap_ptr; mem->magic = HEAP_MAGIC; mem->next = mem_size_aligned + SIZEOF_STRUCT_MEM; mem->prev = 0; mem->used = 0; /* initialize the end of the heap */ heap_end = (struct heap_mem *)&heap_ptr[mem->next]; heap_end->magic = HEAP_MAGIC; heap_end->used = 1; heap_end->next = mem_size_aligned + SIZEOF_STRUCT_MEM; heap_end->prev = mem_size_aligned + SIZEOF_STRUCT_MEM; rt_sem_init(&heap_sem, "heap", 1, RT_IPC_FLAG_FIFO); /* initialize the lowest-free pointer to the start of the heap */ lfree = (struct heap_mem *)heap_ptr; }

void *rt_malloc(rt_size_t size) { rt_size_t ptr, ptr2; struct heap_mem *mem, *mem2; RT_DEBUG_NOT_IN_INTERRUPT; if (size == 0) return RT_NULL; if (size != RT_ALIGN(size, RT_ALIGN_SIZE)) RT_DEBUG_LOG(RT_DEBUG_MEM, ("malloc size %d, but align to %d\n", size, RT_ALIGN(size, RT_ALIGN_SIZE))); else RT_DEBUG_LOG(RT_DEBUG_MEM, ("malloc size %d\n", size)); /* alignment size */ size = RT_ALIGN(size, RT_ALIGN_SIZE); if (size > mem_size_aligned) { RT_DEBUG_LOG(RT_DEBUG_MEM, ("no memory\n")); return RT_NULL; } /* every data block must be at least MIN_SIZE_ALIGNED long */ if (size < MIN_SIZE_ALIGNED) size = MIN_SIZE_ALIGNED; /* take memory semaphore */ rt_sem_take(&heap_sem, RT_WAITING_FOREVER); for (ptr = (rt_uint8_t *)lfree - heap_ptr; ptr < mem_size_aligned - size; ptr = ((struct heap_mem *)&heap_ptr[ptr])->next) { mem = (struct heap_mem *)&heap_ptr[ptr]; if ((!mem->used) && (mem->next - (ptr + SIZEOF_STRUCT_MEM)) >= size) { /* mem is not used and at least perfect fit is possible: * mem->next - (ptr + SIZEOF_STRUCT_MEM) gives us the 'user data size' of mem */ if (mem->next - (ptr + SIZEOF_STRUCT_MEM) >= (size + SIZEOF_STRUCT_MEM + MIN_SIZE_ALIGNED)) { /* (in addition to the above, we test if another struct heap_mem (SIZEOF_STRUCT_MEM) containing * at least MIN_SIZE_ALIGNED of data also fits in the 'user data space' of 'mem') * -> split large block, create empty remainder, * remainder must be large enough to contain MIN_SIZE_ALIGNED data: if * mem->next - (ptr + (2*SIZEOF_STRUCT_MEM)) == size, * struct heap_mem would fit in but no data between mem2 and mem2->next * @todo we could leave out MIN_SIZE_ALIGNED. We would create an empty * region that couldn't hold data, but when mem->next gets freed, * the 2 regions would be combined, resulting in more free memory */ ptr2 = ptr + SIZEOF_STRUCT_MEM + size; /* create mem2 struct */ mem2 = (struct heap_mem *)&heap_ptr[ptr2]; mem2->magic = HEAP_MAGIC; mem2->used = 0; mem2->next = mem->next; mem2->prev = ptr; /* and insert it between mem and mem->next */ mem->next = ptr2; mem->used = 1; if (mem2->next != mem_size_aligned + SIZEOF_STRUCT_MEM) { ((struct heap_mem *)&heap_ptr[mem2->next])->prev = ptr2; } #ifdef RT_MEM_STATS used_mem += (size + SIZEOF_STRUCT_MEM); if (max_mem < used_mem) max_mem = used_mem; #endif } else { /* (a mem2 struct does no fit into the user data space of mem and mem->next will always * be used at this point: if not we have 2 unused structs in a row, plug_holes should have * take care of this). * -> near fit or excact fit: do not split, no mem2 creation * also can't move mem->next directly behind mem, since mem->next * will always be used at this point! */ mem->used = 1; #ifdef RT_MEM_STATS used_mem += mem->next - ((rt_uint8_t*)mem - heap_ptr); if (max_mem < used_mem) max_mem = used_mem; #endif } /* set memory block magic */ mem->magic = HEAP_MAGIC; if (mem == lfree) { /* Find next free block after mem and update lowest free pointer */ while (lfree->used && lfree != heap_end) lfree = (struct heap_mem *)&heap_ptr[lfree->next]; RT_ASSERT(((lfree == heap_end) ¦¦ (!lfree->used))); } rt_sem_release(&heap_sem); RT_ASSERT((rt_uint32_t)mem + SIZEOF_STRUCT_MEM + size <= (rt_uint32_t)heap_end); RT_ASSERT((rt_uint32_t)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM) % RT_ALIGN_SIZE == 0); RT_ASSERT((((rt_uint32_t)mem) & (RT_ALIGN_SIZE-1)) == 0); RT_DEBUG_LOG(RT_DEBUG_MEM, ("allocate memory at 0x%x, size: %d\n", (rt_uint32_t)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM), (rt_uint32_t)(mem->next - ((rt_uint8_t *)mem - heap_ptr)))); RT_OBJECT_HOOK_CALL(rt_malloc_hook, (((void *)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM)), size)); /* return the memory data except mem struct */ return (rt_uint8_t *)mem + SIZEOF_STRUCT_MEM; } } rt_sem_release(&heap_sem); return RT_NULL; }

void rt_interrupt_enter(void) { rt_base_t level; RT_DEBUG_LOG(RT_DEBUG_IRQ, ("irq coming..., irq nest:%d\n", rt_interrupt_nest)); level = rt_hw_interrupt_disable(); rt_interrupt_nest ++; RT_OBJECT_HOOK_CALL(rt_interrupt_enter_hook,()); rt_hw_interrupt_enable(level); } RTM_EXPORT(rt_interrupt_enter);

RT_USING_OVERFLOW_CHECK

#ifdef RT_USING_OVERFLOW_CHECK static void _rt_scheduler_stack_check(struct rt_thread *thread) { RT_ASSERT(thread != RT_NULL); if (*((rt_uint8_t *)thread->stack_addr) != '#' ¦¦ (rt_uint32_t)thread->sp <= (rt_uint32_t)thread->stack_addr ¦¦ (rt_uint32_t)thread->sp > (rt_uint32_t)thread->stack_addr + (rt_uint32_t)thread->stack_size) { rt_uint32_t level; rt_kprintf("thread:%s stack overflow\n", thread->name); #ifdef RT_USING_FINSH { extern long list_thread(void); list_thread(); } #endif level = rt_hw_interrupt_disable(); while (level); } else if ((rt_uint32_t)thread->sp <= ((rt_uint32_t)thread->stack_addr + 32)) { rt_kprintf("warning: %s stack is close to end of stack address.\n", thread->name); } } #endif

void rt_schedule(void) { /* switch to new thread */ RT_DEBUG_LOG(RT_DEBUG_SCHEDULER, ("[%d]switch to priority#%d " "thread:%.*s(sp:0x%p), " "from thread:%.*s(sp: 0x%p)\n", rt_interrupt_nest, highest_ready_priority, RT_NAME_MAX, to_thread->name, to_thread->sp, RT_NAME_MAX, from_thread->name, from_thread->sp)); #ifdef RT_USING_OVERFLOW_CHECK _rt_scheduler_stack_check(to_thread); #endif } /* enable interrupt */ rt_hw_interrupt_enable(level); }