2018/9/6

1.目前交互信息

2.更新路径信息需要与分布式保护相互配合，时序上可能出现先更新联络信息后进行保护保护判断的情况，造成遗漏。！一旦检测到故障信息或者接收到故障信息此时，应该挂起判断线程，直到退出是重新启动！

2019/9/3

1.一直识别不了发现头文件有重名！！！！！与dfs里面的重名

..\LibIEC\libIEC61850\src\mms\iso_mms\asn1c

2. RT_USING_MEMHEAP_AS_HEAP

2018/9/2

1.4,5优先级

1）53/21 - (27+47) / (1+34)

2.调整优先级

- /16ms - （1+56）/(1+24） - /(14+26) - /(8+18) - /(8+30) - /(1+16) - /(7+31) - /(8+26) - (0+31)/ - /(8+21)

- 3.取消2248节拍

- （1+34）/（1+2） - /(0+9) - /(8+6) - /(8+4) - /(8+18) - /(1+15) - /(1+20） - /(1+21) - /(8+13) - /(0+21)

- 4.单测试1，过流

- 1）0+15 - 2）0+9 - 3）1+9 - 4)0+15 - 5)1+15

- 5. 50ms时限，恢复其它

- /(0+41) - /(1+40) - /(8+12) - /(7+22) - /(1+40) - /(7+24) - /(0+30) - /(8+21) - /(0+30) - /(0+30)

- 5.单纯50ms，取消收集完整判断

- 1）50 - 2）58 - 3）44 - 4）7+50 - 5）7+50 - 6）1+50 - 7）1+50 - 8）1+50 - 9）8+50 - 10）7+50

2018/9/1

1.为什么节点3一直有获取问题！！Arp请求

2018/8/31

1.打印输出

需要使用参考开关。switchRef

2.对于故障信号，直到复归，否则不能清除。

2018/8/30

1.整治打印以利于输出

2.错误输出. rt_mb_send(MacRawReciveMb, (rt_uint32_t)(pPacket)), error: -3.

- 解决复归问题。复归需要同时复归。 - 复归方式：收到复归命令以后，屏蔽接收3s以后，再重新打开接收。

2018/8/29

1.注意不是一个网段，通过交换机不能直连，需要修改掩码。

2.屏蔽空闲文件操作，避免被打断，造成错误。

2018/8/28

1.

>tftp_get("192.168.10.111","//sojo", "stu-goose.txt" )

2. 8口交换机，有时候不能传播goose数据。

3.弄了1个小时，没调通VLAN

4. #if 0 /* Priority tag - IEEE 802.1Q */ self->buffer[bufPos++] = 0x81; self->buffer[bufPos++] = 0x00;

2018/8/27

1.sram占用

point_table_config; 4900; 19K; .data. point_table_config; 1a78; 6.7K; .bss. multi_thread; 31; .data. multi_thread; 32e8; 13K; .bss. common_data; 6634; 26k; .bss. calculator; 1fb0; 8K; .bss. drv_eth; 3194; 12.6K; .bss. memp; 6c7f; 27.7K; .bss.

FixedValueCfg1 0x20002fec Data 6776 point_table_config.o(.data)

2.为了减少内存占用做如下修改 1）#define RT_LWIP_PBUF_NUM 8

tftp_get("192.168.10.111", "//sojo", "stu.cfg")

- 内存分错误 - ic->indexTrans = (uint16_t*)GLOBAL_CALLOC(sizeof(uint8_t), daCount);//转换索引数组 - 不匹配导致一系列错误！Hard_fault

2018/8/25

1.添加前

Total RO Size (Code + RO Data) 528052 ( 515.68kB) Total RW Size (RW Data + ZI Data) 196328 ( 191.73kB) Total ROM Size (Code + RO Data + RW Data) 543524 ( 530.79kB)

#ifdef IED_DATA_ENABLE_OTHER

Ref文件，显然过大放弃！ 一个逻辑节点如GGIO17 涉及467个逻辑变量（16个数字输入，8个alm，就24个数字输入）

2.先更新站点信息，再更新goose

2018/8/24

1.修改原生的goose发布机制。

Goose变化机制分析

IedServer_updateBooleanAttributeValue（Update） --> checkForChangedTriggers(self, dataAttribute); -->

static inline void checkForChangedTriggers(IedServer self, DataAttribute* dataAttribute) { #if (CONFIG_IEC61850_REPORT_SERVICE == 1) ¦¦ (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) if (dataAttribute->triggerOptions & TRG_OPT_DATA_CHANGED) { #if (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) MmsMapping_triggerGooseObservers(self->mmsMapping, dataAttribute->mmsValue); #endif #if (CONFIG_IEC61850_REPORT_SERVICE == 1) MmsMapping_triggerReportObservers(self->mmsMapping, dataAttribute->mmsValue, REPORT_CONTROL_VALUE_CHANGED); #endif #if (CONFIG_IEC61850_LOG_SERVICE == 1) MmsMapping_triggerLogging(self->mmsMapping, dataAttribute->mmsValue, LOG_CONTROL_VALUE_CHANGED); #endif } else if (dataAttribute->triggerOptions & TRG_OPT_QUALITY_CHANGED) { #if (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) MmsMapping_triggerGooseObservers(self->mmsMapping, dataAttribute->mmsValue); #endif #if (CONFIG_IEC61850_REPORT_SERVICE == 1) MmsMapping_triggerReportObservers(self->mmsMapping, dataAttribute->mmsValue, REPORT_CONTROL_QUALITY_CHANGED); #endif #if (CONFIG_IEC61850_LOG_SERVICE == 1) MmsMapping_triggerLogging(self->mmsMapping, dataAttribute->mmsValue, LOG_CONTROL_QUALITY_CHANGED); #endif } #endif /* (CONFIG_IEC61850_REPORT_SERVICE== 1) ¦¦ (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) */ }

在上方

void MmsMapping_triggerGooseObservers(MmsMapping* self, MmsValue* value) { LinkedList element = self->gseControls; while ((element = LinkedList_getNext(element)) != NULL) { MmsGooseControlBlock gcb = (MmsGooseControlBlock) element->data; if (MmsGooseControlBlock_isEnabled(gcb)) { DataSet* dataSet = MmsGooseControlBlock_getDataSet(gcb); if (DataSet_isMemberValue(dataSet, value, NULL)) { MmsGooseControlBlock_observedObjectChanged(gcb); } } } } //从控制块链表中查找使能的goose控制块，并判断指定参数是否为数据集成员，若是则进入。MmsGooseControlBlock_observedObjectChanged

void MmsGooseControlBlock_observedObjectChanged(MmsGooseControlBlock self) { #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_wait(self->publisherMutex); #endif uint64_t currentTime = GoosePublisher_increaseStNum(self->publisher); self->retransmissionsLeft = CONFIG_GOOSE_EVENT_RETRANSMISSION_COUNT; if (self->retransmissionsLeft > 0) { self->nextPublishTime = currentTime + self->minTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->minTime * 3); } else { self->nextPublishTime = currentTime + self->maxTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); } GoosePublisher_publish(self->publisher, self->dataSetValues); #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_post(self->publisherMutex); #endif } 以上对于数据集有变化的情况，进行了一下几点处理： - 增加stNum - 设置GoosePublisher_setTimeAllowedToLive， 时间 - 判断重发次数，以及下一次重发间隔。 - 由数据集发送出去。

关于goose周期性发送时间，以及IedServer分析

#if (CONFIG_MMS_SINGLE_THREADED == 1) static void singleThreadedServerThread(void* parameter) { IedServer self = (IedServer) parameter; MmsMapping* mmsMapping = self->mmsMapping; bool running = true; mmsMapping->reportThreadFinished = false; mmsMapping->reportThreadRunning = true; if (DEBUG_IED_SERVER) printf("IED_SERVER: server thread started!\n"); while (running) { if (IedServer_waitReady(self, 25) > 0) MmsServer_handleIncomingMessages(self->mmsServer); IedServer_performPeriodicTasks(self); Thread_sleep(1); running = mmsMapping->reportThreadRunning; } if (DEBUG_IED_SERVER) printf("IED_SERVER: server thread finished!\n"); mmsMapping->reportThreadFinished = true; } 次任务是一个循环时间为1ms的调度任务。主任务为IedServer_performPeriodicTasks(self);

--> processPeriodicTasks()

static void processPeriodicTasks(MmsMapping* self) { uint64_t currentTimeInMs = Hal_getTimeInMs(); #if (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) GOOSE_processGooseEvents(self, currentTimeInMs); #endif #if (CONFIG_IEC61850_CONTROL_SERVICE == 1) Control_processControlActions(self, currentTimeInMs); #endif #if (CONFIG_IEC61850_REPORT_SERVICE == 1) Reporting_processReportEvents(self, currentTimeInMs); #endif #if (CONFIG_IEC61850_SETTING_GROUPS == 1) MmsMapping_checkForSettingGroupReservationTimeouts(self, currentTimeInMs); #endif #if (CONFIG_IEC61850_LOG_SERVICE == 1) Logging_processIntegrityLogs(self, currentTimeInMs); #endif /* handle low priority MMS backgound tasks (like file upload...) */ MmsServer_handleBackgroundTasks(self->mmsServer); }

static void GOOSE_processGooseEvents(MmsMapping* self, uint64_t currentTimeInMs) { LinkedList element = LinkedList_getNext(self->gseControls); while (element != NULL) { MmsGooseControlBlock mmsGCB = (MmsGooseControlBlock) element->data; if (MmsGooseControlBlock_isEnabled(mmsGCB)) { MmsGooseControlBlock_checkAndPublish(mmsGCB, currentTimeInMs); } element = LinkedList_getNext(element); } }

void MmsGooseControlBlock_checkAndPublish(MmsGooseControlBlock self, uint64_t currentTime) { if (currentTime >= self->nextPublishTime) { #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_wait(self->publisherMutex); #endif GoosePublisher_publish(self->publisher, self->dataSetValues); if (self->retransmissionsLeft > 0) { self->nextPublishTime = currentTime + self->minTime; if (self->retransmissionsLeft > 1) GoosePublisher_setTimeAllowedToLive(self->publisher, self->minTime * 3); else GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); self->retransmissionsLeft--; } else { GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); self->nextPublishTime = currentTime + self->maxTime; } #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_post(self->publisherMutex); #endif } else if ((self->nextPublishTime - currentTime) > ((uint32_t) self->maxTime * 2)) { self->nextPublishTime = currentTime + self->minTime; } } 以上任务完成如下功能 - 判断下次发送时间是否到达，若到达进行发布 - 设置下次的存货时间 - 设置下次的发布时间

- 由以上分析可知，程序中原始的变化发布程序，将多种服务集中在一起，采用主动触发，任务轮询的方式发送。

- 为了提高goose的实时性，平衡任务开销，需要将goose作为单独的高优先级处理，其它服务降低优先级、轮询间隔。

- 具体执行步骤： - 1）屏蔽触发更新服务的goose服务即MmsMapping_triggerGooseObservers - 2）取消循环任务内的周期即GOOSE_processGooseEvents - 3）修改MmsGooseControlBlock_observedObjectChanged，使其与之前设计好的周期性发送功能融合。 - 4）初始化beat

2018/8/23

1.通信与逻辑各司其职，通信只用来更新数据。其它交给逻辑。

2018/8/22

1.IAR要比MDK省内存

13:00-13:47--重新回到MDK上，在编译器上不做太多折腾了。

2018/8/21

1.如何让MmsValue 转变为普通值。

通过控制块进行转换

2018/8/16

1.将任务优先级抬升到tcp 4-5，不丢包了。测试20分钟。

2. Goose发布机制不能使用自带的机制，其是查询，对于保证固定节拍不利。

3.至少保证保护和计算任务。

4.单独调试

5.发送间隔

for (i = 0; i < 4; i++) { //Thread_sleep(); if (GoosePublisher_publish(publisher, dataSetValues) == -1) { printf("Error sending message!\n"); } } 100次没有丢 4变成8，就发生last3,current7丢包。否则没有提示。

ppID: 0x1001, valid, st:82 , sq: 0! duty time: 3923 AppID: 0x1001, valid, st:83 , sq: 0! duty time: 3918 AppID: 0x1001, valid, st:84 , sq: 0! duty time: 3898 AppID: 0x1001, valid, st:85 , sq: 0! duty time: 3920 AppID: 0x1001, valid, st:86 , sq: 0! duty time: 3915 AppID: 0x1001, valid, st:87 , sq: 0! duty time: 3919 接收时间，改变任务优先级也没效果。 打印影响。 以上为当前任务优先级

实际接收处理时间 duty time: 783 duty time: 810 duty time: 811 接收优先级调到2， 时间不确定性加大！ 有可能lwip发送任务也影响时间

不加显示，没法看结果，加显示，时间又不准。

对于单独一帧稳定在780us，就比较短小了。

1000次接收，处理正常

时间变短，应该是有所覆盖 for (int k = 0 ; k < 200; k++) { for (i = 0; i < 8; i++) { //Thread_sleep(); if (GoosePublisher_publish(publisher, dataSetValues) == -1) { printf("Error sending message!\n"); } } GoosePublisher_increaseStNum(publisher); Thread_sleep(50); } 接收过程是没有打印，尽在最后打印输出。

红线具有很强规律性，说明最大接收能力是突发的4帧。 重新测试结果一致。

发送加1ms延时（上位机） 最大接收是6帧，8帧丢一帧

减少包长度 1267 变成458 最大接收是5帧。

5.为甚么从1400us 降到800us！！

- 调整优先级，以太网接收中断 - 这次倒是没丢，但是只到105。 105*8 = 840，这样后面的去哪了？？？？？？？？

- 把发送间隔提高到100ms，则不再出现丢失现象

- 以上左侧是8帧连续发生 - 以上右侧是1帧数据 - 785*8 = 6280us。

- 从测试结果看也可以不丢包，也可以不丢包。

- 7.结果

- 结果是-3 - #define RT_EFULL 3 /**< The resource is full */ - 说明缓冲已满。100个用完了。。。

- 即使改成连续16个发送时间并没有明显变化。

- 单独将接收优先级 - 时间减少，但是丢包啊，似乎是优先级重复所致

- 修改优先级 - 不再掉包，似乎时间已经没有参考价值。

- 调整计时方式以后稳定在800us，至此可以得出结论。 - 接收可以保证：连续接收多帧，可以不丢失，但会推迟时间。

- 16帧连续发送，显然接收力不从心，有丢包现象，连续接收10帧。

- 短报也不出现丢失。时间也较短，能计算出来。（457字节）

- 即使32此连续发送也不丢。

for (i = 0; i < 1100; i++) { //Thread_sleep(50); if (GoosePublisher_publish(publisher, dataSetValues) == -1) { printf("Error sending message!\n"); } - } - 即使1000此也可以不丢失，说明这种短帧可以即时解析。这是上位机电脑的速度。

- 10.注意二维数组指针的申请！

- 11.改tcp软件校验位硬件校验

- 先按照目前情况进行调试，进行下一步 - 经调试，偶尔会出现如上情况

- RT_LWIP_ETHTHREAD_MBOX_SIZE 32

- 增大邮箱尺寸，期望不超标

2018/8/15

1.发送总耗时

duty time: 3279 duty time: 4511 duty time: 4511 duty time: 4529 duty time: 4556 duty time: 4521 duty time: 4606 duty time: 4514 duty time: 4576 duty time: 4520 duty time: 4524 duty time: 4513

2.电脑端MAC如果不设置 全FFFFFFF，无法发到网卡。

2018/8/14

<DAI name="cVal" sAddr="11301"/> 没有生成短地址

Before 435 294 bytes of readonly code memory 64 799 bytes of readonly data memory 173 367 bytes of readwrite data memory

after 472 518 bytes of readonly code memory 90 366 bytes of readonly data memory 178 995 bytes of readwrite data memory

2. 缺少PTUV1

2018/8/13

1. 几种变量生命 RO-data 表示 程序定义的常量const temp; RW-data 表示 已初始化的全局变量 ZI-data 表示 未初始化的全局变量

加入所有模型以后 static_model.o 184 1 412 46 084

之前

MEAS <GSE ldInst="LD0" cbName="gcbMeasureValues" des="电压电流等测量值">

GC(gcbRemote remote Rmote 1 0 1000 3000 ); GC(gcbMeasureValues analog MeasureValues 1 0 1000 3000 ){ PA(4 1 4098 ffffffffffff); }

空格很害人，不能有 <GSE ldInst="LD0" cbName="gcbRemote " des="遥信">

3.finsh msh

Mesh //#define FINSH_USING_MSH //#define FINSH_USING_MSH_ONLY Finsh 占用空间确实小一些，但是一些功能也没有了

4.列出空间大小

ls("//")---这是正确的 finsh />mkdir("//sojo//s") 0, 0x00000000 /sojo/s>tftp_get("192.168.10.111", "//sojo//s", "stu.bin")

tftp_get("192.168.10.111", "//sojo", "stu.bin")

rt_snprintf((char*)tftp_buffer, sizeof(tftp_buffer), "%s//%s", dir, filename); 写失败的原因！

tftp_get("192.168.10.111", "//sojo","test_goose.cfg")

挂载文件系统稍微慢一些/需要加延时！！！！！！！！

5. 获取设备列表超时，但是在上位机一切正常！

error:Socket_write, line: 298: lwip_send <0 COTP: sending message failed! COTP: message transmission finished (fragments=1, return=1) Recive: lwip_send Error: 0xfffffff9 error:Socket_write, line: 298: lwip_send <0, size: 1736 EWOULDBLOCK, /* ERR_WOULDBLOCK -7 Operation would block. */ 改增 lwip_send_ex 仅仅改了最后一句 为了获取错误码！ return (err == ERR_OK ? (int)written : err); 现在看协议栈的细节处理很好，考虑全面，比自己写的好！

增加上位机的接收时间不能解决

2018/8/11

1.hex

2. Icf配置

3.debuger 下载

4.输出项--调试信息，否则不能加断点（影响效率400-450），对mdk无太多影响还是530

2018/8/9

1.昨天错误系 lwip select select等综合造成的影响！！！！！！！！！！！

2.接收或者发送错误，他们底层写的很好！！！改动反而是狗尾续貂！

2018/8/9

1.调试错误

Bind lw_bind

2.接收两包以后，后面不正常

Recive: 3 0 0 16 TPKT: read 4 bytes from socket TPKT: header complete (msg size = 22) Recive: 11 E0 0 0 0 1 0 C0 1 D C2 2 0 1 C1 2 0 1 TPKT: message complete (size = 22) COTP: option: c0 len: 01 COTP: requested TPDU size: 8192 COTP: option: c2 len: 02 COTP: option: c1 len: 02 ISO_SERVER: COTP connection indication COTP: send TPDU size: 8192 3 0 0 16 11 D0 0 1 0 1 0 C0 1 D C2 2 0 1 C1 2 0 1

以上，接收两包以后就收不到了。也没有再进入接收！

readFromSocket CotpConnection_readToTpktBuffer IsoConnection_handleTcpConnection handleClientConnections

handleIsoConnectionsThreadless IsoServer_processIncomingMessages /

handleIsoConnections isoServerThread

singleThreadedServerThread

2018/8/8

Program Size: Code=304298 RO-data=57206 RW-data=23332 ZI-data=136156

加入服务之后 Program Size: Code=381218 RO-data=62090 RW-data=54888 ZI-data=136280

时间测试

IedServer_updateFloatAttributeValue 414us

StopWatchInit(); StopWatchStart(); #if (CONFIG_INCLUDE_GOOSE_SUPPORT == 1) MmsMapping_triggerGooseObservers(self->mmsMapping, dataAttribute->mmsValue); #endif StopWatchStop(); 409us

void Ethernet_sendPacket(EthernetSocket ethSocket, uint8_t* buffer, int packetSize) { StopWatchInit(); StopWatchStart(); EthernetOutput(buffer, packetSize); //MacRawOutput(buffer, packetSize); StopWatchStop(); } 8u-15us

if (DataSet_isMemberValue(dataSet, value, NULL)) { StopWatchInit(); StopWatchStart(); MmsGooseControlBlock_observedObjectChanged(gcb); StopWatchStop();

431us

MmsGooseControlBlock_observedObjectChanged(MmsGooseControlBlock self) { #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_wait(self->publisherMutex); #endif StopWatchInit(); StopWatchStart(); uint64_t currentTime = GoosePublisher_increaseStNum(self->publisher); self->retransmissionsLeft = CONFIG_GOOSE_EVENT_RETRANSMISSION_COUNT; if (self->retransmissionsLeft > 0) { self->nextPublishTime = currentTime + self->minTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->minTime * 3); } else { self->nextPublishTime = currentTime + self->maxTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); } StopWatchStop(); GoosePublisher_publish(self->publisher, self->dataSetValues); #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_post(self->publisherMutex); #endif } 5us

StopWatchInit(); StopWatchStart(); #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_wait(self->publisherMutex); #endif StopWatchStop(); uint64_t currentTime = GoosePublisher_increaseStNum(self->publisher); self->retransmissionsLeft = CONFIG_GOOSE_EVENT_RETRANSMISSION_COUNT; if (self->retransmissionsLeft > 0) { self->nextPublishTime = currentTime + self->minTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->minTime * 3); } else { self->nextPublishTime = currentTime + self->maxTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); } GoosePublisher_publish(self->publisher, self->dataSetValues); StopWatchInit(); StopWatchStart(); #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_post(self->publisherMutex); #endif StopWatchStop(); } 1-2us 偶尔 465us

信号量改互斥问题依旧

MmsGooseControlBlock_observedObjectChanged(MmsGooseControlBlock self) { #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_wait(self->publisherMutex); #endif StopWatchInit(); StopWatchStart(); uint64_t currentTime = GoosePublisher_increaseStNum(self->publisher); self->retransmissionsLeft = CONFIG_GOOSE_EVENT_RETRANSMISSION_COUNT; if (self->retransmissionsLeft > 0) { self->nextPublishTime = currentTime + self->minTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->minTime * 3); } else { self->nextPublishTime = currentTime + self->maxTime; GoosePublisher_setTimeAllowedToLive(self->publisher, self->maxTime * 3); } GoosePublisher_publish(self->publisher, self->dataSetValues); StopWatchStop(); #if (CONFIG_MMS_THREADLESS_STACK != 1) Semaphore_post(self->publisherMutex); #endif } 356-396us

地方

StopWatchInit(); StopWatchStart(); GoosePublisher_publish(self->publisher, self->dataSetValues); StopWatchStop(); 393us

StopWatchInit(); StopWatchStart(); uint8_t* buffer = self->buffer + self->payloadStart; size_t maxPayloadSize = GOOSE_MAX_MESSAGE_SIZE - self->payloadStart; int32_t payloadLength = createGoosePayload(self, dataSet, buffer, maxPayloadSize); self->sqNum++; if (payloadLength == -1) return -1; int lengthIndex = self->lengthField; size_t gooseLength = payloadLength + 8; self->buffer[lengthIndex] = gooseLength / 256; self->buffer[lengthIndex + 1] = gooseLength & 0xff; if (DEBUG_GOOSE_PUBLISHER) printf("GOOSE_PUBLISHER: send GOOSE message\n"); StopWatchStop(); 383us

以上是最大的开销！！传输字节约333字节 137字节约7u3s

2018/8/6

- Stm32f429 VLAN - 不经过设置，默认情况下，程序可以收到VLAN Tag，发送不行。需要设置。

2. 1309字节接收 1），整个是750us到2408us之间，融合到实际程序中。接收优先级为4.

2）需要发送接收以及tcp处理到提升方能保证时间稳定在746-783之间。

3）发送接收同时提高，不改变tcp优先级，延时100次测试出现一次12609，其它在746-783之间

4）重新测试，最低770 其它为840-876之间

5）重新测试，最低740-787之间 之间。100us从何而来？

- 另外把优先级调低到保护计算一下，出现问题。 - 综上应该是发送优先级与计算任务共同影响所致。

先按以上测试近试验，后期完善接收控制，需要引入中间层，脱离干扰。 至此接收与发送正常。

3.常用词汇

860-74

LPHD 物理装置信息

2018/8/4

1.接收错误，不单单之前有现在有

receive frame faild receive frame faild receive frame faild Ping 时间不稳定 和优化灭有关系，关闭优化问题依旧。 去除MicroLIb，恢复到1-2ms以内

/* avoid the heap and heap-using library functions supplied by arm */ #pragma import(__use_no_heap) void *malloc(int n) { return rt_malloc(n); } RTM_EXP mem_std.c 对malloc进行了重写

2018/8/3

1.下一步策略

1）Using interface eth0 duty time: 55 duty time: 55 duty time: 55

0优化 duty time: 61 duty time: 62 duty time: 62 Using interface eth0 duty time: 62 duty time: 62

Using interface eth0 duty time: 150 duty time: 150 duty time: 150

2.启动引导错误

// GooseSubscriber_setListener(subscriber, gooseListener, NULL); GooseReceiver_addSubscriber(receiver, subscriber); // GooseReceiver_start(receiver);

//GooseSubscriber_setListener(subscriber, gooseListener, NULL); GooseSubscriber_setListener(subscriber, NULL, NULL);

MmsValue_printToBuffer 此函数

换成MicroLib就好了，是部分函数没有实现所致。

三级优化+时间

duty time: 129 GOOSE event: stNum: 1 sqNum: 0

duty time: 129 GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533277710.410 {1234,1903?00???.000Z,5678} duty time: 76 GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533277753.477 {1234,1903?00???.000Z,5678} duty time: 75 GOOSE event: stNum: 2 sqNum: 0 timeToLive: 0 timestamp: 1533277753.577 {1234,1903?00???.000Z,5678} duty time: 75

MACRAW Open Sucess! duty time: 117 GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533277985.587 {1234,1903?00???.000Z,5678} duty time: 64 GOOSE event: stNum: 2 sqNum: 0 timeToLive: 0 timestamp: 1533277985.687 {1234,1903?00???.000Z,5678} duty time: 64 GOOSE event: stNum: 3 sqNum: 0 timeToLive: 0 timestamp: 1533277986.788 {1234,1903?00???.000Z,5678} duty time: 64

复制时间10us 201字节

三级优化以后

duty time: 98 GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533278550.477 {1234,194403030106?.000Z,5678} GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533278550.477 {1234,194403030106?.000Z,5678} duty time: 55 GOOSE event: stNum: 4 sqNum: 0 timeToLive: 0 timestamp: 1533278552.777 {1234,194403030106?.000Z,5678} duty time: 55 GOOSE event: stNum: 1 sqNum: 0 timeToLive: 0 timestamp: 1533278561.210 {1234,194403030106?.000Z,5678} duty time: 55 GOOSE event: stNum: 3 sqNum: 0 timeToLive: 0 timestamp: 1533278562.410 {1234,194403030106?.000Z,5678} duty time: 55 GOOSE event: stNum: 4 sqNum: 0 timeToLive: 0 timestamp: 1533278563.510 {1234,194403030106?.000Z,5678}

1333字节 797us，首次时间更长4ms-2ms

去除复制时间是719us

2.三级优化加时间

microlib对比

全开优化时间基本相同719us。以后采用二级优化，加优化时间

2018/8/2

1 之前分布式之上，开启dp83848，测得延时很惊人！

取消分布式任务

MAC:Address: Stmicroe_08:27:3b (00:80:e1:08:27:3b)

- 普通交换机，少4个字节 8100 8000

- 换交换机还是不行，后直接插拔网线发现是因为，经过交换机被滤掉了！

2018/7/31

1.检查所有列表与自定义队列等的插入删除，避免冲突问题。

2.有灯不正常闪烁的，在不能有效找到拓扑结构以后。系W5500初始化失败所致。

3.rt_kprintf("\n DATA:%s,%s, %s, %d\n", __DATE__, __TIME__, __FUNCTION__, __LINE__); 需要重新编译此页

4.不报错 rt_err_t err = rt_mutex_init (&udp_mutex, "udp_mutex", RT_IPC_FLAG_FIFO ); if (err != RT_EOK) { while(1);//TODO:此种有问题 }

2018/7/30

1.联络路径信息重复

1）出现重复问题。

2.异常错误

psr: 0x81000000 pc: 0x080606f4 lr: 0x080938ff 具有重复性 r12: 0x00000000 r03: 0x00000000 r02: 0xffffffff r01: 0xc06e665c r00: 0x06478048 hard fault on thread: udpser thread pri status sp stack size max used left tick error ------- --- ------- ---------- ---------- ------ ---------- --- tshell 20 ready 0x00000154 0x00000800 16% 0x00000009 000 connect 15 ready 0x000000a8 0x00000400 36% 0x00000014 -02 distpro 5 ready 0x00000088 0x00000400 23% 0x00000012 -02 SIMSW 3 suspend 0x00000080 0x00000400 25% 0x0000000c 000 udpser 5 ready 0x00000100 0x00000800 18% 0x0000000e 000 idle 28 ready 0x00000044 0x00001000 20% 0x0000000b 000 iec104 23 ready 0x0000011c 0x00001000 06% 0x00000014 000 iec101 24 ready 0x0000011c 0x00001000 09% 0x00000004 000 dp83848 21 ready 0x000002f4 0x00001000 23% 0x00000014 000 watch 18 ready 0x000000fc 0x00001f40 03% 0x0000000f 000 protect 9 ready 0x000000fc 0x00001000 06% 0x00000013 000 cal 8 ready 0x0000011c 0x00001000 10% 0x00000012 000 tcpip 10 ready 0x000000cc 0x00000400 37% 0x00000006 -02 etx 12 suspend 0x0000008c 0x00000400 13% 0x00000010 000 erx 12 suspend 0x0000008c 0x00000400 13% 0x00000010 000 tidle 31 ready 0x00000054 0x00000400 08% 0x00000008 000 timer 0 suspend 0x0000005c 0x00000200 17% 0x00000009 000 init 16 close 0x000000f4 0x00001000 45% 0x00000002 000

ErrorCode GetSwitchList(const ListDouble* listTopology, ListDouble* listSwitch) { uint8_t size = list_size(listTopology); ListElment* element = list_head(listTopology); for (uint8_t i = 0; i < size; i++) { uint8_t num = GET_TOPOLOGY_ELEMENT(element)->switchNum; for (uint8_t k = 0; k < num; k++) { ListInsertNext(listSwitch, NULL, (GET_TOPOLOGY_ELEMENT(element)->switchCollect + k)); } element = element->next; }

0x65 显然是错误的

else if (isSet == SET_PATH_CONNECT) //已经存在则不进行重复添加 { pid->hopsNumber = hops; //更新跳数 pid->timeStamp.updateTime = GetTime();（更新tick时改变size） pid->timeStamp.isValid = true; return ERROR_OK_NULL; }

结论：pid未赋值错误！

- 联络开关判别，由于轮询时间周期1S，而整个动作过程仅100ms左右，故障信息来不及处理。就已经被覆盖掉了。 - 方式1：闭锁一个是闭锁条件前移到接收。 - 方式2：添加其它启动条件。 - 先按方式1进行。

- 4.极可能又陷入SPI循环中！

2018/7/26

1.联络路径判别以后不能有效更新

此处和里面的实现机制相关，只在变位时更新。实际上不知道开关什么时候变位。需要检测。 本质上需要维持开关信息的互传与更新机制。包括上线问题。

2.升级驱动应该全面升级，切忌遗漏

2018/7/25

1.关于中点dll赋值丢失问题

128-512不能正常，赋值丢失，后改为static恢复

2018/7/24

1.W5500 比实际数据多8字节

thread pri status sp stack size max used left tick error ------- --- ------- ---------- ---------- ------ ---------- --- connect 15 ready 0x00000074 0x00000400 39% 0x00000005 000 distpro 5 suspend 0x00000084 0x00000400 22% 0x00000012 000 SIMSW 3 suspend 0x0000007c 0x00000400 25% 0x00000012 000 tshell 20 suspend 0x00000154 0x00000800 16% 0x00000008 000 udpser 5 suspend 0x00000090 0x00000800 69% 0x00000010 000 idle 28 ready 0x000000d4 0x00001000 25% 0x0000000b 000 iec104 23 ready 0x0000011c 0x00001000 06% 0x0000000c 000 iec101 24 ready 0x0000011c 0x00001000 06% 0x00000013 000 dp83848 21 ready 0x000002f8 0x00001000 23% 0x0000000e 000

增加stacksize

3.FRAM 地址

common_data.h

/* FRAM----------------------------------------------------------------------*/ #define ADDR_FRAM_MONITOR 0x00000 // FRAM自检 #define ADDR_FRAM_UPDATE 0x00001 // 在线更新 2字节 #define ADDR_FRAM_START_NUM 0x00003 // 开机次数一个字节 #define ADDR_FRAM_CURRENT_SN 0x00004 // 当前定值区号 1个字节 #define ADDR_FRAM_CALI_FACTOR 0x00050 // 校准系数存储起始地址 0x50 #define ADDR_FRAM_AREA0 0x00100 // FRAM参数存储起始地址 运行参数0区 0x600 #define ADDR_FRAM_AREA1 0x00700 // FRAM参数存储起始地址 定值区一 0x600 #define ADDR_FRAM_AREA2 0x00D00 // FRAM参数存储起始地址 定值区二 0x600 #define ADDR_FRAM_SOE 0x01300 // FRAM参数存储起始地址 SOE // 0x1400 #define ADDR_FRAM_SOE_NEW 0x02700 // FRAM参数存储起始地址 SOE // 0x1400 #define ADDR_FRAM_GRID 0x0A000 // 网架起始地址 0x2000

1）.先find 获取句柄device_fram 2）然后 rt_device_write(device_fram, ADDR_FRAM_MONITOR, &flag, 1);

4.nanoPB 不同结构可能不同

65 A6 89 00 A6 65 01 0A 6F 0A 09 02 85 00 0A 0A 81 94 A0 85 0C 82 94 A0 85 0C 10 01 1A 21 08 81 94 A0 85 0C 10 41 18 01 2A 01 02 30 00 38 00 40 00 48 00 50 02 58 00 6A 02 01 00 72 02 01 00 22 06 08 00 20 01 28 00 3A 12 08 01 10 01 18 00 20 00 28 81 94 A0 85 0C 30 00 38 00 42 36 08 81 94 A0 85 0C 10 21 18 21 20 21 28 00 30 00 38 00 40 00 48 AC 02 50 96 01 58 C8 01 60 90 03 68 90 03 70 64 78 90 03 80 01 64 88 01 F4 03 90 01 F4 03 98 01 01 00 BD 51 1A

2018/7/23

1.数据如何固化到FRAM中？

2.关于通信UDP设置问题。

- 定义常规：5555 / 维护端口4321

- 首次配置如何处理，配置关系

2018/7/21

1.COAP 运用的可行性！

2.//INIT_COMPONENT_EXPORT(rt_multi_common_data_init) 临时屏蔽

3.串口数据出现数据丢失的问题。——添加超时，接收关闭中断，DMA缓冲

2018/7/20

1.转供电超时

11:55:57 Send: 65 A6 06 00 A6 65 00 00 AA 00 30 01 0D 0A A8 C0 04 43 7A 1A 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 01 00 00 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:8, ValidData:01 0D 0A A8 C0 00 11:55:57 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 00 11:56:03 Send: 65 A6 06 00 A6 65 00 00 AA 00 30 01 0D 0A A8 C0 08 46 7A 1A 11:56:04 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 01 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 02 00 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:7, ValidData:01 0D 0A A8 C0 02 02 00 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:8, ValidData:01 0D 0A A8 C0 00 11:56:09 Recive: FROM：A0D, TO:FFFF, FUNCODE:C, ValidData:01 0D 0A A8 C0 01 11:56:15 Recive: FROM：A0B, TO:A0C, FUNCODE:B, ValidData:0B 0A A8 C0 02 01 11:56:15 Recive: FROM：A0B, TO:A0D, FUNCODE:B, ValidData:0B 0A A8 C0 02 04 11:56:15 Recive: FROM：A0B, TO:A10, FUNCODE:B, ValidData:0B 0A A8 C0 02 03 11:56:15 Recive: FROM：A0B, TO:A11, FUNCODE:B, ValidData:0B 0A A8 C0 02 02 11:56:15 Recive: FROM：A0B, TO:A13, FUNCODE:B, ValidData:0B 0A A8 C0 02 01 11:56:15 Recive: FROM：A04, TO:A01, FUNCODE:B, ValidData:04 0A A8 C0 02 01 11:56:15 Recive: FROM：A04, TO:A0D, FUNCODE:B, ValidData:04 0A A8 C0 02 02 11:56:15 Recive: FROM：A04, TO:A0F, FUNCODE:B, ValidData:04 0A A8 C0 02 01

2018/7/19

1.AddStation 命令 有内存泄漏情况，在重复添加时——已改近

2017/7/17

嵌入式操作

1.乱码溢出

ID: C0A80A13, FAULT: 2锛?TICK:79967. STATION:C0A80A01, Code: 9. Tick: 80546 thread:router_self stack overflow

2.内存超了，超过110K

- 单片机内，轮询导致有些得不到执行，导致错误。

- 节点13,16，过流，但是16已结判断结束了，但是13还没处理到，导致错误。 - 解决这个问题：1.对于来回数据复制接口需要调整。避免低效率复制。2.调整优先级和频次 - 3.需要提供与上位机设置的优先级，避免设置被打断，从而引入错乱模式

- 突然进入 - Printf问题，以前发生过

- 5.无法响应

- 14:37:52 Recive: FROM：A09, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:54 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:56 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:37:58 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:00 Recive: FROM：A02, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:02 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:04 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:06 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01 - 14:38:08 Recive: FROM：A13, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 6.收到数据

- 65 A6 06 00 A6 65 0E 0A 0B 0A 02 01 0B 0A A8 C0 01 A3 40 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 83 07 1A 65 0B 0A 13 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 65 A6 06 00 A6 65 0F 0A 0B 0A 02 01 0B 0A A8 C0 01 5F 44 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 4A 96 1A 65 0B 0A 02 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 19:33:01 Recive: FROM：A0A, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 19:33:01 Recive: FROM：A0A, TO:A0B, FUNCODE:2, ValidData:01 0B 0A A8 C0 01

- 65 A6 06 00 A6 65 09 0A 0B 0A 02 01 0B 0A A8 C0 01 D7 5A 1A 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 7F F6 1A 65 0B 0A 11 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A

- 0A A8 C0 0C 0A A8 C0 13 0A A8 C0 62 09 65 46 1A 65 0B 0A 12 0A 03 01 01 21 00 0B 0A A8 C0 01 01 0B 0A A8 C0 45 02 04 09 0A A8 C0 0A 0A A8 C0 0C 0A - 65 A6 06 00 A6 65 0A 0A 0B 0A 02 01 0B 0A A8 C0 01 93 55 1A

- head与end不一致

2018/7/16

C0A80A11: ID: C0A80A11, FAULT: 1， TICK:210040. 11, FAULT: C0A80A10: set fault. C0A80A0D: set fault. C0A80A11,Fault TransmitMessage, TICK:210041. C0A80A11 :FROM: 21 TO: 22. TICK: 210041. ID: C0A80A10, FAULT: 1， TICK:210045. ID: C0A80A0D, FAULT: 1， TICK:210046. C0A80A13,Trigger TransmitMessage, TICK:210052. C0A80A13 :FROM: 21 TO: 25. TICK: 210052. C0A80A12,Trigger TransmitMessage, TICK:210053. C0A80A12 :FROM: 21 TO: 25. TICK: 210054. C0A80A11 :FROM: 22 TO: 23. TICK: 210058. C0A80A11,treatment open, TICK:210058. C0A80A11 :FROM: 23 TO: 24. TICK: 210058. C0A80A10,Fault TransmitMessage, TICK:210058. C0A80A10 :FROM: 21 TO: 22. TICK: 210058. C0A80A10 :FROM: 22 TO: 23. TICK: 210059. C0A80A10,treatment open, TICK:210059. C0A80A10 :FROM: 23 TO: 24. TICK: 210059. C0A80A0D,Fault TransmitMessage, TICK:210059. C0A80A0D :FROM: 21 TO: 22. TICK: 210059. C0A80A0F,Trigger TransmitMessage, TICK:210074. C0A80A0F :FROM: 21 TO: 25. TICK: 210074. C0A80A0E,Trigger TransmitMessage, TICK:210074. C0A80A0E :FROM: 21 TO: 25. TICK: 210074. C0A80A0D :FROM: 22 TO: 23. TICK: 210084. C0A80A0D :FROM: 23 TO: 26. TICK: 210084. ID: C0A80A11, FAULT: 2， TICK:210096. ID: C0A80A11, SwitchState: 2. TICK:210096 ID: C0A80A10, FAULT: 2， TICK:210096. ID: C0A80A10, SwitchState: 2. TICK:210096 C0A80A11,Removal Sucess, TICK:210104. C0A80A11 :FROM: 24 TO: 91. TICK: 210104. C0A80A11 :FROM: 91 TO: FF. TICK: 210104. C0A80A10,Removal Sucess, TICK:210104. C0A80A10 :FROM: 24 TO: 91. TICK: 210104. C0A80A10 :FROM: 91 TO: FF. TICK: 210104. C0A80A0D :FROM: 26 TO: 91. TICK: 210114. C0A80A0D :FROM: 91 TO: FF. TICK: 210114. C0A80A13 :FROM: 25 TO: 51. TICK: 210215. C0A80A12 :FROM: 25 TO: 31. TICK: 210215. C0A80A12 :FROM: 31 TO: FF. TICK: 210216. C0A80A0F :FROM: 25 TO: 31. TICK: 210236. C0A80A0F :FROM: 31 TO: FF. TICK: 210236. C0A80A0E :FROM: 25 TO: 31. TICK: 210236. C0A80A0E :FROM: 31 TO: FF. TICK: 210236. ID: C0A80A13, SwitchState: 2. TICK:210266 C0A80A13,Insulate SUCCESS, TICK:210266. C0A80A13 :FROM: 51 TO: 71. TICK: 210266. C0A80A0B,Meet In TransferPower Mode, TICK:210276. C0A80A0B :FROM: 21 TO: 72. TICK: 210276. C0A80A13,Transfer Master Send Cmd., TICK:210286. C0A80A13 :FROM: 71 TO: 91. TICK: 210286. C0A80A13 :FROM: 91 TO: FF. TICK: 210290. C0A80A0B,Transfer Close Operate, TICK:210290. ID: C0A80A0B, SwitchState: 1. TICK:210346 C0A80A0B,Transfer Success, TICK:210350. C0A80A0B :FROM: 72 TO: 91. TICK: 210350. C0A80A0B :FROM: 91 TO: FF. TICK: 210350. 状态不一样。问题所在？

确实有溢出错误。

调大缓冲从1024到2048，首次正确。

复归后，不正确。16,17均动作

ID: C0A80A11, FAULT: 1， TICK:26390. ID: C0A80A10, FAULT: 1， TICK:26390. ID: C0A80A0D, FAULT: 1， TICK:26390. C0A80A11,Fault TransmitMessage, TICK: 26398. C0A80A11 :FROM: 21 TO: 22. TICK: 26398. C0A80A10,Fault TransmitMessage, TICK: 26398. C0A80A10 :FROM: 21 TO: 22. TICK: 26398. C0A80A0D,Fault TransmitMessage, TICK: 26398. C0A80A0D :FROM: 21 TO: 22. TICK: 26398. C0A80A13,Trigger TransmitMessage, TICK: 26408. C0A80A13 :FROM: 21 TO: 25. TICK: 26408. C0A80A12,Trigger TransmitMessage, TICK: 26408. C0A80A12 :FROM: 21 TO: 25. TICK: 26408. C0A80A11 :FROM: 22 TO: 23. TICK: 26408. C0A80A11,treatment open, TICK: 26408. C0A80A11 :FROM: 23 TO: 24. TICK: 26408. C0A80A10 :FROM: 22 TO: 23. TICK: 26408. C0A80A10,treatment open, TICK: 26408. C0A80A10 :FROM: 23 TO: 24. TICK: 26408. C0A80A0F,Trigger TransmitMessage, TICK: 26409. C0A80A0F :FROM: 21 TO: 25. TICK: 26409. C0A80A0E,Trigger TransmitMessage, TICK: 26409. C0A80A0E :FROM: 21 TO: 25. TICK: 26409. C0A80A0D :FROM: 22 TO: 23. TICK: 26409. C0A80A0D :FROM: 23 TO: 26. TICK: 26409. ID: C0A80A11, FAULT: 2， TICK:26445. ID: C0A80A11, SwitchState: 2. TICK:26445 ID: C0A80A10, FAULT: 2， TICK:26445. ID: C0A80A10, SwitchState: 2. TICK:26445 C0A80A11,Removal Sucess, TICK: 26449. C0A80A11 :FROM: 24 TO: 91. TICK: 26449. C0A80A11 :FROM: 91 TO: FF. TICK: 26449. C0A80A10,Removal Sucess, TICK: 26449. C0A80A10 :FROM: 24 TO: 91. TICK: 26449. C0A80A10 :FROM: 91 TO: FF. TICK: 26449. C0A80A0D :FROM: 26 TO: 91. TICK: 26459. C0A80A0D :FROM: 91 TO: FF. TICK: 26459. C0A80A13 :FROM: 25 TO: 51. TICK: 26569. C0A80A12 :FROM: 25 TO: 31. TICK: 26569. C0A80A12 :FROM: 31 TO: FF. TICK: 26569. C0A80A0F :FROM: 25 TO: 51. TICK: 26569. C0A80A0E :FROM: 25 TO: 31. TICK: 26569. C0A80A0E :FROM: 31 TO: FF. TICK: 26569. ID: C0A80A13, SwitchState: 2. TICK:26615 C0A80A13,Insulate SUCCESS, TICK: 26619. C0A80A13 :FROM: 51 TO: 71. TICK: 26619. C0A80A0B,Meet In TransferPower Mode, TICK: 26629.

以上情况，首次上电正确，重新复位后发生错乱，应该是状态位未能有效清空所致。

对于故障触发后，增加重新复位标识。 switchProperty->distributionArea->StartUpdate(switchProperty);// 重新复位

对于接收处理。 条件; 逻辑; 结果. 有配电区域; &&; &&; UpdatePowerArea（） ！isGatherCalculateCompleted --> GatherCompletedAndJudgeFaultArea（） IsAlreayExitedFault（）. 有故障信息; ¦¦. 处在故障处理状态IsRun.

统一复归（19个点，2018缓冲），会导致队列溢出，需要一部分一部分处理

3.缺失状态F2故障，切除拒动，不能进行隔离。

地方

C0A80A02: set fault. C0A80A01: set fault. ID: C0A80A02, FAULT: 1， TICK:27921. ID: C0A80A01, FAULT: 1， TICK:27921. C0A80A02,Fault TransmitMessage, TICK: 27929. C0A80A02 :FROM: 21 TO: 22. TICK: 27929. C0A80A01,Fault TransmitMessage, TICK: 27929. C0A80A01 :FROM: 21 TO: 22. TICK: 27929. C0A80A04,Trigger TransmitMessage, TICK: 27939. C0A80A04 :FROM: 21 TO: 25. TICK: 27939. C0A80A03,Trigger TransmitMessage, TICK: 27939. C0A80A03 :FROM: 21 TO: 25. TICK: 27939. C0A80A02 :FROM: 22 TO: 23. TICK: 27950. C0A80A02,treatment open, TICK: 27950. C0A80A02 :FROM: 23 TO: 24. TICK: 27950. C0A80A01 :FROM: 22 TO: 23. TICK: 27950. C0A80A01 :FROM: 23 TO: 26. TICK: 27951. C0A80A02,reject open, TICK: 28052. C0A80A01,backup open because of Reject, TICK: 28064. C0A80A01 :FROM: 26 TO: 27. TICK: 28064. ID: C0A80A01, FAULT: 2， TICK:28101. ID: C0A80A01, SwitchState: 2. TICK:28102 C0A80A04 :FROM: 25 TO: 31. TICK: 28104. C0A80A04 :FROM: 31 TO: FF. TICK: 28104. C0A80A03 :FROM: 25 TO: 31. TICK: 28104. C0A80A03 :FROM: 31 TO: FF. TICK: 28104. C0A80A01,Backup: Removal Sucess, TICK: 28105. C0A80A01 :FROM: 27 TO: 91. TICK: 28105. C0A80A01 :FROM: 91 TO: FF. TICK: 28105. C0A80A02,Removal Sucess: Backup , TICK: 28117. C0A80A02 :FROM: 24 TO: 92. TICK: 28118. C0A80A02 :FROM: 92 TO: FF. TICK: 28118.

4.故障状态出现一次未知？ ——单侧失压故障，未知

5.1，2置过流，2拒分

ID: C0A80A02, FAULT: 1， TICK:434856. ID: C0A80A01, FAULT: 1， TICK:434856. C0A80A02,Fault TransmitMessage, TICK:434862. C0A80A02 :FROM: 21 TO: 22. TICK: 434862. C0A80A01,Fault TransmitMessage, TICK:434862. C0A80A01 :FROM: 21 TO: 22. TICK: 434864. C0A80A04,Trigger TransmitMessage, TICK:434877. C0A80A04 :FROM: 21 TO: 25. TICK: 434877. C0A80A03,Trigger TransmitMessage, TICK:434877. C0A80A03 :FROM: 21 TO: 25. TICK: 434877. C0A80A02 :FROM: 22 TO: 23. TICK: 434887. C0A80A02,treatment open, TICK:434887. C0A80A02 :FROM: 23 TO: 24. TICK: 434887. C0A80A01 :FROM: 22 TO: 23. TICK: 434887. C0A80A01 :FROM: 23 TO: 26. TICK: 434887. ID: C0A80A02, FAULT: 2， TICK:434926. ID: C0A80A02, SwitchState: 2. TICK:434926 C0A80A02,Removal Sucess, TICK:434927. C0A80A02 :FROM: 24 TO: 91. TICK: 434927. C0A80A02 :FROM: 91 TO: FF. TICK: 434927. C0A80A01 :FROM: 26 TO: 91. TICK: 434937. C0A80A01 :FROM: 91 TO: FF. TICK: 434937. C0A80A04 :FROM: 25 TO: 31. TICK: 435037. C0A80A04 :FROM: 31 TO: FF. TICK: 435037. C0A80A03 :FROM: 25 TO: 51. TICK: 435037. C0A80A03,Insulate area backup, TICK:435047. ID: C0A80A03, SwitchState: 2. TICK:435086 C0A80A03,Insulate SUCCESS, TICK:435088. C0A80A03 :FROM: 51 TO: 71. TICK: 435088. C0A80A08,Meet In TransferPower Mode, TICK:435098. C0A80A08 :FROM: 21 TO: 72. TICK: 435098. C0A80A03,Transfer Master Send Cmd., TICK:435108. C0A80A03 :FROM: 71 TO: 91. TICK: 435108. C0A80A03 :FROM: 91 TO: FF. TICK: 435108.

13:11:44 Recive: FROM：A08, TO:A03, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 【容量信息】 13:11:44 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0 【启动转供电】 13:11:44 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:03 08 0A A8 C0 【不进行转供电】 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:7, ValidData:01 03 0A A8 C0 02 02 00 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:7, ValidData:01 03 0A A8 C0 02 02 00 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:8, ValidData:02 03 0A A8 C0 00 01 0A A8 C0 00 13:11:44 Recive: FROM：A03, TO:FFFF, FUNCODE:C, ValidData:01 03 0A A8 C0 01

6. 切除逻辑不正确

ID: C0A80A02, FAULT: 1， TICK:21922. ID: C0A80A01, FAULT: 1， TICK:21922. C0A80A02,Fault TransmitMessage, TICK: 21928. C0A80A02 :FROM: 21 TO: 22. TICK: 21928. C0A80A01,Fault TransmitMessage, TICK: 21928. C0A80A01 :FROM: 21 TO: 22. TICK: 21928. C0A80A04,Trigger TransmitMessage, TICK: 21938. C0A80A04 :FROM: 21 TO: 25. TICK: 21938. C0A80A03,Trigger TransmitMessage, TICK: 21938. C0A80A03 :FROM: 21 TO: 25. TICK: 21938. C0A80A02 :FROM: 22 TO: 23. TICK: 21948. C0A80A02,treatment open, TICK: 21948. C0A80A02 :FROM: 23 TO: 24. TICK: 21948. C0A80A01 :FROM: 22 TO: 23. TICK: 21948. C0A80A01 :FROM: 23 TO: 26. TICK: 21948. ID: C0A80A02, FAULT: 2， TICK:21987. ID: C0A80A02, SwitchState: 2. TICK:21987 C0A80A02,Removal Sucess, TICK: 21988. C0A80A02 :FROM: 24 TO: 91. TICK: 21988. C0A80A02 :FROM: 91 TO: FF. TICK: 21988. C0A80A01 :FROM: 26 TO: 91. TICK: 21998. C0A80A01 :FROM: 91 TO: FF. TICK: 21998. C0A80A04 :FROM: 25 TO: 31. TICK: 22098. C0A80A04 :FROM: 31 TO: FF. TICK: 22098. C0A80A03 :FROM: 25 TO: 51. TICK: 22098. C0A80A03,Insulate area backup, TICK: 22108.【此处不正确，无法区分拒分与正常情况】 ID: C0A80A03, SwitchState: 2. TICK:22147 C0A80A03,Insulate SUCCESS, TICK: 22148. C0A80A03 :FROM: 51 TO: 71. TICK: 22148. C0A80A08,Meet In TransferPower Mode, TICK: 22158. C0A80A08 :FROM: 21 TO: 72. TICK: 22158. C0A80A03,Transfer Master Send Cmd., TICK: 22168. C0A80A03 :FROM: 71 TO: 91. TICK: 22168. C0A80A03 :FROM: 91 TO: FF. TICK: 22168. C0A80A08,Transfer Close Operate, TICK: 22178. ID: C0A80A08, SwitchState: 1. TICK:22237 C0A80A08,Transfer Success, TICK: 22238.

13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:8, ValidData:02 02 0A A8 C0 01 01 0A A8 C0 01 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 02 00 00 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 02 00 00 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:8, ValidData:02 02 0A A8 C0 01 01 0A A8 C0 01 13:49:19 Recive: FROM：A02, TO:FFFF, FUNCODE:C, ValidData:01 02 0A A8 C0 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:7, ValidData:01 01 0A A8 C0 01 01 00 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:7, ValidData:01 01 0A A8 C0 01 01 00 00 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:8, ValidData:01 01 0A A8 C0 01 13:49:19 Recive: FROM：A01, TO:FFFF, FUNCODE:C, ValidData:01 01 0A A8 C0 00 13:49:20 Recive: FROM：A04, TO:FFFF, FUNCODE:7, ValidData:01 04 0A A8 C0 02 02 00 00 13:49:20 Recive: FROM：A03, TO:FFFF, FUNCODE:C, ValidData:01 03 0A A8 C0 01 13:49:20 Recive: FROM：A08, TO:A03, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 13:49:20 Recive: FROM：A03, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0

7.多个链表错误再次引发异常

- 配电区域为故障路径 if (error == ERROR_OK_NULL) { if (i == 0)//只针对首个进行标注。其它只标记配电区域 { find->removalType = type; } //配电区域为链路 (find->distributionArea != NULL) ? (find->distributionArea->SignRemovalMessage(find)) : (find); - }

- 1,3,5分闸跳跃故障

- C0A80A05,Fault TransmitMessage, TICK: 30905. - C0A80A05 :FROM: 21 TO: 22. TICK: 30905. - C0A80A03,Fault TransmitMessage, TICK: 30905. - C0A80A03 :FROM: 21 TO: 22. TICK: 30905. - C0A80A01,Fault TransmitMessage, TICK: 30905. - C0A80A01 :FROM: 21 TO: 22. TICK: 30906. - C0A80A08,Trigger TransmitMessage, TICK: 30916. - C0A80A08 :FROM: 21 TO: 25. TICK: 30916. - C0A80A07,Trigger TransmitMessage, TICK: 30919. - C0A80A07 :FROM: 21 TO: 25. TICK: 30920. - C0A80A06,Trigger TransmitMessage, TICK: 30920. - C0A80A06 :FROM: 21 TO: 25. TICK: 30920. - C0A80A04,Trigger TransmitMessage, TICK: 30920. - C0A80A04 :FROM: 21 TO: 25. TICK: 30920. - C0A80A02,Trigger TransmitMessage, TICK: 30920. - C0A80A02 :FROM: 21 TO: 25. TICK: 30920. - C0A80A05 :FROM: 22 TO: 23. TICK: 30930. - C0A80A05,treatment open, TICK: 30932. - C0A80A05 :FROM: 23 TO: 24. TICK: 30932. - C0A80A03 :FROM: 22 TO: 23. TICK: 30932. - C0A80A03 :FROM: 23 TO: 26. TICK: 30932. - C0A80A01 :FROM: 22 TO: 23. TICK: 30932. - C0A80A01 :FROM: 23 TO: 26. TICK: 30932. - ID: C0A80A05, FAULT: 2， TICK:30970. - ID: C0A80A05, SwitchState: 2. TICK:30970 - C0A80A05,Removal Sucess, TICK: 30972. - C0A80A05 :FROM: 24 TO: 91. TICK: 30972. - C0A80A05 :FROM: 91 TO: FF. TICK: 30972. - C0A80A08 :FROM: 25 TO: 31. TICK: 31082. - C0A80A08 :FROM: 31 TO: FF. TICK: 31082. - C0A80A07 :FROM: 25 TO: 31. TICK: 31083. - C0A80A07 :FROM: 31 TO: FF. TICK: 31083. - C0A80A06 :FROM: 25 TO: 31. TICK: 31083. - C0A80A06 :FROM: 31 TO: FF. TICK: 31083. - C0A80A04 :FROM: 25 TO: 31. TICK: 31083. - C0A80A04 :FROM: 31 TO: FF. TICK: 31086. - C0A80A02 :FROM: 25 TO: 31. TICK: 31087. - C0A80A02 :FROM: 31 TO: FF. TICK: 31087. - C0A80A03,backup overtime open, TICK: 31337. - C0A80A03 :FROM: 26 TO: 27. TICK: 31337. - C0A80A01,backup overtime open, TICK: 31337. - C0A80A01 :FROM: 26 TO: 27. TICK: 31337. - ID: C0A80A03, FAULT: 2， TICK:31376. - ID: C0A80A03, SwitchState: 2. TICK:31376 - ID: C0A80A01, FAULT: 2， TICK:31376. - ID: C0A80A01, SwitchState: 2. TICK:31376 - C0A80A03,Backup: Removal Sucess, TICK: 31377. - C0A80A03 :FROM: 27 TO: 91. TICK: 31377. - C0A80A03 :FROM: 91 TO: FF. TICK: 31377. - C0A80A01,Backup: Removal Sucess, TICK: 31378. - C0A80A01 :FROM: 27 TO: 91. TICK: 31378. - C0A80A01 :FROM: 91 TO: FF. TICK: 31379.

- 10,。 F14故障分析Insulate area backup， - 添加到电源开关的距离。

- C0A80A0D: set fault. - C0A80A10: set fault. - ID: C0A80A10, FAULT: 1， TICK:29004. - ID: C0A80A0D, FAULT: 1， TICK:29004. - C0A80A10,Fault TransmitMessage, TICK: 29010. - C0A80A10 :FROM: 21 TO: 22. TICK: 29010. - C0A80A0D,Fault TransmitMessage, TICK: 29010. - C0A80A0D :FROM: 21 TO: 22. TICK: 29010. - C0A80A11,Trigger TransmitMessage, TICK: 29020. - C0A80A11 :FROM: 21 TO: 25. TICK: 29020. - C0A80A0E,Trigger TransmitMessage, TICK: 29020. - C0A80A0E :FROM: 21 TO: 25. TICK: 29020. - C0A80A0F,Trigger TransmitMessage, TICK: 29020. - C0A80A0F :FROM: 21 TO: 25. TICK: 29020. - C0A80A10 :FROM: 22 TO: 23. TICK: 29030. - C0A80A10,treatment open, TICK: 29030. - C0A80A10 :FROM: 23 TO: 24. TICK: 29030. - C0A80A0D :FROM: 22 TO: 23. TICK: 29030. - C0A80A0D :FROM: 23 TO: 26. TICK: 29030. - C0A80A10,reject open, TICK: 29130. - C0A80A0D,backup open because of Reject, TICK: 29140. - C0A80A0D :FROM: 26 TO: 27. TICK: 29140. - ID: C0A80A0D, FAULT: 2， TICK:29179. - ID: C0A80A0D, SwitchState: 2. TICK:29179 - C0A80A11 :FROM: 25 TO: 51. TICK: 29181. - C0A80A0E :FROM: 25 TO: 31. TICK: 29181. - C0A80A0E :FROM: 31 TO: FF. TICK: 29181. - C0A80A0D,Backup: Removal Sucess, TICK: 29181. - C0A80A0D :FROM: 27 TO: 91. TICK: 29181. - C0A80A0D :FROM: 91 TO: FF. TICK: 29181. - C0A80A0F :FROM: 25 TO: 51. TICK: 29182. - C0A80A10,Removal Sucess: Backup , TICK: 29192. - C0A80A10 :FROM: 24 TO: 92. TICK: 29192. - C0A80A10 :FROM: 92 TO: FF. TICK: 29192. - C0A80A0F,Insulate area backup, TICK: 29192. - ID: C0A80A0F, SwitchState: 2. TICK:29229 - C0A80A0F,Insulate SUCCESS, TICK: 29232. - C0A80A0F :FROM: 51 TO: 71. TICK: 29232. - ID: C0A80A11, SwitchState: 2. TICK:29239 - C0A80A0D,It's path connected., TICK: 29245. - C0A80A01,It's path connected., TICK: 29245. - C0A80A11,Insulate SUCCESS, TICK: 29246. - C0A80A11 :FROM: 51 TO: 71. TICK: 29246. - C0A80A0B,Meet In TransferPower Mode, TICK: 29258. - C0A80A0B :FROM: 21 TO: 72. TICK: 29258. - C0A80A11,Transfer Master Send Cmd., TICK: 29268. - C0A80A11 :FROM: 71 TO: 91. TICK: 29268. - C0A80A11 :FROM: 91 TO: FF. TICK: 29268. - C0A80A0B,Transfer Close Operate, TICK: 29279. - ID: C0A80A0B, SwitchState: 1. TICK:29339 - C0A80A0B,Transfer Success, TICK: 29339. - C0A80A0B :FROM: 72 TO: 91. TICK: 29339. - C0A80A0B :FROM: 91 TO: FF. TICK: 29339. - C0A80A0F,Transfer Master Failure: receive overTime, TICK: 29739. - C0A80A0F :FROM: 71 TO: 91. TICK: 29739. - C0A80A0F :FROM: 91 TO: FF. TICK: 29739.

- 11.三点联动出现反复问题

2018/7/14

C0A80A11,Fault TransmitMessage, TICK: 28466. C0A80A11 :FROM: 21 TO: 22. TICK: 28466. C0A80A10,Fault TransmitMessage, TICK: 28466. C0A80A10 :FROM: 21 TO: 22. TICK: 28466. C0A80A0D,Fault TransmitMessage, TICK: 28467. C0A80A0D :FROM: 21 TO: 22. TICK: 28467. C0A80A13,Trigger TransmitMessage, TICK: 28501. C0A80A13 :FROM: 21 TO: 25. TICK: 28501. C0A80A12,Trigger TransmitMessage, TICK: 28501. C0A80A12 :FROM: 21 TO: 25. TICK: 28502. C0A80A0F,Trigger TransmitMessage, TICK: 28503. C0A80A0F :FROM: 21 TO: 25. TICK: 28503. C0A80A0E,Trigger TransmitMessage, TICK: 28503. C0A80A0E :FROM: 21 TO: 25. TICK: 28503. C0A80A0D :FROM: 22 TO: 23. TICK: 28553. C0A80A0D :FROM: 23 TO: 26. TICK: 28553. C0A80A11 :FROM: 22 TO: 23. TICK: 28564. C0A80A11,treatment open, TICK: 28565. C0A80A11 :FROM: 23 TO: 24. TICK: 28565. C0A80A10 :FROM: 22 TO: 23. TICK: 28565. C0A80A10 :FROM: 23 TO: 26. TICK: 28565. ID: C0A80A11, FAULT: 2， TICK:28601. ID: C0A80A11, SwitchState: 2. TICK:28601 C0A80A11,Removal Sucess, TICK: 28606. C0A80A11 :FROM: 24 TO: 91. TICK: 28606. C0A80A11 :FROM: 91 TO: FF. TICK: 28606. C0A80A10 :FROM: 26 TO: 91. TICK: 28697. C0A80A10 :FROM: 91 TO: FF. TICK: 28697. C0A80A0D :FROM: 26 TO: 91. TICK: 28697. C0A80A0D :FROM: 91 TO: FF. TICK: 28698. C0A80A13 :FROM: 25 TO: 32. TICK: 28825. C0A80A13,OverTime TransmitMessage, TICK: 28829. C0A80A13 :FROM: 32 TO: 91. TICK: 28829. C0A80A13 :FROM: 91 TO: FF. TICK: 28829. C0A80A12 :FROM: 25 TO: 32. TICK: 28830. C0A80A12,OverTime TransmitMessage, TICK: 28830. C0A80A12 :FROM: 32 TO: 91. TICK: 28830. C0A80A12 :FROM: 91 TO: FF. TICK: 28830. C0A80A0F :FROM: 25 TO: 32. TICK: 28888. C0A80A0F,OverTime TransmitMessage, TICK: 28888. C0A80A0F :FROM: 32 TO: 91. TICK: 28888. C0A80A0F :FROM: 91 TO: FF. TICK: 28889. C0A80A0E :FROM: 25 TO: 32. TICK: 28889. C0A80A0E,OverTime TransmitMessage, TICK: 28890. C0A80A0E :FROM: 32 TO: 91. TICK: 28890. C0A80A0E :FROM: 91 TO: FF. TICK: 28890.

后先判断1,35，在判断16,17，变好了

2018/7/13

1.转供电错误

11:52:37 Recive: FROM：A02, TO:FFFF, FUNCODE:7, ValidData:01 02 0A A8 C0 02 01 00 00 11:52:37 Recive: FROM：A05, TO:FFFF, FUNCODE:C, ValidData:01 05 0A A8 C0 01 11:52:37 Recive: FROM：A08, TO:A05, FUNCODE:D, ValidData:01 05 0A A8 C0 05 0A A8 C0 11:52:42 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 11:52:42 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00

2.关于全部复归问题

对于单机复归，比较方便。但是对于多机复归的本质是需要更新的状态量的同步。 - 1）列出需要同步的状态信息量。 - 2）同步的目的是维持信息的有效性。 - 3）需要对状态量进行“变化更新”，“周期更新”，并且需要避开特殊时期。

- error:_TransferPowerS - error:_StationExecuteFunctioncode, line: 264: - StationExecuteFunctioncode: error code: 360F614 - ncode: - error code: 360F6 Transfer_ControlSend Error: 326F6EC - error:_FaultDealStateCenter, line: 128: - 326F824 :FaultRemovalStateCenter ERROR : 326F6F8.

- 14:36:33 Recive: FROM：A05, TO:FFFF, FUNCODE:C, ValidData:01 05 0A A8 C0 01 - 14:36:33 Recive: FROM：A08, TO:A05, FUNCODE:D, ValidData:01 08 0A A8 C0 08 0A A8 C0 - 14:37:01 Recive: FROM：A05, TO:A08, FUNCODE:D, ValidData:02 08 0A A8 C0 - 14:37:14 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 - 14:37:14 Recive: FROM：A05, TO:FFFF, FUNCODE:7, ValidData:01 05 0A A8 C0 02 02 00 00 - 14:37:17 Recive: FROM：A08, TO:FFFF, FUNCODE:7, ValidData:01 08 0A A8 C0 02 02 00 00

- ID: C0A80A05, SwitchState: 2. TICK:26950 - C0A80A05,Insulate SUCCESS, TICK: 26950. - C0A80A05 :FROM: 51 TO: 71. TICK: 26950. - C0A80A08,Meet In TransferPower Mode, TICK: 26960. - C0A80A08 :FROM: 21 TO: 72. TICK: 26960. - C0A80A05,Transfer Master Send Cmd., TICK: 27163. - C0A80A05 :FROM: 71 TO: 91. TICK: 27163. - C0A80A05 :FROM: 91 TO: FF. TICK: 27163. - C0A80A08,Transfer Over Cancer, TICK: 27463. - C0A80A08 :FROM: 72 TO: 91. TICK: 27463. - C0A80A08 :FROM: 91 TO: FF. TICK: 27463.

2018/7/12

1.关于联络开关判断时机的问题？

1）检测到链路上有故障发生，---->此时闭锁--->故障消失（切除成功）

2.问题记录——路径错误+链表错误

int list_rem_next(List *list,ListElmt *element,void **data) { ListElmt *old_element; /*Do not allow removal from an empty list. */ if(list_size(list) == 0) return -1; /*Remove the element from the list. */ if(element == NULL) { /*Handle removal from the head of the list. */ *data = list->head->data; old_element = list->head; list->head = list->head->next; //previous if (list->head != NULL) { list->head->prev = old_element->prev; } if(list_size(list) == 1) list->tail = NULL; } else { /*Handle removal from somewhere other than the head. */ if(element->next == NULL) return -1; *data = element->next->data; old_element = element->next; element->next = element->next->next; if (element->next == NULL) { list->tail = element; } else { //previous element->next->prev = old_element->prev; } } /*FREE the storage allocated by the abstract datatype.*/ FREE(old_element); /*Adjust the size of the list account for the removed element. */ list->size--; return 0; }

3.出现组合错误，合环问题导致大量判别数据

C0A80A0D,It's path connected., TICK: 40301. C0A80A04,It's path connected., TICK: 40301. C0A80A04,It's path connected., TICK: 40301. C0A80A01,It's path connected., TICK: 40301. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A01,It's path connected., TICK: 40302. C0A80A0F,It's path connected., TICK: 40302. C0A80A0F,It's path connected., TICK: 40302. C0A80A0D,It's path connected., TICK: 40305. C0A80A0D,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40305. C0A80A05,It's path connected., TICK: 40306. C0A80A04,It's path connected., TICK: 40306. C0A80A04,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A03,It's path connected., TICK: 40306. C0A80A01,It's path connected., TICK: 40306. C0A80A01,It's path connected., TICK: 40306. C0A80A0F,It's path connected., TICK: 40306. C0A80A0F,It's path connected., TICK: 40307. C0A80A04,It's path connected., TICK: 40310. C0A80A04,It's path connected., TICK: 40310. C0A80A03,It's path connected., TICK: 40310. C0A80A03,It's path connected., TICK: 40310. 没有更新开关状态导致状态是遗留状态。底层上需要实现维护数据的有效性，定时更新。

5.需要整理所有通讯数据类型定义与形式

6.转供电冲突，电源开关进线失压。

2018/7/10

- 要仔细分清各个变量传递关系。调度关系，变量传递关系 - 最近这两天在上面吃不少亏！ - 如果在数据接收部分判断，对于故障发起点没有问题，但是对于其他店，收不到自己的故障信息，无法进行判断。 - 如果在分布式判断，对于三点以上的由于优先级问题可能导致冲突。正在计算是，被打断重新计算。 - 考虑不能状态位之间的配合。 - 如果在解析中处理。

- 监控状态 - ID; - 类型; - 合分位; - 邻居; - 容量; - 故障; - 操作; - 超时; - 配电区域. - 合闸超时时间; - 分闸超时时间; - 后备保护启动时间.

- 3.对于末梢开关，直接分闸不再扩散，就没有隔离过程。

4. 1-3-5-7 5，7拒分

Virtual Node:0, ExecuteFunctioncode, Functioncode: 30. ID: C0A80A07, FAULT: 1， TICK:56850. ID: C0A80A05, FAULT: 1， TICK:56850. ID: C0A80A03, FAULT: 1， TICK:56850. ID: C0A80A01, FAULT: 1， TICK:56850. C0A80A07,Fault TransmitMessage, TICK: 56859. C0A80A07 :FROM: 21 TO: 22. TICK: 56859. C0A80A05,Fault TransmitMessage, TICK: 56859. C0A80A05 :FROM: 21 TO: 22. TICK: 56859. C0A80A03,Fault TransmitMessage, TICK: 56874. C0A80A03 :FROM: 21 TO: 22. TICK: 56874. C0A80A03 :FROM: 22 TO: 23. TICK: 56874. C0A80A03 :FROM: 23 TO: 26. TICK: 56874. C0A80A01,Fault TransmitMessage, TICK: 56875. C0A80A01 :FROM: 21 TO: 22. TICK: 56875. C0A80A08,Trigger TransmitMessage, TICK: 56888. C0A80A08 :FROM: 21 TO: 25. TICK: 56888. C0A80A06,Trigger TransmitMessage, TICK: 56889. C0A80A06 :FROM: 21 TO: 25. TICK: 56889. C0A80A04,Trigger TransmitMessage, TICK: 56889. C0A80A04 :FROM: 21 TO: 25. TICK: 56889. C0A80A02,Trigger TransmitMessage, TICK: 56889. C0A80A02 :FROM: 21 TO: 25. TICK: 56890. C0A80A07 :FROM: 22 TO: 23. TICK: 56914. C0A80A07,treatment open, TICK: 56914. C0A80A07 :FROM: 23 TO: 24. TICK: 56914. C0A80A05 :FROM: 22 TO: 23. TICK: 56915. C0A80A05 :FROM: 23 TO: 26. TICK: 56915. C0A80A01 :FROM: 22 TO: 23. TICK: 56916. C0A80A01 :FROM: 23 TO: 26. TICK: 56916. ID: C0A80A07, FAULT: 2， TICK:56951. ID: C0A80A07, SwitchState: 2. TICK:56951 C0A80A07,Removal Sucess, TICK: 56957. C0A80A07 :FROM: 24 TO: 91. TICK: 56957. C0A80A07 :FROM: 91 TO: FF. TICK: 56957. C0A80A05 :FROM: 26 TO: 91. TICK: 56967. C0A80A05 :FROM: 91 TO: FF. TICK: 56967. C0A80A08 :FROM: 25 TO: 31. TICK: 57057. C0A80A08 :FROM: 31 TO: FF. TICK: 57058. C0A80A06 :FROM: 25 TO: 31. TICK: 57058. C0A80A06 :FROM: 31 TO: FF. TICK: 57058. C0A80A04 :FROM: 25 TO: 31. TICK: 57058. C0A80A04 :FROM: 31 TO: FF. TICK: 57058. C0A80A02 :FROM: 25 TO: 31. TICK: 57058. C0A80A02 :FROM: 31 TO: FF. TICK: 57059. C0A80A03,backup overtime open, TICK: 57282. C0A80A03 :FROM: 26 TO: 27. TICK: 57282. ID: C0A80A03, FAULT: 2， TICK:57321. ID: C0A80A03, SwitchState: 2. TICK:57322 C0A80A03,Backup: Removal Sucess, TICK: 57322. C0A80A03 :FROM: 27 TO: 91. TICK: 57322. C0A80A03 :FROM: 91 TO: FF. TICK: 57322. C0A80A01,backup overtime open, TICK: 57323. C0A80A01 :FROM: 26 TO: 27. TICK: 57323. ID: C0A80A01, FAULT: 2， TICK:57362. ID: C0A80A01, SwitchState: 2. TICK:57362 C0A80A01,Backup: Removal Sucess, TICK: 57363. C0A80A01 :FROM: 27 TO: 91. TICK: 57363. C0A80A01 :FROM: 91 TO: FF. TICK: 57363. C0A80A0C,It's path connected., TICK: 57421.

5. switchProperty 是 0xC0A80A03。

2018/7/9

1、distributionArea->isGatherCompleted 值为0x28？？？

2、需要附加信息，传递所有变量，以备监控使用

3、通讯优先级，处理优先级关系！

4、 Virtual Node:0, ExecuteFunctioncode, Functioncode: 30 ID: C0A80A03, FAULT: 1， TICK:12509. ID: C0A80A01, FAULT: 1， TICK:12509. C0A80A03,Fault TransmitMessage, TICK: 12513. C0A80A03 :FROM: 21 TO: 22. TICK: 12513. C0A80A01,Fault TransmitMessage, TICK: 12513. C0A80A01 :FROM: 21 TO: 22. TICK: 12513. C0A80A05,Trigger TransmitMessage, TICK: 12524. C0A80A05 :FROM: 21 TO: 25. TICK: 12524. C0A80A04,Trigger TransmitMessage, TICK: 12524. C0A80A04 :FROM: 21 TO: 25. TICK: 12524. C0A80A02,Trigger TransmitMessage, TICK: 12525. C0A80A02 :FROM: 21 TO: 25. TICK: 12525. C0A80A03 :FROM: 22 TO: 23. TICK: 12535. C0A80A03 :FROM: 23 TO: 26. TICK: 12535. C0A80A01 :FROM: 22 TO: 23. TICK: 12535. C0A80A01 :FROM: 23 TO: 26. TICK: 12535. C0A80A04 :FROM: 25 TO: 31. TICK: 12685. C0A80A04 :FROM: 31 TO: FF. TICK: 12687. C0A80A03 :FROM: 26 TO: 27. TICK: 12687. C0A80A02 :FROM: 25 TO: 31. TICK: 12687. C0A80A02 :FROM: 31 TO: FF. TICK: 12687. C0A80A01 :FROM: 26 TO: 27. TICK: 12687. ID: C0A80A03, FAULT: 2， TICK:12725. ID: C0A80A03, SwitchState: 2. TICK:12727 ID: C0A80A01, FAULT: 2， TICK:12727. ID: C0A80A01, SwitchState: 2. TICK:12727 C0A80A03,Backup: Removal Sucess, TICK: 12728. C0A80A03 :FROM: 27 TO: 91. TICK: 12728. C0A80A03 :FROM: 91 TO: FF. TICK: 12728. C0A80A01,Backup: Removal Sucess, TICK: 12728. C0A80A01 :FROM: 27 TO: 91. TICK: 12728. C0A80A01 :FROM: 91 TO: FF. TICK: 12728. C0A80A05 :FROM: 25 TO: 31. TICK: 12738. C0A80A05 :FROM: 31 TO: FF. TICK: 12738. C0A80A0F,It's not path connected., TICK: 13165.

2018/7/8

1.首次隔离成功记录

total memory: 8388580 used memory : 97344 maximum allocated memory: 97344 msh />Virtual Node:0, ExecuteFunctioncode, Functioncode: 3 ID: C0A80A03, FAULT: 1. ID: C0A80A01, FAULT: 1. C0A80A03,Fault TransmitMessage, TICK: 13683. C0A80A03 :FROM: 21 TO: 22. TICK: 13683. C0A80A01,Fault TransmitMessage, TICK: 13683. C0A80A01 :FROM: 21 TO: 22. TICK: 13683. C0A80A05,Trigger TransmitMessage, TICK: 13693. C0A80A05 :FROM: 21 TO: 23. TICK: 13693. C0A80A04,Trigger TransmitMessage, TICK: 13693. C0A80A04 :FROM: 21 TO: 23. TICK: 13693. C0A80A02,Trigger TransmitMessage, TICK: 13693. C0A80A02 :FROM: 21 TO: 23. TICK: 13693. C0A80A03 :FROM: 22 TO: 24. TICK: 13703. C0A80A03 :FROM: 24 TO: 25. TICK: 13703. C0A80A03 :FROM: 25 TO: 27. TICK: 13703. C0A80A01 :FROM: 22 TO: 24. TICK: 13703. C0A80A01 :FROM: 24 TO: 25. TICK: 13703. C0A80A01 :FROM: 25 TO: 27. TICK: 13703. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03,Backup Removal Sucess, TICK: 13753. C0A80A03 :FROM: 27 TO: 91. TICK: 13753. C0A80A03 :FROM: 91 TO: FF. TICK: 13753. C0A80A01,Backup Removal Sucess, TICK: 13753. C0A80A01 :FROM: 27 TO: 91. TICK: 13753. C0A80A01 :FROM: 91 TO: FF. TICK: 13753. C0A80A05 :FROM: 23 TO: 51. TICK: 13853. C0A80A04 :FROM: 23 TO: 31. TICK: 13853. C0A80A04 :FROM: 31 TO: FF. TICK: 13853. C0A80A02 :FROM: 23 TO: 31. TICK: 13853. C0A80A02 :FROM: 31 TO: FF. TICK: 13853. C0A80A05,Insulate SUCCESS, TICK: 13929. C0A80A05 :FROM: 51 TO: 91. TICK: 13929. C0A80A05 :FROM: 91 TO: FF. TICK: 13929. ID: C0A80A05, SwitchState: 2.

2.内存使用情况分析

memory total: 8388580, used:99552, maxused: 99552 memory total: 8388580, used:100368, maxused: 100368 （+816） memory total: 8388580, used:100276, maxused: 100732 （-92） memory total: 8388580, used:100008, maxused: 100732 （-268） +456 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100008, maxused: 100732 memory total: 8388580, used:100464, maxused: 100732 （+456） memory total: 8388580, used:100468, maxused: 101120 （+4） memory total: 8388580, used:100104, maxused: 101120 （-364） +96 ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100104, maxused: 101120 memory total: 8388580, used:100560, maxused: 101120 （+456） memory total: 8388580, used:100580, maxused: 101232 （+20） memory total: 8388580, used:100200, maxused: 101232 （-380） （+96） ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100200, maxused: 101232 memory total: 8388580, used:100656, maxused: 101232 （+456） memory total: 8388580, used:100580, maxused: 101232 （-76） memory total: 8388580, used:100296, maxused: 101232 （-284） （+96） ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100296, maxused: 101232 memory total: 8388580, used:100752, maxused: 101232 （+456） memory total: 8388580, used:100780, maxused: 101432 （+28） memory total: 8388580, used:100392, maxused: 101432 （-380） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100392, maxused: 101432 memory total: 8388580, used:100848, maxused: 101432 （+456） memory total: 8388580, used:100892, maxused: 101544 （+44） memory total: 8388580, used:100488, maxused: 101544 （-404） （+96） ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100488, maxused: 101544 memory total: 8388580, used:100944, maxused: 101544 （+456） memory total: 8388580, used:100892, maxused: 101544 （-52） memory total: 8388580, used:100584, maxused: 101544 （-308） （+96） ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100584, maxused: 101544 memory total: 8388580, used:101040, maxused: 101544 （+456） memory total: 8388580, used:101092, maxused: 101744 （+52） memory total: 8388580, used:100708, maxused: 101744 （-384） （+124） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100708, maxused: 101744 memory total: 8388580, used:101164, maxused: 101744 （+456） memory total: 8388580, used:101204, maxused: 101856 （+40） memory total: 8388580, used:100804, maxused: 101856 （-400） （+96） ID:C0A80A04, isn't connect swtich.

更详细判断

msh /> memory total: 8388580, used:99760, maxused: 99796 memory total: 8388580, used:99760, maxused: 99796 memory total: 8388580, used:100216, maxused: 100216 （+456） memory total: 8388580, used:100676, maxused: 100872 （+460） memory total: 8388580, used:100220, maxused: 100872 （-456） memory total: 8388580, used:100220, maxused: 100872 （0） memory total: 8388580, used:99856, maxused: 100872 （-364） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:99856, maxused: 100872 memory total: 8388580, used:99856, maxused: 100872 memory total: 8388580, used:100312, maxused: 100872 memory total: 8388580, used:100788, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:99952, maxused: 100984 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:99952, maxused: 100984 memory total: 8388580, used:99952, maxused: 100984 memory total: 8388580, used:100408, maxused: 100984 memory total: 8388580, used:100788, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100332, maxused: 100984 memory total: 8388580, used:100048, maxused: 100984 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100048, maxused: 100984 memory total: 8388580, used:100048, maxused: 100984 memory total: 8388580, used:100504, maxused: 100984 （+456） memory total: 8388580, used:100988, maxused: 101184 （+484） memory total: 8388580, used:100532, maxused: 101184 （-456） memory total: 8388580, used:100532, maxused: 101184 0 memory total: 8388580, used:100144, maxused: 101184 （-388） （+96） ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100144, maxused: 101184 memory total: 8388580, used:100144, maxused: 101184 memory total: 8388580, used:100600, maxused: 101184 memory total: 8388580, used:101100, maxused: 101296 memory total: 8388580, used:100644, maxused: 101296 memory total: 8388580, used:100644, maxused: 101296 memory total: 8388580, used:100240, maxused: 101296 ID:C0A80A04, isn't connect swtich. 添加比较

memory total: 8388580, used:99840, maxused: 99840 memory total: 8388580, used:99840, maxused: 99840 memory total: 8388580, used:100296, maxused: 100296 memory total: 8388580, used:100328, maxused: 100328 （+32） FreeBFSHelper: start:memory total: 8388580, used:100524, maxused: 100524 （+196） FreeBFSHelper: memory total: 8388580, used:100328, maxused: 100524 （-196） memory total: 8388580, used:100360, maxused: 100524 （+32） FreeBFSHelper: start:memory total: 8388580, used:100700, maxused: 100700 （+340） memory total: 8388580, used:100756, maxused: 100756 【释放不是问题】 （+56）[32+24] FreeBFSHelper: start:memory total: 8388580, used:100952, maxused: 100952 FreeBFSHelper: memory total: 8388580, used:100756, maxused: 100952 memory total: 8388580, used:100756, maxused: 100952 memory total: 8388580, used:100300, maxused: 100952 (-456) memory total: 8388580, used:100300, maxused: 100952 memory total: 8388580, used:99936, maxused: 100952 (-364) (+96) = 32*3 这是原因！ ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:99936, maxused: 100952 memory total: 8388580, used:99936, maxused: 100952 memory total: 8388580, used:100392, maxused: 100952 memory total: 8388580, used:100424, maxused: 100952 FreeBFSHelper: start:memory total: 8388580, used:100780, maxused: 100952 memory total: 8388580, used:100836, maxused: 100952 FreeBFSHelper: start:memory total: 8388580, used:101032, maxused: 101032 FreeBFSHelper: memory total: 8388580, used:100836, maxused: 101032 memory total: 8388580, used:100868, maxused: 101032 FreeBFSHelper: start:memory total: 8388580, used:101064, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100032, maxused: 101064 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100032, maxused: 101064 memory total: 8388580, used:100032, maxused: 101064 memory total: 8388580, used:100488, maxused: 101064 memory total: 8388580, used:100520, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100716, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100520, maxused: 101064 memory total: 8388580, used:100552, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100748, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100552, maxused: 101064 memory total: 8388580, used:100584, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100844, maxused: 101064 memory total: 8388580, used:100868, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100412, maxused: 101064 memory total: 8388580, used:100128, maxused: 101064 ID:C0A80A01, isn't connect swtich. memory total: 8388580, used:100128, maxused: 101064 memory total: 8388580, used:100128, maxused: 101064 memory total: 8388580, used:100584, maxused: 101064 memory total: 8388580, used:100616, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:100820, maxused: 101064 FreeBFSHelper: memory total: 8388580, used:100616, maxused: 101064 memory total: 8388580, used:100648, maxused: 101064 FreeBFSHelper: start:memory total: 8388580, used:101012, maxused: 101064 memory total: 8388580, used:101068, maxused: 101068 FreeBFSHelper: start:memory total: 8388580, used:101264, maxused: 101264 FreeBFSHelper: memory total: 8388580, used:101068, maxused: 101264 memory total: 8388580, used:101068, maxused: 101264 memory total: 8388580, used:100612, maxused: 101264 memory total: 8388580, used:100612, maxused: 101264 memory total: 8388580, used:100224, maxused: 101264 ID:C0A80A08, isn't connect swtich. memory total: 8388580, used:100224, maxused: 101264 memory total: 8388580, used:100224, maxused: 101264 memory total: 8388580, used:100680, maxused: 101264 memory total: 8388580, used:100712, maxused: 101264 FreeBFSHelper: start:memory total: 8388580, used:101092, maxused: 101264 memory total: 8388580, used:101148, maxused: 101264 FreeBFSHelper: start:memory total: 8388580, used:101344, maxused: 101344 FreeBFSHelper: memory total: 8388580, used:101148, maxused: 101344 memory total: 8388580, used:101180, maxused: 101344 FreeBFSHelper: start:memory total: 8388580, used:101376, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100320, maxused: 101376 ID:C0A80A04, isn't connect swtich. memory total: 8388580, used:100320, maxused: 101376 memory total: 8388580, used:100320, maxused: 101376 memory total: 8388580, used:100776, maxused: 101376 memory total: 8388580, used:100808, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101024, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:100808, maxused: 101376 memory total: 8388580, used:100840, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101072, maxused: 101376 FreeBFSHelper: memory total: 8388580, used:100840, maxused: 101376 memory total: 8388580, used:100872, maxused: 101376 FreeBFSHelper: start:memory total: 8388580, used:101156, maxused: 101376 memory total: 8388580, used:101180, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100724, maxused: 101376 memory total: 8388580, used:100416, maxused: 101376 ID:C0A80A01, isn't connect swtich.

后经查已经分配重复分配导致！ *helper = (BFSHelper*)MALLOC(sizeof(BFSHelper)); if (*helper == NULL) { return ERROR_MALLOC; }

- Dsds - ID: C0A80A10, FAULT: 1. - ID: C0A80A0D, FAULT: 1. - C0A80A10,Fault TransmitMessage, TICK: 77807. - C0A80A10 :FROM: 21 TO: 22. TICK: 77807. - C0A80A0D,Fault TransmitMessage, TICK: 77807. - C0A80A0D :FROM: 21 TO: 22. TICK: 77807. - C0A80A11,Trigger TransmitMessage, TICK: 77817. - C0A80A11 :FROM: 21 TO: 23. TICK: 77817. - C0A80A0F,Trigger TransmitMessage, TICK: 77817. - C0A80A0F :FROM: 21 TO: 23. TICK: 77817. - C0A80A0E,Trigger TransmitMessage, TICK: 77817. - C0A80A0E :FROM: 21 TO: 23. TICK: 77817. - C0A80A10 :FROM: 22 TO: 24. TICK: 77827. - C0A80A10 :FROM: 24 TO: 25. TICK: 77827. - C0A80A10 :FROM: 25 TO: 27. TICK: 77827. - C0A80A0D :FROM: 22 TO: 24. TICK: 77827. - C0A80A0D :FROM: 24 TO: 25. TICK: 77827. - C0A80A0D :FROM: 25 TO: 27. TICK: 77827. - ID: C0A80A10, FAULT: 2. - ID: C0A80A10, SwitchState: 2. - ID: C0A80A0D, FAULT: 2. - ID: C0A80A0D, SwitchState: 2. - C0A80A10,Backup Removal Sucess, TICK: 77877. - C0A80A10 :FROM: 27 TO: 91. TICK: 77877. - C0A80A10 :FROM: 91 TO: FF. TICK: 77877. - C0A80A0D,Backup Removal Sucess, TICK: 77877. - C0A80A0D :FROM: 27 TO: 91. TICK: 77877. - C0A80A0D :FROM: 91 TO: FF. TICK: 77877. - ID:C0A80A11, isn't connect swtich. - ID:C0A80A10, isn't connect swtich. - ID:C0A80A0D, isn't connect swtich. - ID:C0A80A0B, isn't connect swtich. - ID:C0A80A08, isn't connect swtich. - ID:C0A80A04, isn't connect swtich. - ID:C0A80A01, isn't connect swtich. - C0A80A11 :FROM: 23 TO: 31. TICK: 77977. - C0A80A11 :FROM: 31 TO: FF. TICK: 77977. - C0A80A0F :FROM: 23 TO: 31. TICK: 77977. - C0A80A0F :FROM: 31 TO: FF. TICK: 77977. - C0A80A0E :FROM: 23 TO: 31. TICK: 77977. - C0A80A0E :FROM: 31 TO: FF. TICK: 77977. - ID:C0A80A11, isn't connect swtich.

- 4.理清判断故障与收集，以及后备保护的需要之间的关系

2018/7/7

1. switch 0 id:0xc0a80a0d ip: 192:168:10:13 neighrbour num 3 neighrbour 0 id:0xc0a80a0e, ip: 192:168:10:14 neighrbour 1 id:0xc0a80a0f, ip: 192:168:10:15 neighrbour 2 id:0xc0a80a10, ip: 192:168:10:16 memory total: 8388580, used:70148, maxused: 70180 STATION:C0A80A0E, Code: 1. Tick: 23865 reserialize error, error code:{ 23 } toplogy id: 0xc0a80a0e, ip: 192:168:10:14 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a0e ip: 192:168:10:14 neighrbour num 3 neighrbour 0 id:0xc0a80a0d, ip: 192:168:10:13 neighrbour 1 id:0xc0a80a0f, ip: 192:168:10:15 neighrbour 2 id:0xc0a80a10, ip: 192:168:10:16 memory total: 8388580, used:70148, maxused: 70180 STATION:C0A80A0F, Code: 1. Tick: 23875

15:09:42 Recive: FROM：A08, TO:A0E, FUNCODE:1, ValidData:01 0E 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A0F, FUNCODE:1, ValidData:01 0F 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A10, FUNCODE:1, ValidData:01 10 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A11, FUNCODE:1, ValidData:01 11 0A A8 C0 01 15:09:42 Recive: FROM：A08, TO:A12, FUNCODE:1, ValidData:01 12 0A A8 C0 01 15:09:43 Recive: FROM：A08, TO:A13, FUNCODE:1, ValidData:01 13 0A A8 C0 01 数据错误 return MakeSimpleMessage(GET_MESSAGE, id, (uint8_t)cmd, packet); 修改错误

3. 需要多次获取，才能得到错误信息GET_MESSAGE

4. m_foreach 是 nullptr。

ErrorCode SetConnectPath(uint32_t id, PathConnected isSet, StationTopology* toplogy) { CHECK_POINT_RETURN_LOG(toplogy, NULL, ERROR_NULL_PTR, 0); List* list = &(toplogy->connectPath); FOR_EARCH_LIST_START(list); uint32_t getID = *(uint32_t*)list_data(m_foreach); if (getID == id) { if (isSet == CANCER_PATH_CONNECT) { uint32_t* pid; list_rem_next(list, m_foreach->prev, &pid); SafeFree(pid); return ERROR_NULL; } } FOR_EARCH_LIST_END();

跳闸顺序 C0A80A13: CONTROL_REMOVAL_RESET. ID: C0A80A03, FAULT: 1. ID: C0A80A01, FAULT: 1. C0A80A03,Fault TransmitMessage, TICK: 24221. C0A80A03 :FROM: 21 TO: 22. TICK: 24222. C0A80A01,Fault TransmitMessage, TICK: 24222. C0A80A01 :FROM: 21 TO: 22. TICK: 24222. C0A80A05,Trigger TransmitMessage, TICK: 24245. C0A80A05 :FROM: 21 TO: 23. TICK: 24245. C0A80A04,Trigger TransmitMessage, TICK: 24245. C0A80A04 :FROM: 21 TO: 23. TICK: 24245. C0A80A02,Trigger TransmitMessage, TICK: 24247. C0A80A02 :FROM: 21 TO: 23. TICK: 24247. C0A80A03 :FROM: 22 TO: 24. TICK: 24257. C0A80A03 :FROM: 24 TO: 26. TICK: 24257. C0A80A01 :FROM: 22 TO: 24. TICK: 24257. C0A80A01 :FROM: 24 TO: 25. TICK: 24257. C0A80A01 :FROM: 25 TO: 27. TICK: 24257. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 26 TO: 92. TICK: 24308. C0A80A03 :FROM: 92 TO: FF. TICK: 24309. C0A80A01 :FROM: 27 TO: 91. TICK: 24309. C0A80A01 :FROM: 91 TO: FF. TICK: 24309. C0A80A05 :FROM: 23 TO: 31. TICK: 24409. C0A80A05 :FROM: 31 TO: FF. TICK: 24409. C0A80A04 :FROM: 23 TO: 31. TICK: 24409. C0A80A04 :FROM: 31 TO: FF. TICK: 24409. C0A80A02 :FROM: 23 TO: 31. TICK: 24409. C0A80A02 :FROM: 31 TO: FF. TICK: 24409. memory total: 8388580, used:98052, maxused: 98840 memory total: 8388580, used:C0A80A0F,It's not path connected., TICK: 25050. C0A80A0D,It's not path connected., TICK: 25051. C0A80A01,It's not path connected., TICK: 25051. 98148, maxused: 98840

5.异常

0x013789C9 处有未经处理的异常(在 vs.exe 中): 0xC0000005: 读取位置 0x00000001 时发生访问冲突。 如有适用于此异常的处理程序，该程序便可安全地继续运行。

ErrorCode FindSwitchNodeByID(const List* listNeighboorSwitch, uint32_t id, SwitchProperty** find) { CHECK_POINT_RETURN_LOG(listNeighboorSwitch, NULL, ERROR_NULL_PTR, 0); FOR_EARCH_LIST_START(listNeighboorSwitch); if (GET_SWITCH_ELEMENT(m_foreach)->id == id) { *find = GET_SWITCH_ELEMENT(m_foreach); return ERROR_NULL; } FOR_EARCH_LIST_END(); return ERROR_UNFIND; }

修改后再次出现问题！

6.添加已经覆盖

C0A80A01 :FROM: 25 TO: 27. TICK: 13048. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 27 TO: 91. TICK: 13099. C0A80A03 :FROM: 91 TO: FF. TICK: 13099. C0A80A01 :FROM: 27 TO: 91. TICK: 13099. C0A80A01 :FROM: 91 TO: FF. TICK: 13105. C0A80A0F,It's not path connected., TICK: 13132. C0A80A0D,It's path connected., TICK: 13133. C0A80A0C,It's path connected., TICK: 13133. C0A80A09,It's not path connected., TICK: 13133. C0A80A05,It's not path connected., TICK: 13134. C0A80A03,It's not path connected., TICK: 13134. C0A80A01,It's path connected., TICK: 13138. C0A80A01,It's not path connected., TICK: 13140. toplogy id: 0xc0a80a06, ip: 192:168:10:6 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a06 ip: 192:168:10:6 neighrbour num 3 neighrbour 0 id:0xc0a80a05, ip: 192:168:10:5 neighrbour 1 id:0xc0a80a07, ip: 192:168:10:7 neighrbour 2 id:0xc0a80a08, ip: 192:168:10:8 memory total: 8388580, used:97152, maxused: 97404 toplogy id: 0xc0a80a07, ip: 192:168:10:7 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a07 ip: 192:168:10:7 neighrbour num 3 neighrbour 0 id:0xc0a80a05, ip: 192:168:10:5 neighrbour 1 id:0xc0a80a06, ip: 192:168:10:6 neighrbour 2 id:0xc0a80a08, ip: 192:168:10:8 memory total: 8388580, used:97328, maxused: 97404 C0A80A05 :FROM: 23 TO: 31. TICK: 13186. C0A80A05 :FROM: 31 TO: FF. TICK: 13186. C0A80A04 :FROM: 23 TO: 31. TICK: 13186. C0A80A04 :FROM: 31 TO: FF. TICK: 13186. C0A80A02 :FROM: 23 TO: 31. TICK: 13186. C0A80A02 :FROM: 31 TO: FF. TICK: 13186. toplogy id: 0xc0a80a08, ip: 192:168:10:8

C0A80A01 :FROM: 24 TO: 25. TICK: 19470. C0A80A01 :FROM: 25 TO: 27. TICK: 19470. ID: C0A80A03, FAULT: 2. ID: C0A80A03, SwitchState: 2. ID: C0A80A01, FAULT: 2. ID: C0A80A01, SwitchState: 2. C0A80A03 :FROM: 27 TO: 91. TICK: 19521. C0A80A03 :FROM: 91 TO: FF. TICK: 19521. C0A80A01 :FROM: 27 TO: 91. TICK: 19521. C0A80A01 :FROM: 91 TO: FF. TICK: 19522. memory total: 8388580, used:103760, maxused: 104576 memory total: 8388580, used:103872, maxused: 104576 ID:C0A80A03, isn't connect swtich. memory total: 8388580, used:103872, maxused: 104576 memory total: 8388580, used:103968, maxused: 104672 ID:C0A80A01, isn't connect swtich. C0A80A0F,It's not path connected., TICK: 19589. C0A80A0D,It's path connected., TICK: 19589. C0A80A0C,It's path connected., TICK: 19589. C0A80A09,It's not path connected., TICK: 19590. C0A80A05,It's not path connected., TICK: 19590. C0A80A03,It's not path connected., TICK: 19590. C0A80A01,It's path connected., TICK: 19592. C0A80A01,It's not path connected., TICK: 19592. C0A80A05 :FROM: 23 TO: 31. TICK: 19612. C0A80A05 :FROM: 31 TO: FF. TICK: 19612. C0A80A04 :FROM: 23 TO: 31. TICK: 19612. C0A80A04 :FROM: 31 TO: FF. TICK: 19613. C0A80A02 :FROM: 23 TO: 31. TICK: 19613. C0A80A02 :FROM: 31 TO: FF. TICK: 19615. memory total: 8388580, used:103584, maxused: 104672

新问题：在运行保护时，不能更新连接路径，否则会导致判别错误。

2018/7/6

1.错误提示

Local Node Message: toplogy id: 0xc0a80a12, ip: 192:168:10:18 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a12 ip: 192:168:10:18 neighrbour num 2 neighrbour 0 id:0xc0a80a11, ip: 192:168:10:17 neighrbour 1 id:0xc0a80a13, ip: 192:168:10:19 memory total: 8388580, used:89240, maxused: 89240 Neighbour Node Message: switch id:0xc0a80a13 ip: 192:168:10:19 neighrbour count: 3 neighrbour 0 id:0xc0a80a11, ip: 192:168:10:17 neighrbour 1 id:0xc0a80a12, ip: 192:168:10:18 neighrbour 2 id:0xc0a80a0b, ip: 192:168:10:11 switch id:0xc0a80a11 ip: 192:168:10:17 neighrbour count: 3 neighrbour 0 id:0xc0a80a10, ip: 192:168:10:16 neighrbour 1 id:0xc0a80a12, ip: 192:168:10:18 neighrbour 2 id:0xc0a80a13, ip: 192:168:10:19 to free a bad data block: mem: 0x007f5d20, used flag: 0, magic code: 0x1ea0 (mem->used) assertion failed at function:rt_free, line number:589

if (areaNum == 1) { SwitchProperty* deleteElement; ListElmt* element = list_head(listArea); ListElmt* lastElement = element; uint8_t size = list_size(listArea); for(; size-- ;) { if (element != NULL) { if (GET_SWITCH_ELEMENT(element)->state == SWITCH_OPEN) { if (list_is_head(listArea, lastElement)) { list_rem_next(listArea, NULL, (void**)&deleteElement); } else { list_rem_next(listArea, lastElement, (void**)&deleteElement); } } lastElement = element; element = element->next; } }

0x002B698F 处有未经处理的异常(在 vs.exe 中): 0xC0000005: 读取位置 0x00000008 时发生访问冲突。 如有适用于此异常的处理程序，该程序便可安全地继续运行。

2018/7/5

1.数组超标

Run-Time Check Failure #2 - Stack around the variable 'queueBuffer' was corrupted. 数组溢出，由 10到32正常

- 内存泄漏 - 多了120字节

2018/7/4

1.

helper size : 17. C0A80A14,C0A80A13,C0A80A12,C0A80A10,C0A80A0F,C0A80A0E,C0A80A0D,C0A80A0C,C0A80A0A,C0A80A09,C0A80A06,C0A80A05,C0A80A03,C0A80A02,C0A80A01,C0A80A07,C0A80A08, helper edgeTo: 0,0,0,0,0,0,0,9,9,16,16,16,11,12,12,16,0, helper path: 16,11,12,14, memory total: 8388580, used:16900, maxused: 16900 【C0A80A08，C0A80A05，C0A80A03, C0A80A01】 helper size : 17. C0A80A0C,C0A80A14,C0A80A13,C0A80A12,C0A80A10,C0A80A0F,C0A80A0E,C0A80A0D,C0A80A0A ,C0A80A09,C0A80A06,C0A80A05,C0A80A03,C0A80A02,C0A80A01,C0A80A07,C0A80A08, helper edgeTo: 9,0,0,0,0,0,0,0,9,16,16,16,11,12,12,16,0, helper path: 16,9,0, 【C0A80A08，C0A80A09,C0A80A12】

2018/7/3

1. 关于W5500 UDP接收调试纪要

1) 6/28 晚上开始进行调试（19:00--22:00） 当时与向然进行联调，主要是熟悉程序逻辑，加入测试函数，后台打印输出，测试任务占比。 对于单独的终端接收，没有ms事件的情况，能够正常接收，且不丢包（60000个/ms）.但是只要加入1 ms事件就丢包，而且是大面积丢失，即使拉大ms间隔，如5ms。接收打印对其有影响需要改到后台中。 从占空比上看，正常工作下。占比为16%。 一旦有接收任务 16% + 43%（增加）总共占比59%

有接收，有ms事件的情况。说明进入即退出即重新进入。

- 后测试中断数与接收数不一致，按照推理，应该后者大于前者。实际要小很多。 - 到22:00 今天到此为止。 - 今天考虑几个问题：（1）加入ms事件对于CPU负载的影响。（2）执行当前任务时执行调度，会不会调度任务。——不会，调度时只向优先级高的任务调度。相等等级不调度。 - （3）需要重点处理中断数与接收数不一致的情况。

- 3）2018/7/2 9:00--21:00 - 理清思路，发现 - ）把清除标志位放置于中断中发现老是进入无休止发送等待，试了几下遂放弃。 - ）后关中断，发现直接死机，原因不明。 - ）后加入do {}while（）增加响应速度，有起色，甚至出现连续多次测试不掉包的现象。但后来测试有出现丢包。丢包数量有所下降。 - ）测试重新上电，首次一般能通过后来不正常，怀疑驱动。 - ）16:00 感觉驱动有问题，对照半天，确实有漏洞，后修改。感觉不放心，又想把自己的驱动移植过来，移植一部分，发现大量名称重复函数，遂放弃。 - ）包括之前发现死机发生在发送标志位时候，怀疑重复调用，加检测不起效果。 - ）添加关闭接收中断 - ）偶然发现通讯关闭Close。发现少breakler - ）在中断里清除标志位，一切正常，后发现不在中断清除有问题。

2018/6/30

1.建立跟踪日志体系，先修路！

2.异常信息获取以后，再添加一个通用提示（字符串信息），基本上皆可以囊括大部分情况。

2018/6/27

1.昨天问题整理描述：在VC++仿真正常，但是在嵌入式式除了语法更为严格以外的其它错误，以输出打印异常，定时器异常居多，应该是底层配置冲突导致。有些问题以前就有如heap over stack。

void rt_malloc_sethook(void (*hook)(void *ptr, rt_uint32_t size));

void rt_malloc_sethook(void (*hook)(void *ptr, rt_size_t size)) 修改了头文件定义。 其它通过，distribution 没有通过

问题依旧。。。

就是在这翻车。。

取消进入临界区设置，能够正常打印输出。重复了之前的问题

Local Node Message: toplogy id: 0xc0psr: 0x00000000 pc: 0xfffffffe lr: 0x20002956 r12: 0x20001b20 r03: 0xffffffff r02: 0x00000002 r01: 0x200028ff r00: 0x0000000a hard fault on thread: switch

//rt_enter_critical(); // while(*str!='\0') // { // if(*str=='\n') // { // USART6->DR = (u8) '\r'; // while((USART6->SR&0X40)==0); // } // USART6->DR =*str++; // while((USART6->SR&0X40)==0); // } // rt_exit_critical();

以上注销，会导致 #ifdef RT_USING_OVERFLOW_CHECK static void _rt_scheduler_stack_check(struct rt_thread *thread) { RT_ASSERT(thread != RT_NULL); if (*((rt_uint8_t *)thread->stack_addr) != '#' ¦¦ (rt_uint32_t)thread->sp <= (rt_uint32_t)thread->stack_addr ¦¦ (rt_uint32_t)thread->sp > (rt_uint32_t)thread->stack_addr + (rt_uint32_t)thread->stack_size) { rt_uint32_t level; rt_kprintf("thread:%s stack overflow\n", thread->name); #ifdef RT_USING_FINSH { extern long list_thread(void); list_thread(); } #endif level = rt_hw_interrupt_disable(); while (level); } else if ((rt_uint32_t)thread->sp <= ((rt_uint32_t)thread->stack_addr + 32)) { rt_kprintf("warning: %s stack is close to end of stack address.\n", thread->name); } } #endif 停留在黄色位置

#define RT_USING_HOOK 加上 调大堆栈256-1024 能正常使用了。。。

教训：1.简单升级不能彻底解决问题2.11-3.03，需要注意配置情况 - 配置情况具有关联性！ - 分析好情况，这次证明了基本语法和方式是没有问题的！

- 测试需要 - 1）计算时间，整理后备保护正确与否

- 3.出现一个多次下载bug，重复问题

无锁环形队列是什么

- 建立综合测试监控通道 - 1）使用nanopb，具体作为数据载体。 - 2）适适用于分布式多点通信，能够灵活适应485,232，以太网组网 - 3）对需要信息进行代号化，减少资源占用。

- 代号化信息 - 1）拓扑信息 - 2）状态信息 - 3）中间过程记录，日志系统！ - 日志系统内容： - rt_kprintf("DATA:%s,file: %s, %s, %d\n",__DATE__, __FILE__, __FUNCTION__, __LINE__); - 错误记录： - 函数（字符串），行数（整形），自定义错误代码（整形），tick（可选）

2018/6/26

1.有效数据

通讯更改处理机制以后，速度提高很多，之前轮询延时太大。还以为是系统问题。

2.通信的优先级问题，需要处理不同通信优先级问题，以在处理重要任务时，屏蔽其他任务。

- 全局邻居列表数量不对？对于状态信息更新，应该从全局里面找还是邻居里面找？ - 对于普通状态信息，应该从全局以便掌握全体状态。二队故障判别？

- 4.需要添加一个检验区

- 5.const 需要从底层开始

- 6.嵌入式异常

- thread router start. - thread comself start. - thread communication start. - psr: 0x61000000 - pc: 0xdeadbeee - lr: 0x0800623d - r12: 0x00000000 - r03: 0x00000005 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000

- 两断电之间进入中断。取消LL_mDelay(10)正常

- 打印输出异常。

- psr: 0x00000040 - pc: 0x20002672 - lr: 0x20003430 - r12: 0x00000000 - r03: 0x00000001 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000 - hard fault on thread: comself - 加大串口缓冲加大到1024问题依旧 - 加大Comself缓冲问题依旧 - 开启堆检测 - psr: 0x00000040 - pc: 0x200025f2 - lr: 0x20003430 - r12: 0x00000000 - r03: 0x00000001 - r02: 0x20000054 - r01: 0x10000000 - r00: 0x00000000 - hard fault on thread: comself - \0 - \ ¦ / - thread:heap stack overflow - \0

- 改成100K - thread:heap stack overflow - \0sr: 0x00000000 - thread: stack overflow - \0sr: 0x00000000 - thread: stack overflow - 关了stack over check 可以正常打印了！！！

- toplogy id: 0xc0a80a01, ip: 192:168:10:1 - psr: 0x41000000 - pc: 0x20002754 - lr: 0x08006349 - r12: 0xfffffffe - r03: 0x000000c8 - r02: 0x00000000 - r01: 0x00004000 - r00: 0x00000000 - hard fault on thread: switch - 又是打印前后异常！

2018/6/25

1.先修路，把状态量回显弄好。

2.为了能够提供复用率，需要减去不要的函数。

3.bool 需要改名，可能与C++实际冲突，可以考虑使用stdbool

5. Dll 需要使用realeas 64bit版本

3.中哪一个的参数 实现多种传输！

[StructLayout(LayoutKind.Sequential)] public struct ComselfMessage { public UInt16 sourceAddress; //地址 public UInt16 destAdrress; //目的地址 public byte funcode; //功能代码 public UInt16 datalen; //数据长度 //[MarshalAs(UnmanagedType.ByValArray, SizeConst = 200)] //public byte[] validData;//有效数据最长为200 #define FRAME_MESSAGE_MAX 200 public IntPtr validDataPtr; public byte completeFlag; //0-未完成 }

2018/6/23

1.2-2-2 阵型通讯记录

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 和昨天一样，现在是两遍？为什么？ 超时发送

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 02 53 A5 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 02 53 A5 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 02 0C 27 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 02 01 E6 1A

需要上位机实时呈现下面状态。。。

正确的故障处理方式： 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 03 0A FF FF 07 01 03 0A A8 C0 02 01 00 00 CD A6 1A 65 A6 09 00 A6 65 02 0A FF FF 07 01 02 0A A8 C0 02 01 00 00 C0 67 1A

2018/6/22

1. 1,2分析

65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 17 00 A6 65 02 0A 01 0A 03 01 01 15 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 01 01 0A A8 C0 B6 04 3F 9B 1A 65 A6 17 00 A6 65 01 0A 02 0A 03 01 01 15 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 01 02 0A A8 C0 B4 04 9B C2 1A

2. 2-2-2，相互通信正常

65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 1B 00 A6 65 01 0A 03 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 0D 72 1A 65 A6 1B 00 A6 65 03 0A 02 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 00 B4 1A 65 A6 1B 00 A6 65 02 0A 03 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 C0 2A 1A 65 A6 1B 00 A6 65 02 0A 01 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 60 28 1A 65 A6 1B 00 A6 65 01 0A 02 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 5D 73 1A 65 A6 1B 00 A6 65 03 0A 01 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 F0 B7 1A

3.在之上添加一个

65 A6 06 00 A6 65 04 0A 01 0A 02 01 01 0A A8 C0 01 DA 87 1A 65 A6 06 00 A6 65 04 0A 02 0A 02 01 02 0A A8 C0 01 2A D7 1A 65 A6 06 00 A6 65 04 0A 03 0A 02 01 03 0A A8 C0 01 7A E7 1A 65 A6 1B 00 A6 65 01 0A 04 0A 03 01 01 19 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 02 02 0A A8 C0 03 0A A8 C0 2E 06 FD 76 1A 65 A6 1B 00 A6 65 02 0A 04 0A 03 01 01 19 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 02 01 0A A8 C0 03 0A A8 C0 30 06 30 2E 1A 65 A6 1B 00 A6 65 03 0A 04 0A 03 01 01 19 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 02 01 0A A8 C0 02 0A A8 C0 32 06 A0 B1 1A

4. 3-3-3-3队列

65 A6 06 00 A6 65 04 0A 01 0A 02 01 01 0A A8 C0 01 DA 87 1A 65 A6 06 00 A6 65 04 0A 02 0A 02 01 02 0A A8 C0 01 2A D7 1A 65 A6 06 00 A6 65 04 0A 03 0A 02 01 03 0A A8 C0 01 7A E7 1A 65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FE 6E 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 02 0A 04 0A 02 01 04 0A A8 C0 01 02 6A 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 01 0A 04 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 60 F3 1A 65 A6 1F 00 A6 65 02 0A 04 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 21 73 1A 65 A6 1F 00 A6 65 04 0A 03 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 75 7D 1A 65 A6 1F 00 A6 65 03 0A 04 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 5A 5F 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 63 F2 1A 65 A6 1F 00 A6 65 03 0A 02 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 B4 5F 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 22 72 1A 65 A6 1F 00 A6 65 04 0A 02 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 98 7C 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 01 0A 02 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 8E F3 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A 65 A6 06 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AE 9D 1A 65 A6 06 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5E CD 1A 65 A6 06 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FE 6E 1A 65 A6 06 00 A6 65 02 0A 01 0A 02 01 01 0A A8 C0 01 52 99 1A 65 A6 06 00 A6 65 02 0A 03 0A 02 01 03 0A A8 C0 01 F2 F9 1A 65 A6 06 00 A6 65 02 0A 04 0A 02 01 04 0A A8 C0 01 02 6A 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 06 00 A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 63 F2 1A 65 A6 1F 00 A6 65 03 0A 02 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 B4 5F 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 22 72 1A 65 A6 1F 00 A6 65 04 0A 03 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 75 7D 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 01 0A 02 0A 03 01 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 8E F3 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 02 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 98 7C 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 B8 73 1A 65 A6 1F 00 A6 65 03 0A 01 0A 03 01 01 1D 00 03 0A A8 C0 01 01 03 0A A8 C0 43 01 03 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 AD 07 C3 5F 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A 65 A6 1F 00 A6 65 04 0A 01 0A 03 01 01 1D 00 04 0A A8 C0 01 01 04 0A A8 C0 45 01 03 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 B0 07 EF 7C 1A

以上出现重复情况，正常情况下，不应该重复，后拉长TIck从1000改成3000后正常

6.更新节点时候，需要退出分布式

7.状态信息获取 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A

8.关于任务，一定确保不能让其长时间占用，不然会让其它程序一直挂起，饿死。

9.关于缓冲信息流，可以考虑采用事件通知的经典模式，既减少轮询消耗，又能提高效率。实现稍复杂。

10.故障判断启动后的通信分析

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 只有1,4右发送

11.注意保护启动的时机

12.置过流结果

ID: C0A80A01, FAULT: 1. C0A80A01 :CURRENT: A1 TO: A2. C0A80A01 :CURRENT: A2 TO: A8. C0A80A01 :CURRENT: A2 TO: C3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A04, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. C0A80A04 :CURRENT: A1 TO: A3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A04, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. C0A80A04 :CURRENT: A3 TO: A8. C0A80A04 :CURRENT: A3 TO: C3. STATION:C0A80A06, ExecuteFunctioncode : 7. STATION:C0A80A05, ExecuteFunctioncode : 7. STATION:C0A80A03, ExecuteFunctioncode : 7. STATION:C0A80A02, ExecuteFunctioncode : 7. STATION:C0A80A01, ExecuteFunctioncode : 7. STATION:C0A80A01, ExecuteFunctioncode : 7.

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A 65 A6 09 00 A6 65 04 0A FF FF 07 01 04 0A A8 C0 02 01 00 00 EC E1 1A

13. 数据

65 A6 09 00 A6 65 06 0A FF FF 07 01 06 0A A8 C0 01 01 00 00 B3 63 1A 65 A6 09 00 A6 65 06 0A FF FF 07 01 06 0A A8 C0 01 01 00 00 B3 63 1A

65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A 65 A6 09 00 A6 65 01 0A FF FF 07 01 01 0A A8 C0 01 01 00 00 92 24 1A

2018/6/21

1.数据分析

65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 04 0A 02 01 04 0A A8 C0 01 04 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A

65 A6 12 00 A6 65 01 0A 02 01 01 0A A8 C0 01 01 0A 1A 65 A6 12 00 A6 65 02 0A 02 01 02 0A A8 C0 01 02 0A 1A 65 A6 12 00 A6 65 03 0A 02 01 03 0A A8 C0 01 03 0A 1A 65 A6 12 00 A6 65 0F 0A 02 01 0F 0A A8 C0 01 0F 0A 1A 65 A

花了很长时间才发现，长度赋值错误。

2. 帧中需要包含发送地址，以便处理。

65 A6 1D 00 A6 65 FF FF 03 1D 00 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 A7 26 1A 65 A6 1D 00 A6 65 FF FF 03 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 C0 E6 1A

3. \ ¦ / - RT - Thread Operating System / ¦ \ 3.1.0 build Jun 21 2018 2006 - 2018 Copyright by rt-thread team Hello RT-Thread! File System on root initialized! File System on sd initialization failed! thread distribution_thread_entry start. thread simulation start. thread router start. thread comself start. thread communication start. init usart4. thread gain_thread_entry start. msh />Virtual Node:0, ExecuteFunctioncode, Functioncode: 40. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:11904, maxused: 11904 ID: C0A80A01, FAULT: 2. Virtual Node:0, ExecuteFunctioncode, Functioncode: 40. toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:14876, maxused: 14876 ID: C0A80A02, FAULT: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 3. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:15912, maxused: 15912 STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 3. toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:16072, maxused: 16072 STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 2. STATION:C0A80A02, ExecuteFunctioncode, Functioncode: 3. FreeTopologyMemory before memory total: 8388580, used:16376, maxused: 16400 FreeTopologyMemory after memory total: 8388580, used:16240, maxused: 16400 toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 8388580, used:16264, maxused: 16400 STATION:C0A80A01, ExecuteFunctioncode, Functioncode: 3. FreeTopologyMemory before memory total: 8388580, used:16376, maxused: 16400 FreeTopologyMemory after memory total: 8388580, used:16240, maxused: 16400 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2

4. 发送

65 A6 1D 00 A6 65 00 00 AA 00 01 1D 00 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 BF 10 1A

65 A6 08 00 A6 65 2C F5 03 0A 02 01 01 0A A8 C0 01 ED A4 1A 65 A6 08 00 A6 65 2C F5 03 0A 02 01 02 0A A8 C0 01 ED E0 1A 65 A6 08 00 A6 65 2C F5 03 0A 02 01 04 0A A8 C0 01 ED 68 1A

65 A6 08 00 A6 65 03 0A 01 0A 02 01 01 0A A8 C0 01 AA 13 1A 65 A6 08 00 A6 65 03 0A 02 0A 02 01 02 0A A8 C0 01 5A 43 1A 65 A6 08 00 A6 65 03 0A 04 0A 02 01 04 0A A8 C0 01 FA E0 1A

A6 65 01 0A 02 0A 02 01 02 0A A8 C0 01 E6 C6 1A 65 A6 06 00 A6 65 01 0A 03 0A 02 01 03 0A A8 C0 01 B6 F6 1A 65 A6 06 00 A6 65 01 0A 04 0A 02 01 04 0A A8 C0 01 46 65 1A 65 A6 1F 00 A6 65 02 0A 03 0A 03 01 01 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 00 00 8C F7 1A 65 A6 1F 00 A6 65 01 0A 03 0A 03 01 01 01 0A A8 C0 01 01 01 0A A8 C0 41 01 03 02 0A A8 C0 03 0A A8 C0 04 0A A8 C0 A9 07 00 00 40 A6 1A 65 A6 23 00 A6 65 03 0A 01 0A 03 01 01 03 0A A8 C0 01 01 03 0A A8 C0 43 01 04 01 0A A8 C0 02 0A A8 C0 04 0A A8 C0 05 0A A8 C0 29 09 00 00 CD 2D 1A 65 A6 23 00 A6 65 04 0A 01 0A 03 01 01 04 0A A8 C0 01 01 04 0A A8 C0 45 01 04 01 0A A8 C0 02 0A A8 C0 03 0A A8 C0 05 0A A8 C0 2C 09 00 00 1C CC 1A 65 A6 1F 00 A6 65 02 0A 01 0A 03 01 01 02 0A A8 C0 01 01 02 0A A8 C0 42 01 03 01 0A A8 C0 03 0A A8 C0 04 0A A8 C0 AB 07 00 00 16 F6 1A

5. 挂起的程序

RT_ETIMEOUT 2 属于超时

2018/6/20

1.除了最高优先级，其他全部挂起不能执行。

2.router之上正常之下全部挂起

修改互斥为rt-thread 依旧不正确。

Residen正好为临界值，就出现死区

- 输入list_thread - 0x0F421328 (ucrtbased.dll)处(位于 vs.exe 中)引发的异常。 - 0xC0000005: 读取位置 0x7268745F 时发生访问冲突。

- 4关于配置信息，要求分开存放逐个获取，要么是统一固化存放。

- runState 与nextState的区别。

2018/6/19

1. VC++ 引发了未经处理的异常:读取访问权限冲突。 thread 是 0xFFFFFFEC。 引发了异常: 读取访问权限冲突。 thread 是 0xFFFFFFEC。

\ ¦ / - RT - Thread Operating System / ¦ \ 3.1.0 build Jun 14 2018 2006 - 2018 Copyright by rt-thread team Hello RT-Thread! File System on root initialized! File System on sd initialization failed! thread distribution_thread_entry start. thread simulation start. thread router start. thread comself start. thread communication start. init usart4. (rx_fifo != RT_NULL) assertion failed at function:rt_hw_serial_isr, l

3. 下发当前配置项时候，与此同时增加站点.并将本站点作为本地站点，可以节省大量判断。

- void PrintTopologyMessage(const TopologyMessage* topologyMessage) - 值改变？ void PrintTopologyMessage(const TopologyMessage* topologyMessage) { uint32_t id = topologyMessage->id; rt_kprintf("toplogy id: 0x%x, ip: %d:%d:%d:%d\n", id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id, 1), GET_N_BYTE(id, 0)); rt_kprintf("toplogy type: 0x%x\n", topologyMessage->type); rt_kprintf("toplogy switch num: 0x%x\n", topologyMessage->switchNum); for(uint8_t i = 0; i < topologyMessage->switchNum; i++) { id = (topologyMessage->switchCollect[i]).id; rt_kprintf("switch %d id:0x%x ip: %d:%d:%d:%d\n",i, id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id,1), GET_N_BYTE(id, 0)); rt_kprintf("neighrbour num %d \n", (topologyMessage->switchCollect[i]).neighbourNum); for (uint8_t k = 0; k < (topologyMessage->switchCollect[i]).neighbourNum; k++) { id = (topologyMessage->switchCollect[i]).neighbourCollect[k]; rt_kprintf("neighrbour %d id:0x%x, ip: %d:%d:%d:%d\n",k, id, GET_N_BYTE(id, 3), GET_N_BYTE(id, 2), GET_N_BYTE(id, 1), GET_N_BYTE(id, 0)); } } uint32_t total; uint32_t used; uint32_t maxused; rt_memory_info(&total, &used, &maxused); rt_kprintf("memory total: %d, used:%d, maxused: %d\n", total, used, maxused); - }

- 5. 试了若干方法不行，然后改mdk开发，mdk 编译器错误比vc设置的严格。

- 6.全部转码为UTF-8 目前为止一切正常。

2018/6/16

1. 应对extern 执行更为严格的参数检查，static是以前为保证。

2.需要在初始化时，增加站点就立即设置本站点信息，方便其它引用。需要提供本拓扑节点所有信息，主要包括邻居信息。

switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:7312, maxused: 7312 FreeTopologyMemory before memory total: 32744, used:7288, maxused: 7312 FreeTopologyMemory after memory total: 32744, used:7188, maxused: 7312 toplogy id: 0xc0a80a01, ip: 192:168:10:1 FaultRemovalStateCenter ERROR : 0toplogy type: 0x1 FaultRemovalStateCenter ERROR : 0toplogy switch num: 0x1 FaultRemovalStateCenter ERROR : 0switch 0 id:0x23232323 ip: 35:35:35:35 FaultRemovalStateCenter ERROR : 0neighrbour num 35 FaultRemovalStateCenter ERROR : 0psr: 0x21000000 pc: 0x08002498 lr: 0x08004bab r12: 0xfffffffd r03: 0x00000001 r02: 0x20000054 r01: 0x00000023 r00: 0x23232323 hard fault on thread: comself 首次即错误

toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0x23232323 ip: 35:35:35:35 neighrbour num 35 psr: 0x21000000 pc: 0x08002498 lr: 0x08004ba7 r12: 0xfffffffd r03: 0x00000001 r02: 0x20000054 r01: 0x00000023 r00: 0x23232323 hard fault on thread: comself

应该说，MDK和VC++ 是同样的问题

2018/6/12

- 上位机问题 - 下发相应设置时出现。 - 经排查发现 - 此处为null.

2.通讯下发死机问题

thread communication start. thread blink start. psr: 0x01000000 pc: 0x2b3cf4dc lr: 0x08002261 r12: 0x00c00000 r03: 0x20002720 r02: 0x2b3cf4dd r01: 0x000000aa r00: 0x20003538 hard fault on thread: communic€ 初始化不正常。

2.MEMSET 问题malloc后需要清零，防止意外

- 按照自定义协议，一旦出错，后面将全部出错，地址容易混用。 - 在使用101和自定义之间暂时使用自定义

2018/6/11

1.psr: 0x41000000 pc: 0x0800315c lr: 0x08003157 r12: 0x20003dd0 r03: 0x00000bc8 r02: 0x00000003 r01: 0x4d9f7a89 r00: 0x20003ee8 hard fault on thread: main /RemovalHandleInit(handle, station->topology.localTopology->switchCollect); 此部分未初始化，不正确

thread communication start. psr: 0x01000000 pc: 0x08003384 lr: 0x08002a6d r12: 0x00000000 r03: 0x00000001 r02: 0x20000058 r01: 0x10000000 r00: 0x09478048 hard fault on thread: switch ListElmt* element = list_head(list); uint8_t size = list_size(list); 【此处应该重新幅值】 //循环更新模拟开关状态 do { for (uint8_t i = 0; i < size; i++) { SimulationSation* station = (SimulationSation*)(element->data); if (station != NULL) { SwitchRunStateSimulation(station); } else { rt_kprintf("imulationSation* station = NULL.\n"); break; } element = element->next; } rt_thread_delay(1); }while(1);

thread communication start. manger->router.FindMemberById ERROR : 11g_VirtualNode is NULL, ERROR : 11thread communication start. init usart4. thread simulation start. thread router start. thread communication start. psr: 0x20000000 pc: 0xbeef0000 lr: 0x08000c35 r12: 0x00000000 r03: 0x00000001 r02: 0xbeef0000 r01: 0x200022f0 r00: 0x34761ec6 hard fault on thread: comself 未有效初始化

2018/6/2

1.指针幅值不正确

if (areaNum++ < POWER_AREA_NUM) { listArea += areaNum; } else { return ERROR_OVER_LIMIT; } } } while((element = element->next) != NULL); DistributionAreaDeal_SpecialDeal(local->switchCollect, listArea, areaNum); 上述两处冲突

2018/6/1

- 内存释放过程中的不一致现象， - 内存大小应该相等，但是经过一番释放后增加了4个字节。

\0 \ ¦ / - RT - Thread Operating System / ¦ \ 3.0.3 build May 31 2018 2006 - 2018 Copyright by rt-thread team thread communication start. init usart4. thread blink start. toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:92, maxused: 400 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:208, maxused: 400 toplogy id: 0xc0a80a03, ip: 192:168:10:3 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a03 ip: 192:168:10:3 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 neighrbour 3 id:0xc0a80a05, ip: 192:168:10:5 memory total: 32744, used:328, maxused: 400 toplogy id: 0xc0a80a04, ip: 192:168:10:4 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a04 ip: 192:168:10:4 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 3 id:0xc0a80a0f, ip: 192:168:10:15 memory total: 32744, used:448, maxused: 448【后面重复删除应该一样】 toplogy id: 0xc0a80a04, ip: 192:168:10:4 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a04 ip: 192:168:10:4 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 3 id:0xc0a80a0f, ip: 192:168:10:15 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:448, maxused: 568 toplogy id: 0xc0a80a01, ip: 192:168:10:1 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a01 ip: 192:168:10:1 neighrbour num 3 neighrbour 0 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:452, maxused: 568 toplogy id: 0xc0a80a02, ip: 192:168:10:2 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a02 ip: 192:168:10:2 neighrbour num 3 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a03, ip: 192:168:10:3 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 memory total: 32744, used:568, maxused: 568 FreeTopologyMemory before memory total: 32744, used:544, maxused: 568 FreeTopologyMemory after memory total: 32744, used:452, maxused: 568 toplogy id: 0xc0a80a03, ip: 192:168:10:3 toplogy type: 0x1 toplogy switch num: 0x1 switch 0 id:0xc0a80a03 ip: 192:168:10:3 neighrbour num 4 neighrbour 0 id:0xc0a80a01, ip: 192:168:10:1 neighrbour 1 id:0xc0a80a02, ip: 192:168:10:2 neighrbour 2 id:0xc0a80a04, ip: 192:168:10:4 neighrbour 3 id:0xc0a80a05, ip: 192:168:10:5 memory total: 32744, used:572, maxused: 572 FreeTopologyMemory before memory total: 32744, used:548, maxused: 572 FreeTopologyMemory after memory total: 32744, used:452, maxused: 572

2018/5/31

1.注意配置项的最大长度

2.添加邻居信息写了两遍。。。。！！！

3.需要注意处理，功能码有了，配套数据为空的情况！

2018/5/30

1.error begin address 0x20002490, and end address 0x20002000

#define SRAM_END (HEAP_BEGIN + SRAM_SIZE * 1024)//(0x20000000 + SRAM_SIZE * 1024)

2 mem: 0x2000248c, used flag: 2048, magic code: 0x2df7 ighrboor 2 id:-1062729212, ip: 192:168:10:4 to free a bad data block: mem: 0x2000248c, used flag: 2048, magic code: 0x2df7 psr: 0x81000200 pc: 0x08001ab6 lr: 0x08001d35 r12: 0x00000032 r03: 0x200024a0 r02: 0x20002498 r01: 0x2800528e r00: 0x2000248c hard fault on thread: communic€

FREE((*topology)->switchCollect->neighbourCollect); (*topology)->switchCollect->neighbourCollect = 0; FREE((*topology)->switchCollect); (*topology)->switchCollect = 0; FREE(*topology); *topology = 0;

3. toplogy id: 4660, ip: 0:0:18:52 ID赋值始终不正确

上电复位

- 下载一次定值

- 应该相等实际没有相等 - re_topology = (TopologyMessage* )MALLOC(sizeof(TopologyMessage)); - *topology = re_topology ; - if( *topology == NULL) //简单的指针检测 - { - return ERROR_MALLOC; - } - MEMSET(*topology, 0, sizeof(TopologyMessage));

- 解决方法 - TopologyMessage* topologyMessage; - TopologyMessage* tempTopology; - 不应该为 - TopologyMessage** topologyMessage; - TopologyMessage** tempTopology; - 二重指针改变指向，在函数内部需要3重指针！

- 这也把赋值不正确的问题予以解决。看似是不相关的两个问题，实际上是一个。

- typedef unsigned int uint32_t; stdint.h - typedef unsigned long rt_uint32_t; /**< 32bit unsigned integer type */ - 以上两种定义不一致。 - 经实测 - sizeof(uint32_t): 4, sizeof(rt_uint32_t):4

- 赋值不正确 - list_ins_next(&NeighborTopologyMessageList, NULL, &topologyMessage); - PrintTopologyMessage((TopologyMessage*)(list_head(&NeighborTopologyMessageList)->data)); - 输出为乱码。 - 后仔细观察 - list_rem_next(&NeighborTopologyMessageList, element, (void**)&tempTopology);//移除 - FreeTopologyMemory(&tempTopology);//释放 - list_ins_next(&NeighborTopologyMessageList, element, topologyMessage); - int list_rem_next(List *list,ListElmt *element,void **data) - int list_ins_next(List *list, ListElmt *element, const void *data) - “一味地”未仔细注意其中的区别，直接强制转换使用。

- 5.内存分配跟踪

- \ ¦ / - - RT - Thread Operating System - / ¦ \ 3.0.3 build May 30 2018 - 2006 - 2018 Copyright by rt-thread team - thread communication start. - init usart4. - thread blink start. - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:92, maxused: 400【首次下发】 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【2次 重复下发】 - FreeTopologyMemory before memory total: 32744, used:184, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:92, maxused: 400【恢复92】 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【3次 重复下发】 - FreeTopologyMemory before memory total: 32744, used:184, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:92, maxused: 400【恢复92】

- toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:208, maxused: 400【第2组 第1次下发】 - toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - FreeTopologyMemory before memory total: 32744, used:300, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:208, maxused: 400【第2组 第2次下发】 - toplogy id: 0xc0a80a02, ip: 192:168:10:2 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a02 ip: 192:168:10:2 - neighrboor num 3 - neighrboor 0 id:0xc0a80a01, ip: 192:168:10:1 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - FreeTopologyMemory before memory total: 32744, used:300, maxused: 400 - FreeTopologyMemory after memory total: 32744, used:208, maxused: 400【第2组 第3次下发】

- toplogy id: 0xc0a80a01, ip: 192:168:10:1【第3组重新下载第1组】 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:324, maxused: 400 - toplogy id: 0xc0a80a01, ip: 192:168:10:1 - toplogy type: 0x1 - toplogy switch num: 0x1 - switch 0 id:0xc0a80a01 ip: 192:168:10:1 - neighrboor num 3 - neighrboor 0 id:0xc0a80a02, ip: 192:168:10:2 - neighrboor 1 id:0xc0a80a03, ip: 192:168:10:3 - neighrboor 2 id:0xc0a80a04, ip: 192:168:10:4 - memory total: 32744, used:440, maxused: 440 - FreeTopologyMemory before memory total: 32744, used:416, maxused: 440 - FreeTopologyMemory after memory total: 32744, used:324, maxused: 440 - 【理论上讲，重新下载第1组，内存占用总量应该不变】 - 后整理与查找程序，有12字节摆动，其他一切正常。

2018/5/28

1.串口对应 面对板子正面，5.08端子朝上，从左到右

- U4- PC10/PC11 ---U14(芯片) - U5- PC12/PD2-----U21（芯片） - U6-PC6(T)/PC7(R) ---U27(芯片)（新）

以前

2018/4/15

- 上午把程序移植后始终不正确，直到晚上8点调通。

- 排查配置项，经过对比DMA1，DMA1_Stream寄存器发现不一样的地方修正为一样。 - 后又对比发现波形不正确，后发现IO配置有问题：（1）速度选的太高（2）应该下拉

3）以上解决发现能够正常收一个字节

4）有经过排查，发现源程序还有问题。

5）后示波器捕捉发现读取始终没有后面数据

6）经过一段时间思索。突然发现读写应该如何区分？

- 后比对程序，发现读写不正确。 - #else - uint8 spi_data[3]; - spi_data[0] = (addrbsb & 0x00FF0000) >> 16; - spi_data[1] = (addrbsb & 0x0000FF00) >> 8; - spi_data[2] = (addrbsb & 0x000000F8) + 4; - spi_dma_write(spi_data, buf, len); - #endif - IINCHIP_ISR_ENABLE(); // Interrupt Service Routine Enable

- uint8 spi_data[3]; - spi_data[0] = (addrbsb & 0x00FF0000) >> 16; - spi_data[1] = (addrbsb & 0x0000FF00) >> 8; - spi_data[2] = (addrbsb & 0x000000F8); - spi_dma_read(spi_data, &data, 1);

- 8）系两种程序，机械复制导致错误！

2018/4/14

- 抓包工具——高性能hub，交换机 - 2.底层组网公祖

3.目前工业用型号

4.

2018/4/13

1.轮询可以，设置中断不正常。

2.优化对比

OP2

- OP0

两块板子均是这样

可以进图中断的板子

修改后

3.测试记录

交换机：UDP 100ms 一次 测试方式：内部定时器us， 使用示波器校准

100; 658. 200; 1048. 300; 1430. 400; 1820. 500; 2200. 600; 2587. 700; 2974. 800; 3364. 更改测试位置. 800; 1847. 1; 179.

100字节 首次为 702us

200字节

300字节 ，首次为1480us

400字节 首次1871

500bytes

rt_thread_delay(100); len = send_len; StartTimer(); INDICATE_LED_OFF(); sendto(0, dest_buff, len, dest_ip, remote_port); result = rt_sem_take(&w5500_int_sem, RT_WAITING_FOREVER); if(getSn_IR(0) & Sn_IR_RECV) { setSn_IR(0, Sn_IR_RECV); // Sn_IRµÄRECVÎ»ÖÃ1 } // Êý¾Ý»Ø»·²âÊÔ³ÌÐò£ºÊý¾Ý´ÓÔ¶³ÌÉÏÎ»»ú·¢¸øW5500£¬W5500½ÓÊÕµ½Êý¾ÝºóÔÙ»Ø¸øÔ¶³ÌÉÏÎ»»ú if((len=getSn_RX_RSR(0))>0) { memset(recv_buff, 0, len+1); recvfrom(0,recv_buff, len, remote_ip,&remote_port); // W5500½ÓÊÕÀ´×ÔÔ¶³ÌÉÏÎ»»úµÄÊý¾Ý£¬²¢Í¨¹ýSPI·¢ËÍ¸øMCU StopTimer(); INDICATE_LED_ON(); result = data_check(len); if (!result) { rt_kprintf("T1, %d\r\n", TimeCn); } else { rt_kprintf("ERROR, %d\r\n", result); } }

2018/4/12

1.花费大量时间

花费大量时间1个多小时，问题在于更新库版本不彻底！

- ..\HALLIB\STM32F4xx_HAL_Driver\Inc\stm32f4xx_ll_exti.h(287): error: #134: expected a field name - 由于重名所致，更改引用顺序即可

3.采用LL驱动正常

2018/4/11

1.开始形成本文档

1.调试口对应 面对端子从左到右. - 调试口 U5- PC12/PD2 - U4- PC10 tx/PC11 rx - U3- PB10 tx/PB11 rx - U1-PA9 tx/PA10 rx 5) HMI U6-PC7 rx/PC6 tx. - 3. #if defined的使用 - #if后面接的是一个宏。 - #if defined (x) - ...code... - #endif - 这个#if defined它不管里面的“x”的逻辑是“真”还是“假”它只管这个程序的前面的宏定义里面有没有定义“x”这个宏，如果定义了x这个宏，那么，编译器会编译中间的…code…否则不直接忽视中间的…code…代码。 - 另外 #if defined(x)也可以取反，也就用 #if !defined(x).

RTT 启动过程分析

1.startup_stm32f429xx.s

IMPORT SystemInit IMPORT __main LDR R0, =SystemInit BLX R0 LDR R0, =__main BX R0 ENDP

- int $Sub$$main(void)

- 为了在进入主应用程序之前，完成系统初始化，可以使用$sub和$super函数标识符在进入主程序之前插入一个例程。这一机制可以在不改变源代码的情况下扩展函数的功能。

- int $Sub$$main(void) - { - rt_hw_interrupt_disable(); - rtthread_startup(); - return 0; - }

- 3. rtthread_startup();s

- int rtthread_startup(void) - { - rt_hw_interrupt_disable(); - /* board level initalization - * NOTE: please initialize heap inside board initialization. - */ - rt_hw_board_init(); - /* show RT-Thread version */ - rt_show_version(); - /* timer system initialization */ - rt_system_timer_init(); - /* scheduler system initialization */ - rt_system_scheduler_init(); - /* create init_thread */ - rt_application_init(); - /* timer thread initialization */ - rt_system_timer_thread_init(); - /* idle thread initialization */ - rt_thread_idle_init(); - /* start scheduler */ - rt_system_scheduler_start(); - /* never reach here */ - return 0; - }

- void rt_hw_board_init() - { - HAL_Init(); //³õÊ¼»¯HAL¿â - Stm32_Clock_Init(360,25,2,8); //ÉèÖÃÊ±ÖÓ,180Mhz - // rtthread tick configuration - // 2. Configure rtos tick and interrupt - SysTick_Config(SystemCoreClock / RT_TICK_PER_SECOND); - //´®¿Ú³õÊ¼»¯ - uart_init(115200); - delay_init(180); - //³õÊ¼»¯LED - LED_Init(); - OSRunning=1; - /* Call components board initial (use INIT_BOARD_EXPORT()) */ - #ifdef RT_USING_COMPONENTS_INIT - rt_components_board_init(); - #endif - #if defined(RT_USING_CONSOLE) && defined(RT_USING_DEVICE) - rt_console_set_device(RT_CONSOLE_DEVICE_NAME); - #endif - #if defined(RT_USING_USER_MAIN) && defined(RT_USING_HEAP) - rt_system_heap_init((void*)HEAP_BEGIN, (void*)SRAM_END); - #endif - }

- void rt_show_version(void) - { - rt_kprintf("\n \\ ¦ /\n"); - rt_kprintf("- RT - Thread Operating System\n"); - rt_kprintf(" / ¦ \\ %d.%d.%d build %s\n", - RT_VERSION, RT_SUBVERSION, RT_REVISION, __DATE__); - rt_kprintf(" 2006 - 2017 Copyright by rt-thread team\n"); - }

- void rt_application_init(void) - { - rt_thread_t tid; - #ifdef RT_USING_HEAP - tid = rt_thread_create("main", main_thread_entry, RT_NULL, - RT_MAIN_THREAD_STACK_SIZE, RT_THREAD_PRIORITY_MAX / 3, 20); - RT_ASSERT(tid != RT_NULL); - #else - rt_err_t result; - tid = &main_thread; - result = rt_thread_init(tid, "main", main_thread_entry, RT_NULL, - main_stack, sizeof(main_stack), RT_THREAD_PRIORITY_MAX / 3, 20); - RT_ASSERT(result == RT_EOK); - #endif - rt_thread_startup(tid); - }

- void rt_system_timer_thread_init(void) - { - #ifdef RT_USING_TIMER_SOFT - int i; - for (i = 0; - i < sizeof(rt_soft_timer_list)/sizeof(rt_soft_timer_list[0]); - i++) - { - rt_list_init(rt_soft_timer_list+i); - } - /* start software timer thread */ - rt_thread_init(&timer_thread, - "timer", - rt_thread_timer_entry, - RT_NULL, - &timer_thread_stack[0], - sizeof(timer_thread_stack), - RT_TIMER_THREAD_PRIO, - 10); - /* startup */ - rt_thread_startup(&timer_thread); - #endif - }

- void rt_thread_idle_init(void) - { - /* initialize thread */ - rt_thread_init(&idle, - "tidle", - rt_thread_idle_entry, - RT_NULL, - &rt_thread_stack[0], - sizeof(rt_thread_stack), - RT_THREAD_PRIORITY_MAX - 1, - 32); - /* startup */ - rt_thread_startup(&idle); - } - static void rt_thread_idle_entry(void *parameter) - { - while (1) - { - #ifdef RT_USING_IDLE_HOOK - if (rt_thread_idle_hook != RT_NULL) - { - rt_thread_idle_hook(); - } - #endif - rt_thread_idle_excute(); - } - }

- main.c

- int main(void) - { - // ´´½¨¾²Ì¬Ïß³Ì - rt_thread_init(&led0_thread, //Ïß³Ì¿ØÖÆ¿é - "led0", //Ïß³ÌÃû×Ö£¬ÔÚshellÀïÃæ¿ÉÒÔ¿´µ½ - led0_thread_entry, //Ïß³ÌÈë¿Úº¯Êý - RT_NULL, //Ïß³ÌÈë¿Úº¯Êý²ÎÊý - &rt_led0_thread_stack[0], //Ïß³ÌÕ»ÆðÊ¼µØÖ· - sizeof(rt_led0_thread_stack), //Ïß³ÌÕ»´óÐ¡ - 3, //Ïß³ÌµÄÓÅÏÈ¼¶ - 20); //Ïß³ÌÊ±¼äÆ¬ - rt_thread_startup(&led0_thread); //Æô¶¯Ïß³Ìled0_thread£¬¿ªÆôµ÷¶È - // ´´½¨¾²Ì¬Ïß³Ì - rt_thread_init(&led1_thread, //Ïß³Ì¿ØÖÆ¿é - "led1", //Ïß³ÌÃû×Ö£¬ÔÚshellÀïÃæ¿ÉÒÔ¿´µ½ - led1_thread_entry, //Ïß³ÌÈë¿Úº¯Êý - RT_NULL, //Ïß³ÌÈë¿Úº¯Êý²ÎÊý - &rt_led1_thread_stack[0], //Ïß³ÌÕ»ÆðÊ¼µØÖ· - sizeof(rt_led1_thread_stack), //Ïß³ÌÕ»´óÐ¡ - 3, //Ïß³ÌµÄÓÅÏÈ¼¶ - 20); - rt_thread_startup(&led1_thread); //Æô¶¯Ïß³Ìled1_thread£¬¿ªÆôµ÷¶È - }

RT_DEBUG 分析

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\src\kservice.c(1285) : #ifdef RT_DEBUG #ifdef RT_DEBUG /* RT_ASSERT(EX)'s hook */ void (*rt_assert_hook)(const char* ex, const char* func, rt_size_t line); /** * This function will set a hook function to RT_ASSERT(EX). It will run when the expression is false. * * @param hook the hook function */ void rt_assert_set_hook(void (*hook)(const char* ex, const char* func, rt_size_t line)) { rt_assert_hook = hook; } /** * The RT_ASSERT function. * * @param ex the assertion condition string * @param func the function name when assertion. * @param line the file line number when assertion. */ void rt_assert_handler(const char* ex_string, const char* func, rt_size_t line) { volatile char dummy = 0; if (rt_assert_hook == RT_NULL) { #ifdef RT_USING_MODULE if (rt_module_self() != RT_NULL) { /* unload assertion module */ rt_module_unload(rt_module_self()); /* re-schedule */ rt_schedule(); } else #endif { rt_kprintf("(%s) assertion failed at function:%s, line number:%d \n", ex_string, func, line); while (dummy == 0); } } else { rt_assert_hook(ex_string, func, line); } } RTM_EXPORT(rt_assert_handler); #endif /* RT_DEBUG */

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\include\rtthread.h(533) : #ifdef RT_DEBUG #ifdef RT_DEBUG extern void (*rt_assert_hook)(const char* ex, const char* func, rt_size_t line); void rt_assert_set_hook(void (*hook)(const char* ex, const char* func, rt_size_t line)); void rt_assert_handler(const char* ex, const char* func, rt_size_t line); #endif /* RT_DEBUG */

D:\Program Files (x86)\keil523\ARM\PACK\rt-thread\rtthread\2.1.1\include\rtdebug.h(27) : #ifdef RT_DEBUG #ifndef __RTDEBUG_H__ #define __RTDEBUG_H__ #include <rtconfig.h> /* Using this macro to control all kernel debug features. */ #ifdef RT_DEBUG /* Turn on some of these (set to non-zero) to debug kernel */ #ifndef RT_DEBUG_MEM #define RT_DEBUG_MEM 0 #endif #ifndef RT_DEBUG_MEMHEAP #define RT_DEBUG_MEMHEAP 0 #endif #ifndef RT_DEBUG_MODULE #define RT_DEBUG_MODULE 0 #endif #ifndef RT_DEBUG_SCHEDULER #define RT_DEBUG_SCHEDULER 0 #endif #ifndef RT_DEBUG_SLAB #define RT_DEBUG_SLAB 0 #endif #ifndef RT_DEBUG_THREAD #define RT_DEBUG_THREAD 0 #endif #ifndef RT_DEBUG_TIMER #define RT_DEBUG_TIMER 0 #endif #ifndef RT_DEBUG_IRQ #define RT_DEBUG_IRQ 0 #endif #ifndef RT_DEBUG_IPC #define RT_DEBUG_IPC 0 #endif #ifndef RT_DEBUG_INIT #define RT_DEBUG_INIT 0 #endif /* Turn on this to enable context check */ #ifndef RT_DEBUG_CONTEXT_CHECK #define RT_DEBUG_CONTEXT_CHECK 1 #endif #define RT_DEBUG_LOG(type, message) \ do \ { \ if (type) \ rt_kprintf message; \ } \ while (0) #define RT_ASSERT(EX) \ if (!(EX)) \ { \ rt_assert_handler(#EX, __FUNCTION__, __LINE__); \ } /* Macro to check current context */ #if RT_DEBUG_CONTEXT_CHECK #define RT_DEBUG_NOT_IN_INTERRUPT \ do \ { \ rt_base_t level; \ level = rt_hw_interrupt_disable(); \ if (rt_interrupt_get_nest() != 0) \ { \ rt_kprintf("Function[%s] shall not used in ISR\n", __FUNCTION__); \ RT_ASSERT(0) \ } \ rt_hw_interrupt_enable(level); \ } \ while (0) /* "In thread context" means: * 1) the scheduler has been started * 2) not in interrupt context. */ #define RT_DEBUG_IN_THREAD_CONTEXT \ do \ { \ rt_base_t level; \ level = rt_hw_interrupt_disable(); \ if (rt_thread_self() == RT_NULL) \ { \ rt_kprintf("Function[%s] shall not be used before scheduler start\n", \ __FUNCTION__); \ RT_ASSERT(0) \ } \ RT_DEBUG_NOT_IN_INTERRUPT; \ rt_hw_interrupt_enable(level); \ } \ while (0) #else #define RT_DEBUG_NOT_IN_INTERRUPT #define RT_DEBUG_IN_THREAD_CONTEXT #endif #else /* RT_DEBUG */ #define RT_ASSERT(EX) #define RT_DEBUG_LOG(type, message) #define RT_DEBUG_NOT_IN_INTERRUPT #define RT_DEBUG_IN_THREAD_CONTEXT #endif /* RT_DEBUG */ #endif /* __RTDEBUG_H__ */

以 RT_DEBUG_MEM 为例

void rt_system_heap_init(void *begin_addr, void *end_addr) { struct heap_mem *mem; rt_uint32_t begin_align = RT_ALIGN((rt_uint32_t)begin_addr, RT_ALIGN_SIZE); rt_uint32_t end_align = RT_ALIGN_DOWN((rt_uint32_t)end_addr, RT_ALIGN_SIZE); RT_DEBUG_NOT_IN_INTERRUPT; /* alignment addr */ if ((end_align > (2 * SIZEOF_STRUCT_MEM)) && ((end_align - 2 * SIZEOF_STRUCT_MEM) >= begin_align)) { /* calculate the aligned memory size */ mem_size_aligned = end_align - begin_align - 2 * SIZEOF_STRUCT_MEM; } else { rt_kprintf("mem init, error begin address 0x%x, and end address 0x%x\n", (rt_uint32_t)begin_addr, (rt_uint32_t)end_addr); return; } /* point to begin address of heap */ heap_ptr = (rt_uint8_t *)begin_align; RT_DEBUG_LOG(RT_DEBUG_MEM, ("mem init, heap begin address 0x%x, size %d\n", (rt_uint32_t)heap_ptr, mem_size_aligned)); /* initialize the start of the heap */ mem = (struct heap_mem *)heap_ptr; mem->magic = HEAP_MAGIC; mem->next = mem_size_aligned + SIZEOF_STRUCT_MEM; mem->prev = 0; mem->used = 0; /* initialize the end of the heap */ heap_end = (struct heap_mem *)&heap_ptr[mem->next]; heap_end->magic = HEAP_MAGIC; heap_end->used = 1; heap_end->next = mem_size_aligned + SIZEOF_STRUCT_MEM; heap_end->prev = mem_size_aligned + SIZEOF_STRUCT_MEM; rt_sem_init(&heap_sem, "heap", 1, RT_IPC_FLAG_FIFO); /* initialize the lowest-free pointer to the start of the heap */ lfree = (struct heap_mem *)heap_ptr; }

void *rt_malloc(rt_size_t size) { rt_size_t ptr, ptr2; struct heap_mem *mem, *mem2; RT_DEBUG_NOT_IN_INTERRUPT; if (size == 0) return RT_NULL; if (size != RT_ALIGN(size, RT_ALIGN_SIZE)) RT_DEBUG_LOG(RT_DEBUG_MEM, ("malloc size %d, but align to %d\n", size, RT_ALIGN(size, RT_ALIGN_SIZE))); else RT_DEBUG_LOG(RT_DEBUG_MEM, ("malloc size %d\n", size)); /* alignment size */ size = RT_ALIGN(size, RT_ALIGN_SIZE); if (size > mem_size_aligned) { RT_DEBUG_LOG(RT_DEBUG_MEM, ("no memory\n")); return RT_NULL; } /* every data block must be at least MIN_SIZE_ALIGNED long */ if (size < MIN_SIZE_ALIGNED) size = MIN_SIZE_ALIGNED; /* take memory semaphore */ rt_sem_take(&heap_sem, RT_WAITING_FOREVER); for (ptr = (rt_uint8_t *)lfree - heap_ptr; ptr < mem_size_aligned - size; ptr = ((struct heap_mem *)&heap_ptr[ptr])->next) { mem = (struct heap_mem *)&heap_ptr[ptr]; if ((!mem->used) && (mem->next - (ptr + SIZEOF_STRUCT_MEM)) >= size) { /* mem is not used and at least perfect fit is possible: * mem->next - (ptr + SIZEOF_STRUCT_MEM) gives us the 'user data size' of mem */ if (mem->next - (ptr + SIZEOF_STRUCT_MEM) >= (size + SIZEOF_STRUCT_MEM + MIN_SIZE_ALIGNED)) { /* (in addition to the above, we test if another struct heap_mem (SIZEOF_STRUCT_MEM) containing * at least MIN_SIZE_ALIGNED of data also fits in the 'user data space' of 'mem') * -> split large block, create empty remainder, * remainder must be large enough to contain MIN_SIZE_ALIGNED data: if * mem->next - (ptr + (2*SIZEOF_STRUCT_MEM)) == size, * struct heap_mem would fit in but no data between mem2 and mem2->next * @todo we could leave out MIN_SIZE_ALIGNED. We would create an empty * region that couldn't hold data, but when mem->next gets freed, * the 2 regions would be combined, resulting in more free memory */ ptr2 = ptr + SIZEOF_STRUCT_MEM + size; /* create mem2 struct */ mem2 = (struct heap_mem *)&heap_ptr[ptr2]; mem2->magic = HEAP_MAGIC; mem2->used = 0; mem2->next = mem->next; mem2->prev = ptr; /* and insert it between mem and mem->next */ mem->next = ptr2; mem->used = 1; if (mem2->next != mem_size_aligned + SIZEOF_STRUCT_MEM) { ((struct heap_mem *)&heap_ptr[mem2->next])->prev = ptr2; } #ifdef RT_MEM_STATS used_mem += (size + SIZEOF_STRUCT_MEM); if (max_mem < used_mem) max_mem = used_mem; #endif } else { /* (a mem2 struct does no fit into the user data space of mem and mem->next will always * be used at this point: if not we have 2 unused structs in a row, plug_holes should have * take care of this). * -> near fit or excact fit: do not split, no mem2 creation * also can't move mem->next directly behind mem, since mem->next * will always be used at this point! */ mem->used = 1; #ifdef RT_MEM_STATS used_mem += mem->next - ((rt_uint8_t*)mem - heap_ptr); if (max_mem < used_mem) max_mem = used_mem; #endif } /* set memory block magic */ mem->magic = HEAP_MAGIC; if (mem == lfree) { /* Find next free block after mem and update lowest free pointer */ while (lfree->used && lfree != heap_end) lfree = (struct heap_mem *)&heap_ptr[lfree->next]; RT_ASSERT(((lfree == heap_end) ¦¦ (!lfree->used))); } rt_sem_release(&heap_sem); RT_ASSERT((rt_uint32_t)mem + SIZEOF_STRUCT_MEM + size <= (rt_uint32_t)heap_end); RT_ASSERT((rt_uint32_t)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM) % RT_ALIGN_SIZE == 0); RT_ASSERT((((rt_uint32_t)mem) & (RT_ALIGN_SIZE-1)) == 0); RT_DEBUG_LOG(RT_DEBUG_MEM, ("allocate memory at 0x%x, size: %d\n", (rt_uint32_t)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM), (rt_uint32_t)(mem->next - ((rt_uint8_t *)mem - heap_ptr)))); RT_OBJECT_HOOK_CALL(rt_malloc_hook, (((void *)((rt_uint8_t *)mem + SIZEOF_STRUCT_MEM)), size)); /* return the memory data except mem struct */ return (rt_uint8_t *)mem + SIZEOF_STRUCT_MEM; } } rt_sem_release(&heap_sem); return RT_NULL; }

void rt_interrupt_enter(void) { rt_base_t level; RT_DEBUG_LOG(RT_DEBUG_IRQ, ("irq coming..., irq nest:%d\n", rt_interrupt_nest)); level = rt_hw_interrupt_disable(); rt_interrupt_nest ++; RT_OBJECT_HOOK_CALL(rt_interrupt_enter_hook,()); rt_hw_interrupt_enable(level); } RTM_EXPORT(rt_interrupt_enter);

RT_USING_OVERFLOW_CHECK

#ifdef RT_USING_OVERFLOW_CHECK static void _rt_scheduler_stack_check(struct rt_thread *thread) { RT_ASSERT(thread != RT_NULL); if (*((rt_uint8_t *)thread->stack_addr) != '#' ¦¦ (rt_uint32_t)thread->sp <= (rt_uint32_t)thread->stack_addr ¦¦ (rt_uint32_t)thread->sp > (rt_uint32_t)thread->stack_addr + (rt_uint32_t)thread->stack_size) { rt_uint32_t level; rt_kprintf("thread:%s stack overflow\n", thread->name); #ifdef RT_USING_FINSH { extern long list_thread(void); list_thread(); } #endif level = rt_hw_interrupt_disable(); while (level); } else if ((rt_uint32_t)thread->sp <= ((rt_uint32_t)thread->stack_addr + 32)) { rt_kprintf("warning: %s stack is close to end of stack address.\n", thread->name); } } #endif

void rt_schedule(void) { /* switch to new thread */ RT_DEBUG_LOG(RT_DEBUG_SCHEDULER, ("[%d]switch to priority#%d " "thread:%.*s(sp:0x%p), " "from thread:%.*s(sp: 0x%p)\n", rt_interrupt_nest, highest_ready_priority, RT_NAME_MAX, to_thread->name, to_thread->sp, RT_NAME_MAX, from_thread->name, from_thread->sp)); #ifdef RT_USING_OVERFLOW_CHECK _rt_scheduler_stack_check(to_thread); #endif } /* enable interrupt */ rt_hw_interrupt_enable(level); }